## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 295003
2 | (295025EK2.10) Knowledge of the relationship between the (EPE 2) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems | 2.9 | K2 | 295025
3 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
4 | (295024EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Drywell spray (Mark I, II) | 4.4 | K3 | 295024
5 | (295021AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Thermal stratification | 3.9 | K1 | 295021
6 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.7 | A2 | 295031
7 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 295038
8 | (295018AK2.05) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.3 | K2 | 295018
9 | (295026EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) LPCS | 3.8 | A1 | 295026
10 | (700000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Actions contained in abnormal operating procedure for voltage and grid disturbances | 3.8 | K3 | 700000
11 | (295037EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Shutdown conditions | 4.1 | K1 | 295037
12 | (600000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Whether malfunction(s) are due to common-mode electrical failures | 3.1 | A2 | 600000
13 | (295006) (APE 6) SCRAM (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 295006
14 | (295019AK2.17) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) High-pressure coolant injection | 2.8 | K2 | 295019
15 | (295023AA1.05) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel transfer system | 2.7 | A1 | 295023
16 | (295016AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Abandonment criteria | 4.1 | K3 | 295016
17 | (295030EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Heat capacity | 4 | K1 | 295030
18 | (295001AA2.09) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.8 | A2 | 295001
19 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295027
20 | (295005AK2.12) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 2.9 | K2 | 295005
21 | (295029EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Reactor SCRAM | 3.5 | K3 | 295029
22 | (295014AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.8 to 41.10) Preconditioning interim operating management recommendations (PCIOMR) | 3.1 | K1 | 295014
23 | (295020AA2.05) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295020
24 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 295034
25 | (295012AK2.02) Knowledge of the relationship between the (APE 12) HIGH DRYWELL TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Drywell cooling | 3.9 | K2 | 295012
26 | (295002AA1.10) Ability to operate and/or monitor the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.7 / 45.6) Feedwater system | 3.2 | A1 | 295002
27 | (264000K4.09) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Standby readiness | 3.8 | K4 | 264000
28 | (223002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Primary containment integrity | 4.1 | K5 | 223002
29 | (262001K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Emergency generators | 4.5 | K6 | 262001
30 | (205000A2.08) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of heat exchanger cooling | 4 | A2 | 205000
31 | (203000K2.03) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 3.7 | K2 | 203000
32 | (261000A3.04) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) System temperature | 3.1 | A3 | 261000
33 | (217000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Suppression pool | 3.8 | K1 | 217000
34 | (218000K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.1 | K3 | 218000
35 | (215005A4.01) Ability to manually operate and/or monitor the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM/APRM recorder | 3.7 | A4 | 215005
36 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 209002
37 | (259002A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.5 | A1 | 259002
38 | (262002K4.01) Knowledge of (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) design features and/or interlocks that provide for the following: (CFR: 41.7) Transfer of power supplies | 3.5 | K4 | 262002
39 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
40 | (239002K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Discharge line vacuum breaker | 3.4 | K6 | 239002
41 | (400000A2.09) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to spent fuel pool cooling system heat exchanger | 4.2 | A2 | 400000
42 | (215004K2.01) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SRMS channels/detectors | 3.3 | K2 | 215004
43 | (211000A3.08) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) System initiation | 4.1 | A3 | 211000
44 | (215003K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPS | 4.3 | K1 | 215003
45 | (510000K3.08) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Primary containment system and auxiliaries | 3.1 | K3 | 510000
46 | (300000A4.02) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Instrument air compressors | 3.5 | A4 | 300000
47 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (291007K1.02) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Reason for sampling inlet and outlet of demineralizer | 2.6 | C | 263000
48 | (209001A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Reactor water level | 4.4 | A1 | 209001
49 | (264000K4.05) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Load shedding and sequencing | 4.1 | K4 | 264000
50 | (223002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Secondary containment integrity | 3.9 | K5 | 223002
51 | (262001K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Breaker malfunctions | 3.6 | K6 | 262001
52 | (205000A2.06) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Pump trips | 4 | A2 | 205000
53 | (223001) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 223001
54 | (239001A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM including: (CFR: 41.5 / 45.5) Reactor pressure | 4.2 | A1 | 239001
55 | (259001K4.04) Knowledge of (SF2 FWS) FEEDWATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dispersal of feedwater in the reactor vessel | 3 | K4 | 259001
56 | (256000K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 CDS) CONDENSATE SYSTEM: (CFR: 41.5 / 45.3) Air ejection operation | 2.8 | K5 | 256000
57 | (219000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE: (CFR: 41.7 / 45.7) Keep fill system | 3.3 | K6 | 219000
58 | (204000A2.15) Ability to (a) predict the impacts of the following on the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Cleanup demineralizer high differential pressure | 2.8 | A2 | 204000
59 | (234000K3.02) Knowledge of the effect that a loss or malfunction of the (SF8 FH) FUEL HANDLING will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RCIS | 3 | K2 | 234000
60 | (286000A3.06) Ability to monitor automatic operation of the (SF8 FPS) FIRE PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Fire dampers | 2.8 | A3 | 286000
61 | (241000K1.39) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main and reheat steam system | 3.3 | K1 | 241000
62 | (226001K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Containment/drywell/suppression chamber pressure | 4.3 | K3 | 226001
63 | (216000A4.04) Ability to manually operate and/or monitor the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION in the control room: (CFR: 41.7 / 45.5 to 45.8) Analog trip units | 3.3 | A4 | 216000
64 | (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
71 | (292004K1.16) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain and describe the effect of power defect and Doppler defect on reactivity | 2.9 | R | 292004
72 | (292003K1.08) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Given the power equation, solve problems for power | 2.8 | R | 292003
73 | (293006K1.05) FLUID STATICS AND DYNAMICS (CFR: 41.14) Explain operational implications of fluid/water hammer | 3.3 | T | 293006
74 | (293010K1.01) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the brittle fracture mode of failure | 2.8 | T | 293010
75 | (293004K1.17) THERMODYNAMIC PROCESS (CFR: 41.14) (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam or water | 2.8 | T | 293004
76 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
77 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 295025
78 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.5 | A2 | 295004
79 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 295024
80 | (295021AA2.03) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295021
81 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 295031
82 | (295038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Source of offsite release | 3.9 | A2 | 295038
83 | (295008AA2.02) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Steam flow/feedflow mismatch | 4 | A2 | 295008
84 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 295009
85 | (295007AA2.02) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.3 | A2 | 295007
86 | (203000A2.06) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Emergency generator failure | 3.9 | A2 | 203000
87 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 261000
88 | (217000A2.12) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve openings due to malfunction(s) | 3.6 | A2 | 217000
89 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 218000
90 | (215005A2.08) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Faulty or erratic operation of detectors/systems | 3.4 | A2 | 215005
91 | (268000) (SF9 RW) RADWASTE SYSTEM (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 268000
92 | (245000A2.01) Ability to (a) predict the impacts of the following on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine trip | 3.9 | A2 | 245000
93 | (202001) (SF1, SF4 RS) RECIRCULATION SYSTEM (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 202001
94 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G2.2 | G2.2
97 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4