## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295019AK2.17) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) High-pressure coolant injection | 2.8 | K2 | 295019
2 | (295006AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Decay heat generation and removal | 4 | K1 | 295006
3 | (295038EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) SGTS/FRVS | 3.9 | A1 | 295038
4 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295025
5 | (295001AA2.12) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Thermal-hydraulic instabilities | 4.2 | A2 | 295001
6 | (295026EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Emergency/normal depressurization | 4.3 | K3 | 295026
7 | (295003AK2.03) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution system | 3.9 | K2 | 295003
8 | (295021AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Natural circulation | 3.9 | K1 | 295021
9 | (295004AA1.02) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) Systems necessary to ensure safe plant shutdown | 4.3 | A1 | 295004
10 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 295031
11 | (295023AA2.01) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 4.1 | A2 | 295023
12 | (295016AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Reactor SCRAM | 4 | K3 | 295016
13 | (295005AK2.07) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 3.9 | K2 | 295005
14 | (295018AA2.04) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System flow | 3.4 | K1 | 295018
15 | (295027EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling | 3.7 | A1 | 295027
16 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 295037
17 | (295030EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/suppression chamber differential pressure (Mark I, II) | 4.2 | A2 | 295030
18 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
19 | (700000AK2.02) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Breakers, relays | 3.2 | K2 | 700000
20 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
21 | (295022) (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 295022
22 | (295012AA2.01) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell temperature | 4.4 | A2 | 295012
23 | (295029EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Reactor SCRAM | 3.5 | K3 | 295029
24 | (295011AK2.01) Knowledge of the relationship between the (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.8 | K2 | 295011
25 | (500000EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.8 to 41.10) Hydrogen ignition/deflagration | 3.8 | K1 | 500000
26 | (295009AA1.01) Ability to operate and/or monitor the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.7 / 45.6) Feedwater system | 4 | A1 | 295009
27 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 3.8 | G | 205000
28 | (215003A3.01) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215003
29 | (212000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrumentation | 4.1 | K1 | 212000
30 | (261000A4.06) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) | 3.6 | A4 | 261000
31 | (217000K3.06) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Condensate storage tank level | 3.2 | K3 | 217000
32 | (264000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Parallel vs. isochronous operation | 3.6 | K5 | 264000
33 | (510000A2.04) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Pipe leakage/rupture | 3.6 | A2 | 510000
34 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
35 | (239002K4.01) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Ensures that only one or two safety/relief valves reopen following the initial portion of a reactor isolation event (low-low set logic) | 3.7 | K4 | 239002
36 | (262002A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.5 / 45.5) Motor generator outputs | 3.1 | A1 | 262002
37 | (300000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Air dryers | 3.3 | K6 | 300000
38 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (291002K1.01) SENSORS AND DETECTORS (CFR: 41.7) (FLOW) Operational characteristics of venturis and orifices | 2.5 | C | 259002
39 | (218000A3.01) Ability to monitor automatic operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.7 / 45.7) ADS valves | 4.1 | A3 | 218000
40 | (215005K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPS | 4.4 | K1 | 215005
41 | (203000A4.03) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Keep fill system | 3.1 | A4 | 203000
42 | (223002K3.05) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Containment/drywell floor and equipment drain system | 3.4 | K3 | 223002
43 | (215004K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.5 / 45.3) Changing detector position | 3.2 | K5 | 215004
44 | (262001A2.11) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Degraded bus voltages | 3.9 | A2 | 262001
45 | (263000K2.04) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Inverters | 3.4 | K2 | 263000
46 | (211000K4.05) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dispersal of boron upon injection into the vessel | 3.3 | K4 | 211000
47 | (209001A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Core spray flow | 4.1 | A1 | 209001
48 | (209002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Abnormal condensate storage tank water level | 3.6 | K6 | 209002
49 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G | 205000
50 | (215003A3.04) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block signals | 3.9 | A3 | 215003
51 | (212000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear instrumentation | 4.3 | K1 | 212000
52 | (261000A4.04) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Primary containment pressure | 3.6 | A4 | 261000
53 | (286000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FPS) FIRE PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) Fire dampers | 3.1 | A1 | 286000
54 | (256000K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 CDS) CONDENSATE SYSTEM: (CFR: 41.7 / 45.7) Condensate filter system | 3.2 | K6 | 256000
55 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (291006K1.11) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Relationship between condenser vacuum and backpressure | 2.8 | C | 204000
56 | (226001A3.07) Ability to monitor automatic operation of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE including: (CFR: 41.7 / 45.7) Pump start | 3.9 | A3 | 226001
57 | (290001K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 SC) SECONDARY CONTAINMENT and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fuel handling building ventilation | 3.5 | K1 | 290001
58 | (288000A4.02) Ability to manually operate and/or monitor the (SF9 PVS) PLANT VENTILATION SYSTEMS in the control room: (CFR: 41.4 / 41.7 / 45.5 to 45.8) Area temperature | 3.3 | A4 | 288000
59 | (259001K3.01) Knowledge of the effect that a loss or malfunction of the (SF2 FWS) FEEDWATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.5 | K3 | 259001
60 | (241000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM: (CFR: 41.5 / 45.3) Turbine speed measurement | 2.6 | K5 | 241000
61 | (230000A2.10) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Nuclear boiler instrument failures | 3.6 | A2 | 230000
62 | (245000K2.02) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS Knowledge of electrical power supplies to the following: (CFR: 41.7) Lube oil pumps | 2.9 | K2 | 245000
63 | (239001K4.07) Knowledge of (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Overpressure control | 4.1 | K4 | 239001
64 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
65 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
66 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (292003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define reactor period | 3.7 | R | 292003
71 | (292008K1.02) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (STARTUP AND APPROACH TO CRITICALITY) List reactivity control mechanisms that exist for plant conditions during the approach to criticality | 3.8 | R | 292008
72 | (292002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1) Define K-excess (excess reactivity) | 2.6 | R | 292002
73 | (293004K1.17) THERMODYNAMIC PROCESS (CFR: 41.14) (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam or water | 2.8 | T | 293004
74 | (293003K1.22) STEAM (CFR: 41.14) Explain the usefulness of steam tables to the control | 3.2 | T | 293003
75 | (293007K1.08) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) List functions of the main condenser in a power plant | 3.1 | T | 293007
76 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295019
77 | (295006AA2.05) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Whether a reactor SCRAM has occurred | 4.5 | A2 | 295006
78 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 295038
79 | (295025EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 3.5 | A2 | 295025
80 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 295001
81 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4 | A2 | 295026
82 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 295003
83 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295002
84 | (295008AA2.05) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Swell | 3.5 | A2 | 295008
85 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 295013
86 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 217000
87 | (264000A2.12) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of DC electrical distribution | 4 | A2 | 264000
88 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 510000
89 | (400000A2.03) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High/low CCW temperature | 3.5 | A2 | 400000
90 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 239002
91 | (271000A2.04) Ability to (a) predict the impacts of the following on the (SF9 OG) OFFGAS SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6 / 45.8) Offgas system high radiation | 3.4 | A2 | 271000
92 | (268000) (SF9 RW) RADWASTE SYSTEM (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 268000
93 | (510001A2.02) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal valve positions | 3 | A2 | 510001
94 | (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
100 | (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4