## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295004AK2.01) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Battery charger | 3.8 | K2 | 295004
2 | (295024EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Suppression pool spray | 4.1 | K3 | 295024
3 | (295027EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Hydrogen recombiners | 3.1 | A1 | 295027
4 | (700000AA2.11) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Grid frequency and voltage | 3.5 | A2 | 700000
5 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 600000
6 | (295018AK2.04) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Reactor recirculation system | 3.7 | K1 | 295018
7 | (295003AK2.03) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution system | 3.9 | K2 | 295003
8 | (295021AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Raising reactor water level | 4 | K3 | 295021
9 | (295031EA1.14) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) PCIS/NSSSS | 4.1 | A1 | 295031
10 | (295006AA2.02) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.4 | A2 | 295006
11 | (295023) (APE 23) REFUELING ACCIDENTS (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295023
12 | (295019AK2.21) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 2.6 | K1 | 295019
13 | (295005AK2.07) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 3.9 | K2 | 295005
14 | (295026EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) SLCS injection | 3.6 | K3 | 295026
15 | (295030EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) Suppression pool makeup system(s) | 3.5 | A1 | 295030
16 | (295038EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Meteorological data | 3.7 | A2 | 295038
17 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 295001
18 | (295037EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Cold shutdown boron weight | 3.7 | K1 | 295037
19 | (295016AK2.05) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) DC electrical distribution | 3.5 | K2 | 295016
20 | (295025EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Safety/relief valve operation | 4.3 | K3 | 295025
21 | (295013AA2.03) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Open/leaking Safety relief valve | 4.2 | A2 | 295013
22 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 295012
23 | (295002AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.8 to 41.10) Loss of heat sink | 4.1 | K1 | 295002
24 | (295011AK2.01) Knowledge of the relationship between the (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.8 | K2 | 295011
25 | (295020AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Reactor pressure response | 3.9 | K3 | 295020
26 | (295032EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.7 / 45.6) Isolate damaged portions of affected systems | 3.7 | A1 | 295032
27 | (217000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Suppression pool level | 3.5 | K6 | 217000
28 | (239002K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Drywell instrument air/drywell pneumatics | 3.6 | K1 | 239002
29 | (212000A4.04) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Bypass SCRAM signals | 3.7 | A4 | 212000
30 | (263000K2.03) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Battery chargers | 3.5 | K2 | 263000
31 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 510000
32 | (262001A3.05) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Synchronization of AC sources | 3.7 | A3 | 262001
33 | (205000K4.04) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) Adequate pump NPSH | 3.3 | K4 | 205000
34 | (215003A2.01) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Power supply degradation | 3.1 | A2 | 215003
35 | (211000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) SLCS lineup | 3.8 | A1 | 211000
36 | (218000K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.5 / 45.3) Suppression pool level | 3.7 | K5 | 218000
37 | (262002K3.11) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Main and reheat steam system | 2.6 | K3 | 262002
38 | (209001K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Loss of emergency generators | 4.2 | K6 | 209001
39 | (264000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fire protection system | 3 | K1 | 264000
40 | (215004A4.02) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS recorder | 3.4 | A4 | 215004
41 | (209002K2.01) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Pumps | 4.2 | K2 | 209002
42 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (291002K1.21) SENSORS AND DETECTORS (CFR: 41.7) (NUCLEAR INSTRUMENTATION) Effects of voltage changes on neutron detector performance | 2.9 | C | 400000
43 | (259002A3.01) Ability to monitor automatic operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Runout flow control | 3.1 | A3 | 259002
44 | (223002K4.02) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Testability | 3.2 | K4 | 223002
45 | (215005A2.05) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of recirculation flow signal | 4 | A2 | 215005
46 | (203000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Reactor water level | 4.4 | A1 | 203000
47 | (261000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Secondary containment pressure changes | 3.4 | K5 | 261000
48 | (300000K3.12) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Feedwater system | 3.5 | K3 | 300000
49 | (217000K6.17) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Flow controller failure | 3.9 | K6 | 217000
50 | (239002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.6 | K1 | 239002
51 | (212000A4.01) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System actuation | 4.3 | A4 | 212000
52 | (263000K2.04) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Inverters | 3.4 | K2 | 263000
53 | (233000K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP: (CFR: 41.5 / 45.3) Abnormal fuel pool temperatures | 3.5 | K5 | 233000
54 | (223001K3.17) Knowledge of the effect that a loss or malfunction of the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression pool temperature | 3.6 | K3 | 223001
55 | (201001K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 CRDH) CRD HYDRAULIC SYSTEM: (CFR: 41.6-7 / 41.10 / 45.1-6 / 45.8 / 45.12-13) IA | 3.6 | K6 | 201001
56 | (219000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Keep fill system | 3.1 | K1 | 219000
57 | (204000A4.04) Ability to manually operate and/or monitor the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Heat exchanger temperature | 3.1 | A4 | 204000
58 | (230000K2.03) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE Knowledge of electrical power supplies to the following: (CFR: 41.7) Control logic | 3.7 | K2 | 230000
59 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 202002
60 | (234000A3.02) Ability to monitor automatic operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.7 / 45.7) Interlock operation | 3.1 | A3 | 234000
61 | (239001K4.09) Knowledge of (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Equalization of pressure across the MSIVs before opening | 3.2 | K4 | 239001
62 | (226001A2.13) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve logic failure | 3.8 | A2 | 226001
63 | (245000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS including: (CFR: 41.5 / 45.5) Lights and alarms | 3.2 | A1 | 245000
64 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
66 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
67 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
71 | (292005K1.05) CONTROL RODS (CFR: 41.1) Define rod density | 2.6 | R | 292005
72 | (292008K1.08) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (CRITICALITY) Describe reactor power and startup rate/period response once criticality is reached | 4.1 | R | 292008
73 | (293003K1.07) STEAM (CFR: 41.14) Define the following term: Saturated liquid | 2.8 | T | 293003
74 | (293008K1.37) THERMAL HYDRAULICS (CFR: 41.14) (NATURAL CIRCULATION) Describe means by which the operator can enhance natural circulation | 3.4 | T | 293008
75 | (293009K1.16) CORE THERMAL LIMITS (CFR: 41.14) (MAPLHGR) Discuss how changes in the heat generation rate | 2.8 | T | 293009
76 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295004
77 | (295024EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 4.3 | A2 | 295024
78 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295027
79 | (700000AA2.02) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator voltage limitations | 3.3 | A2 | 700000
80 | (600000) (APE 24) PLANT FIRE ON SITE (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 600000
81 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.2 | A2 | 295018
82 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 295003
83 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 295034
84 | (295022AA2.04) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3 | A2 | 295022
85 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 295033
86 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 510000
87 | (262001A2.09) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding voltage limitations | 3.4 | A2 | 262001
88 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 205000
89 | (215003A2.08) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Improper overlap | 3.5 | A2 | 215003
90 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 211000
91 | (201003A2.01) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Stuck rod | 4 | A2 | 201003
92 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 510001
93 | (216000A2.14) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Partial or complete loss of recirculation flow | 3.3 | A2 | 216000
94 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G2.1 | G2.1
96 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4