## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3.6 | A2 | 295018
2 | (295006) (APE 6) SCRAM (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295006
3 | (295001AA1.02) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295001
4 | (295016AK2.01) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Remote shutdown panel | 4.4 | K1 | 295016
5 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
6 | (295023AK2.09) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Incline fuel/horizontal fuel transfer system (Mark III) | 3.2 | K2 | 295023
7 | (295025EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4 | A2 | 295025
8 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 295024
9 | (600000AA1.08) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Firefighting equipment used on each class of fire | 3.3 | A1 | 600000
10 | (295019AK2.05) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Main and reheat steam system | 3.3 | K1 | 295019
11 | (295021AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Installing fuel pool gates | 3 | K3 | 295021
12 | (700000AK2.02) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Breakers, relays | 3.2 | K2 | 700000
13 | (295026EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.5 | A2 | 295026
14 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G | 295031
15 | (295003AA1.01) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) AC electrical distribution system | 4 | A1 | 295003
16 | (295037EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Hot shutdown boron weight | 3.7 | K1 | 295037
17 | (295030EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) HPCI shutdown | 4 | K3 | 295030
18 | (295027EK2.04) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems. | 2.9 | K2 | 295027
19 | (295038EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Meteorological data | 3.7 | A2 | 295038
20 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 295005
21 | (295035EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Secondary containment integrity | 3.9 | K1 | 295035
22 | (295022AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.5 / 45.6) Restoring CRDM cooling/drive water flow | 3.6 | K3 | 295022
23 | (295036EK2.01) Knowledge of the relationship between the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Equipment and floor drain sumps and pumps | 3.4 | K2 | 295036
24 | (295020AA2.10) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor building radiation | 3.6 | A2 | 295020
25 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G | 295034
26 | (295033EA1.11) Ability to operate and/or monitor the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.7 / 45.6) Systems required to suppress a fire | 3.5 | A1 | 295033
27 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 239002
28 | (262002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) Static switch/inverter | 3.4 | K6 | 262002
29 | (209001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Abnormal differential pressure indication (leak detection) | 3.4 | K5 | 209001
30 | (510000A2.04) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Pipe leakage/rupture | 3.6 | A2 | 510000
31 | (215003A4.01) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM recorder indication | 3.6 | A4 | 215003
32 | (211000K3.04) Knowledge of the effect that a loss or malfunction of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Jet pump differential pressure (BWR 3, 4, 5, 6) | 2.8 | K3 | 211000
33 | (261000A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) SGTS train temperature | 3 | A1 | 261000
34 | (400000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 to 45.8) Radiation monitoring systems | 3.1 | K1 | 400000
35 | (209002A3.01) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Valve operation | 4.2 | A3 | 209002
36 | (263000K4.05) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Coping time | 3.6 | K4 | 263000
37 | (217000K2.02) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation/isolation logic | 3.7 | K2 | 217000
38 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (291007K1.07) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Principles of demineralizer operation | 2.5 | C | 212000
39 | (300000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Heat exchangers and condensers | 3.1 | K6 | 300000
40 | (215005K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.5 / 45.3) OPRM operation | 3.6 | K5 | 215005
41 | (264000A2.13) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of starting air | 3.8 | A2 | 264000
42 | (262001A4.03) Ability to manually operate and/or monitor the (SF6 AC) AC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Local operation of breakers | 3 | A4 | 262001
43 | (223002K3.19) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Containment atmosphere sampling | 3 | K3 | 223002
44 | (205000A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.4 | A1 | 205000
45 | (259002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor feedwater flow | 3.9 | K1 | 259002
46 | (218000A3.01) Ability to monitor automatic operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.7 / 45.7) ADS valves | 4.1 | A3 | 218000
47 | (203000K4.14) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Operation from remote shutdown panel | 3.6 | K4 | 203000
48 | (215004K2.02) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive modules | 2.7 | K2 | 215004
49 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 239002
50 | (262002K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) AC electrical distribution | 3.4 | K6 | 262002
51 | (209001K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209001
52 | (510000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Intake/discharge blockage | 3.6 | A2 | 510000
53 | (204000K4.09) Knowledge of (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Leak detection | 3.4 | K4 | 204000
54 | (201003A2.01) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Stuck rod | 4 | K2 | 201003
55 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (291002K1.02) SENSORS AND DETECTORS (CFR: 41.7) (FLOW) Temperature/density compensation requirements | 2.5 | C | 510001
56 | (256000K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 CDS) CONDENSATE SYSTEM: (CFR: 41.7 / 45.7) Condensate demineralizer system | 3.3 | K6 | 256000
57 | (272000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.4) Effect of hydrogen injection operation on process radiation indications | 3.3 | K5 | 272000
58 | (241000A2.11) Ability to (a) predict the impacts of the following on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of AC electrical power | 3.5 | A2 | 241000
59 | (290002K1.21) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 RVI) REACTOR VESSEL INTERNALS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Leak detection system | 3.4 | A4 | 290002
60 | (290003K3.06) Knowledge of the effect that a loss or malfunction of the (SF9 CRV) CONTROL ROOM VENTILATION will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Control room radioactivity | 3.5 | K3 | 290003
61 | (245000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS including: (CFR: 41.5 / 45.5) Turbine speed | 3.1 | A1 | 245000
62 | (201005K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) and the following systems: (CFR: 41.2 to 41.7 / 45.8) Intermediate range monitor system | 3.6 | K1 | 201005
63 | (219000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.9 | A3 | 219000
64 | (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.1 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (292002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1) State the relationship between reactivity and effective multiplication factor | 2.5 | R | 292002
71 | (292006K1.14) FISSION PRODUCT POISONS (CFR: 41.1) Explain the process and reasons for the reactor operator to compensate for the time dependent behavior of xenon-135 concentration in the reactor | 3.2 | R | 292006
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293008K1.01) THERMAL HYDRAULICS (CFR: 41.14) (BOILING HEAT TRANSFER) Distinguish between boiling processes and other heat transfer mechanisms | 2.8 | T | 293008
74 | (293006K1.09) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Discuss relationship between pump speed, head, flow, and power without using formulas or calculations | 2.6 | T | 293006
75 | (293004K1.12) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 3.1 | T | 293004
76 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 295018
77 | (295006AA2.06) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Cause of reactor SCRAM | 3.7 | A2 | 295006
78 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295001
79 | (295016AA2.04) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 3.8 | A2 | 295016
80 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295004
81 | (295023AA2.01) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.9 | A2 | 295023
82 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295025
83 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 295007
84 | (295002AA2.05) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Condensate temperature | 2.8 | A2 | 295002
85 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 295011
86 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 215003
87 | (211000A2.06) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal valve position | 3.4 | A2 | 211000
88 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 261000
89 | (400000A2.13) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) | 3.3 | A2 | 400000
90 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 209002
91 | (230000A2.04) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve openings due to malfunction(s) | 3.6 | A2 | 230000
92 | (234000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FH) FUEL HANDLING: (CFR: 41.5 / 45.3) Spent fuel pool design | 3 | K5 | 234000
93 | (202002A2.05) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Scoop tube lockup (BWR 2, 3, 4) | 3.7 | A2 | 202002
94 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
96 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
97 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G2.4 | G2.4