## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295025EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Isolation condenser (Nine Mile Point 1, Dresden) | 4.1 | A1 | 295025
2 | (295024EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Containment building integrity (Mark III) | 4 | K1 | 295024
3 | (295001AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Idle loop/reverse flow | 3.8 | K3 | 295001
4 | (295037EK2.22) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) RHR/LPCI system | 3.8 | K2 | 295037
5 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4.1 | A2 | 295026
6 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 295016
7 | (600000AA1.01) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Respirator air pack | 3.5 | A1 | 600000
8 | (295023AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Radiation exposure hazards | 3.9 | K1 | 295023
9 | (295038EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Control room ventilation system isolation | 3.8 | K3 | 295038
10 | (295030EK2.03) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) LPCS | 3.8 | K2 | 295030
11 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
12 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 295027
13 | (295006AA1.05) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Neutron monitoring system | 3.9 | A1 | 295006
14 | (295021AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Thermal stratification | 3.9 | K1 | 295021
15 | (700000AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor and turbine trip criteria | 3.8 | K3 | 700000
16 | (295031EK2.17) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Feedwater system | 3.9 | K2 | 295031
17 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
18 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295004
19 | (295005AA1.04) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Main turbine generator and auxiliaries | 2.9 | A1 | 295005
20 | (295018AA1.05) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor recirculation system | 3.6 | K1 | 295018
21 | (295007AK2.05) Knowledge of the relationship between the (APE 7) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Shutdown cooling system (RHR shutdown cooling mode) | 3.7 | K2 | 295007
22 | (295020AA2.03) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 3.9 | A2 | 295020
23 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 295034
24 | (295002AA1.03) Ability to operate and/or monitor the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.7 / 45.6) RPS | 3.7 | A1 | 295002
25 | (500000EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.8 to 41.10) Containment integrity | 4 | K1 | 500000
26 | (295035EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.5 / 45.6) Secondary containment ventilation alignment | 3.7 | K3 | 295035
27 | (211000K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RWCU system | 3.8 | K1 | 211000
28 | (205000K4.02) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) High pressure isolation | 3.9 | K4 | 205000
29 | (215004K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RCIS (BWR 6) | 3.9 | K3 | 215004
30 | (239002A2.01) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck-open vacuum breakers | 3.7 | A2 | 239002
31 | (263000A3.03) Ability to monitor automatic operation of the (SF6 DC) DC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Transfers | 3.3 | A3 | 263000
32 | (215003K2.01) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) IRM channels/detectors | 3.4 | K2 | 215003
33 | (262001K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) DC power | 3.8 | K6 | 262001
34 | (300000K5.15) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) High moisture content in instrument air | 3.1 | K5 | 300000
35 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 203000
36 | (217000A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Suppression pool level | 3.4 | A1 | 217000
37 | (209001A4.01) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Core spray pump | 4.3 | A4 | 209001
38 | (400000K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 to 45.8) Reactor water cleanup system | 3.6 | K1 | 400000
39 | (209002K4.07) Knowledge of (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Override of reactor water level interlock | 4 | K4 | 209002
40 | (223002K3.16) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Shutdown cooling system/RHR | 3.8 | K3 | 223002
41 | (259002A2.06) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of controller signal output | 3.6 | A2 | 259002
42 | (218000A3.10) Ability to monitor automatic operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.7 / 45.7) ADS logic | 4.1 | A3 | 218000
43 | (212000K2.03) (SF7 RPS) REACTOR PROTECTION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) RPS alternate power supplies | 3.9 | K2 | 212000
44 | (261000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) Reactor protection system | 3.1 | K6 | 261000
45 | (215005K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.5 / 45.3) Effects of voids on LPRM indication | 3.1 | K5 | 215005
46 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (291005K1.07) MOTORS AND GENERATORS (CFR: 41.7) Electrical units: volts, amps, VARs, watts and hertz | 2.6 | C | 264000
47 | (262002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.1 | A1 | 262002
48 | (510000A4.01) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Pump operations | 3.7 | A4 | 510000
49 | (211000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant air systems | 2.5 | K1 | 211000
50 | (205000K4.04) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) Adequate pump NPSH | 3.3 | K4 | 205000
51 | (215004K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RPS | 3.5 | K3 | 215004
52 | (239002A2.02) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Leaking SRV | 3.7 | A2 | 239002
53 | (290001A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 SC) SECONDARY CONTAINMENT including: (CFR: 41.5 / 45.5) Auxiliary building area temperatures (BWR 6) | 3.7 | A1 | 290001
54 | (204000A4.01) Ability to manually operate and/or monitor the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System pumps | 3.3 | A4 | 204000
55 | (234000K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FH) FUEL HANDLING and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.4 | K1 | 234000
56 | (510001K4.05) Knowledge of (SF8 CWS*) CIRCULATING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Reactor power reduction | 3.3 | K4 | 510001
57 | (201005K3.05) Knowledge of the effect that a loss or malfunction of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) will have on the following systems or system parameters: (CFR: 41.6 / 41.7 / 45.4 to 45.6) Control rod drive mechanism system | 3.1 | K3 | 201005
58 | (290002A2.01) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) LOCA | 4.6 | A2 | 290002
59 | (230000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 230000
60 | (219000K2.03) (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE Knowledge of electrical power supplies to the following: (CFR: 41.7) Valve control logic | 3.6 | K2 | 219000
61 | (272000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.7) Plant process computer/parameter display systems | 2.7 | K6 | 272000
62 | (202001K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1, SF4 RS) RECIRCULATION SYSTEM: (CFR: 41.5 / 45.3) Reactor moderator temperature | 3.4 | K5 | 202001
63 | (239003) (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 239003
64 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292008K1.25) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (REACTOR RESPONSE ON A SCRAM) Explain the shape of a curve of reactor power versus time after a SCRAM | 2.9 | R | 292008
71 | (292006K1.14) FISSION PRODUCT POISONS (CFR: 41.1) Explain the process and reasons for the reactor operator to compensate for the time dependent behavior of xenon-135 concentration in the reactor | 3.2 | R | 292006
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
74 | (293006K1.12) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Define pump shutoff head, pump runout, and axial thrust | 2.5 | T | 293006
75 | (293009K1.06) CORE THERMAL LIMITS (CFR: 41.14) (LHGR) Define LHGR | 3.8 | T | 293009
76 | (295025EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.4 | A2 | 295025
77 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 295024
78 | (295001AA2.03) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Core flow | 4 | A2 | 295001
79 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G | 295037
80 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
81 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 295016
82 | (600000AA2.11) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Time limit for use of respirators | 3.1 | A2 | 600000
83 | (295036EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Water level in the affected area | 3.8 | A2 | 295036
84 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 295010
85 | (295011AA2.01) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4 | A2 | 295011
86 | (263000A2.02) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of ventilation during charging | 3 | A2 | 263000
87 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 215003
88 | (262001A2.02) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.2 | A2 | 262001
89 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G | 300000
90 | (203000A2.20) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Surveillance acceptance criteria not being met | 3.3 | A2 | 203000
91 | (290003) (SF9 CRV) CONTROL ROOM VENTILATION (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 290003
92 | (241000A2.10) Ability to (a) predict the impacts of the following on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of stator water cooling | 3.6 | A2 | 241000
93 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 286000
94 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
96 | (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
97 | (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G2.4 | G2.4