## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295006AK2.01) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) RPS | 4.5 | K2 | 295006
2 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 700000
3 | (295004AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Loss of breaker protection | 3.7 | K1 | 295004
4 | (295018AA1.04) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor water cleanup system | 3.4 | A1 | 295018
5 | (295024EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Emergency depressurization | 4.2 | K3 | 295024
6 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.9 | A2 | 295031
7 | (295030EK2.10) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Systems required to shut down the reactor | 3.4 | K2 | 295030
8 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.5 | G | 295026
9 | (295019AK2.04) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Reactor water cleanup system | 3.2 | K1 | 295019
10 | (295005AA1.09) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Reactor water level control system | 3.7 | A1 | 295005
11 | (295001AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor power response | 4 | K3 | 295001
12 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.7 | A2 | 295025
13 | (295027EK2.07) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Hydrogen recombiners | 3.1 | K2 | 295027
14 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295003
15 | (295023AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Radiation exposure hazards | 3.9 | K1 | 295023
16 | (600000AA1.08) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Firefighting equipment used on each class of fire | 3.3 | A1 | 600000
17 | (295016AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Disabling/transferring control room controls | 4 | K3 | 295016
18 | (295038EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.4 | A2 | 295038
19 | (295021AK2.07) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Reactor recirculation | 3.5 | K2 | 295021
20 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 295037
21 | (295017AA1.11) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) PCIS/NSSSS | 3.7 | A1 | 295017
22 | (295033EK3.06) Knowledge of the reasons for the following responses or actions as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.5 / 45.6) Operating ventilation systems | 3.6 | K3 | 295033
23 | (295029EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.5 | A2 | 295029
24 | (295008AK2.01) Knowledge of the relationship between the (APE 8) HIGH REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) RPS | 3.9 | K2 | 295008
25 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 295010
26 | (295034EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.8 to 41.10) Radiation releases | 3.9 | K1 | 295034
27 | (215004K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.5 / 45.3) Changing detector position | 3.2 | K5 | 215004
28 | (263000K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 DC) DC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant systems using DC control power | 4.2 | K3 | 263000
29 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 300000
30 | (211000A4.02) Ability to manually operate and/or monitor the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SLCS control switch | 4.1 | A4 | 211000
31 | (259002K4.05) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) P sat/T sat (compensation) | 2.7 | K4 | 259002
32 | (400000K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) Recirculation system | 2.9 | K6 | 400000
33 | (209002A2.06) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Core spray line break | 4 | A2 | 209002
34 | (261000K2.03) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Standby gas treatment system initiation logic | 3.5 | K2 | 261000
35 | (209001A3.02) Ability to monitor automatic operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump start | 4.3 | A3 | 209001
36 | (215003A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) IRM back panel switches | 3.1 | A1 | 215003
37 | (217000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Condensate system | 3.1 | K1 | 217000
38 | (510000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Intake/traveling screen high differential pressure/ differential level | 3.3 | K5 | 510000
39 | (262002K3.21) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) APRM/LPRM/OPRM system | 3.3 | K3 | 262002
40 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (291005K1.04) MOTORS AND GENERATORS (CFR: 41.7) Relationship between pump motor current (ammeter reading) and the following: pump fluid flow, head, speed, and stator temperature | 2.7 | C | 212000
41 | (223002A4.07) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) Reset of system initiations | 3.8 | A4 | 223002
42 | (203000K4.14) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Operation from remote shutdown panel | 3.6 | K4 | 203000
43 | (239002K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Nuclear boiler instrument system (pressure indication) | 3.8 | K6 | 239002
44 | (205000A2.10) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Abnormal valve position | 3.6 | A2 | 205000
45 | (262001K2.03) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Major motor control centers/buses (480 volts and higher) | 3.8 | K2 | 262001
46 | (215005A3.03) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215005
47 | (264000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Generator load | 3.9 | A1 | 264000
48 | (218000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) LPCS system | 4.2 | K1 | 218000
49 | (215004K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.5 / 45.3) Detector operation | 2.8 | K5 | 215004
50 | (263000K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 DC) DC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Systems with DC components (e.g., valves, motors, solenoids, instruments) | 3.8 | K3 | 263000
51 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 300000
52 | (211000A4.06) Ability to manually operate and/or monitor the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) RWCU system isolation | 4 | A4 | 211000
53 | (230000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.5 / 45.5) Suppression chamber pressure | 4 | A1 | 230000
54 | (215001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 TIP) TRAVERSING IN CORE PROBE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment isolation system (BWR 2, 3, 4, 5) | 3.7 | K1 | 215001
55 | (290001K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 SC) SECONDARY CONTAINMENT: (CFR: 41.5 / 45.3) Secondary containment integrity | 3.9 | K5 | 290001
56 | (239003K3.01) Knowledge of the effect that a loss or malfunction of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Radiation monitoring system | 3 | K3 | 239003
57 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (291007K1.03) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Effects of channeling in a demineralizer | 2.9 | C | 510001
58 | (226001A4.02) Ability to manually operate and/or monitor the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Valves | 4.1 | A4 | 226001
59 | (201001K4.03) Knowledge of (SF1 CRDH) CRD HYDRAULIC SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.2-3 / 41.6-7 / 41.10 / 41.12 / 45.1-6) Control rod drive mechanism cooling water flow | 3.3 | K4 | 201001
60 | (202002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM: (CFR: 41.7 / 45.7) Recirculation system | 3.8 | K6 | 202002
61 | (233000A2.04) Ability to (a) predict the impacts of the following on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trip | 3.6 | A2 | 233000
62 | (245000K2.02) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS Knowledge of electrical power supplies to the following: (CFR: 41.7) Lube oil pumps | 2.9 | K2 | 245000
63 | (202001A3.10) Ability to monitor automatic operation of the (SF1, SF4 RS) RECIRCULATION SYSTEM including: (CFR: 41.7 / 45.7) VFD start sequence | 3.4 | A3 | 202001
64 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
65 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
66 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
67 | (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G2.4 | G2.4
70 | (292006K1.12) FISSION PRODUCT POISONS (CFR: 41.1) Plot the curve and explain the reasoning for the reactivity insertion by Xenon-135 versus time for the following: --Reactor SCRAM | 2.8 | R | 292006
71 | (292003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the effect of delayed neutrons on reactor period | 3.7 | R | 292003
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293007K1.09) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) Discuss operational implications of condensate | 2.7 | T | 293007
74 | (293010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the operational concerns of uncontrolled cooldown | 4.1 | T | 293010
75 | (293003K1.23) STEAM (CFR: 41.14) Use saturated and superheated steam tables | 3.1 | T | 293003
76 | (295006) (APE 6) SCRAM (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295006
77 | (700000AA2.05) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operational status of offsite circuit | 3.7 | A2 | 700000
78 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 295004
79 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.2 | A2 | 295018
80 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 295024
81 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4 | A2 | 295031
82 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 295030
83 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 295012
84 | (500000EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen concentration limits for containment | 3.9 | A2 | 500000
85 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295011
86 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 259002
87 | (400000A2.06) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Component cooling water system heat exchanger tube leak | 3.1 | A2 | 400000
88 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 209002
89 | (261000A2.09) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Instrument air system malfunction | 2.7 | A2 | 261000
90 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 209001
91 | (256000A2.04) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC power failures | 3.7 | A2 | 256000
92 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 288000
93 | (219000A2.16) Ability to (a) predict the impacts of the following on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool level | 3.3 | A2 | 219000
94 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4
100 | (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4