## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295038EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4.1 | K3 | 295038
2 | (295003AA1.03) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) Decay heat removal systems | 4.2 | A1 | 295003
3 | (295026EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.5 | A2 | 295026
4 | (295019AK2.07) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Condensate system | 3.3 | K2 | 295019
5 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 295004
6 | (295005AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Reactor level control | 3.8 | K1 | 295005
7 | (295030EK3.07) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) NPSH/vortex limits | 3.8 | K3 | 295030
8 | (295001AA1.05) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) Recirculation flow control system | 3.7 | A1 | 295001
9 | (295037EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.3 | A2 | 295037
10 | (295006AK2.05) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD mechanism | 3.4 | K2 | 295006
11 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 700000
12 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
13 | (295016AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Turbine trip | 3.6 | K3 | 295016
14 | (295021AA1.04) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Alternate decay heat removal systems | 3.9 | A1 | 295021
15 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.5 | A2 | 295027
16 | (295018AK2.06) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.8 | K2 | 295018
17 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G | 295024
18 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
19 | (295023AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Non-coincident SCRAM function | 2.8 | K3 | 295023
20 | (295025EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Main and reheat steam | 3.1 | A1 | 295025
21 | (295032EK2.07) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Leak detection system | 3.6 | K2 | 295032
22 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 295029
23 | (295002AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.8 to 41.10) Loss of heat sink | 4.1 | K1 | 295002
24 | (295036EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.5 / 41.10 / 45.6) Pumping secondary containment sumps | 3.2 | K3 | 295036
25 | (295011AA1.01) Ability to operate and/or monitor the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling system | 3.7 | A1 | 295011
26 | (295009AA2.02) Ability to determine and/or interpret the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Steam flow/feed flow mismatch | 3.9 | A2 | 295009
27 | (215004A3.04) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block status | 3.7 | A3 | 215004
28 | (239002A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Lights and alarms | 3.7 | A1 | 239002
29 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 259002
30 | (264000K3.04) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Bus frequency/voltage | 3.9 | K3 | 264000
31 | (205000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) System venting | 2.9 | K5 | 205000
32 | (263000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Grounds | 3 | K6 | 263000
33 | (215003K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.9 | K1 | 215003
34 | (209002K4.02) Knowledge of (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of overfilling reactor vessel | 4 | K4 | 209002
35 | (261000A4.03) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Fan | 3.7 | A4 | 261000
36 | (212000A2.19) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Partial RPS actuation | 4.2 | A2 | 212000
37 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
38 | (211000A3.06) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) RWCU system isolation | 4.1 | A3 | 211000
39 | (262002A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.5 / 45.5) Inverter outputs | 3.1 | A1 | 262002
40 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (291004K1.21) PUMPS (CFR: 41.3) (POSITIVE DISPLACEMENT) Net positive suction head (NSPH) requirements for a positive displacement pump | 2.6 | C | 217000
41 | (510000K3.09) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Fire protection system | 2.7 | K3 | 510000
42 | (209001K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209001
43 | (400000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) Control rod drive hydraulic system | 2.8 | K6 | 400000
44 | (223002K1.19) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water systems | 3.1 | K1 | 223002
45 | (215005K4.07) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Flow-biased trip setpoints | 3.9 | K4 | 215005
46 | (262001A4.04) Ability to manually operate and/or monitor the (SF6 AC) AC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Synchronizing of AC sources | 3.9 | A4 | 262001
47 | (203000A2.04) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC failures | 3.9 | A2 | 203000
48 | (300000K2.01) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 300000
49 | (215004A3.03) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) RPS status | 3.5 | A3 | 215004
50 | (239002A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Suppression pool water temperature | 4 | A1 | 239002
51 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.1 | G | 259002
52 | (264000K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant loads | 4.3 | K3 | 264000
53 | (510001A2.01) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Pump/Motor failure | 3.5 | A2 | 510001
54 | (239001K2.02) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Main steam line shutoff valves | 3.3 | K2 | 239001
55 | (268000A3.01) Ability to monitor automatic operation of the (SF9 RW) RADWASTE SYSTEM including: (CFR: 41.7 / 45.7) Radiological release isolation valves | 3.2 | A3 | 268000
56 | (215001A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.5 / 45.5) Lights and alarms | 2.8 | A1 | 215001
57 | (259001) (SF2 FWS) FEEDWATER SYSTEM (291005K1.02) MOTORS AND GENERATORS (CFR: 41.7) Potential consequences of overheating motor insulation or motor bearings | 2.7 | C | 259001
58 | (290002K3.09) Knowledge of the effect that a loss or malfunction of the (SF4 RVI) REACTOR VESSEL INTERNALS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Main steam system | 3.6 | K3 | 290002
59 | (223001K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES: (CFR: 41.5 / 45.3) Hydrogen production mechanisms | 3.6 | K5 | 223001
60 | (201005K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.7 / 45.7) Intermediate range monitor system | 3.7 | K6 | 201005
61 | (204000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) PCIS/NSSSS | 3.8 | K1 | 204000
62 | (234000K4.08) Knowledge of (SF8 FH) FUEL HANDLING design features and/or interlocks that provide for the following: (CFR: 41.7) Preventing draining of water from the inclined fuel transfer system | 3.3 | K4 | 234000
63 | (290001A4.11) Ability to manually operate and/or monitor the (SF5 SC) SECONDARY CONTAINMENT in the control room: (CFR: 41.7 / 45.5 to 45.8) System reset | 3.5 | A4 | 290001
64 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
65 | (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.4 | G2.4
70 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
71 | (292008K1.20) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain transient and steady-state effects of an increase in core flow on reactor power and void fraction | 3.4 | R | 292008
72 | (292004K1.05) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the fuel temperature (Doppler) coefficient of reactivity | 2.9 | R | 292004
73 | (293006K1.05) FLUID STATICS AND DYNAMICS (CFR: 41.14) Explain operational implications of fluid/water hammer | 3.3 | T | 293006
74 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
75 | (293010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the effect of fast neutron irradiation on reactor vessel metals | 2.8 | T | 293010
76 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 295038
77 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.3 | A2 | 295003
78 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 295026
79 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
80 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 295004
81 | (295005AA2.08) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Electrical distribution status | 3.6 | A2 | 295005
82 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 295030
83 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295012
84 | (295034EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Ventilation radiation levels | 4 | A2 | 295034
85 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 295013
86 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 205000
87 | (263000A2.04) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.2 | A2 | 263000
88 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 215003
89 | (209002A2.19) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal reactor water level | 3.9 | A2 | 209002
90 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 261000
91 | (202002A2.06) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low reactor water level | 3.6 | A2 | 202002
92 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 226001
93 | (233000A2.03) Ability to (a) predict the impacts of the following on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal surge tank level | 3.5 | A2 | 233000
94 | (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
95 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4