## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295027EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Reactor water level measurement | 4.1 | K1 | 295027
2 | (600000AA1.01) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Respirator air pack | 3.5 | A1 | 600000
3 | (295001AA2.02) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Neutron monitoring | 4 | A2 | 295001
4 | (295006) (APE 6) SCRAM (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 295006
5 | (295024EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Emergency depressurization | 4.2 | K3 | 295024
6 | (295019AK2.19) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 2.6 | K2 | 295019
7 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
8 | (295005AA1.05) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 3.9 | A1 | 295005
9 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.6 | A2 | 295026
10 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 295021
11 | (295023AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Personnel evacuation | 4 | K3 | 295023
12 | (295016AK2.14) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Cooling water systems | 3.4 | K2 | 295016
13 | (295025EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Decay heat | 3.8 | K1 | 295025
14 | (295038EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) MSIV leakage control | 3.1 | A1 | 295038
15 | (295004AA2.03) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery parameters | 3.8 | A2 | 295004
16 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 295003
17 | (700000AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor and turbine trip criteria | 3.8 | K3 | 700000
18 | (295037EK2.16) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Recirculation flow control system | 3.8 | K2 | 295037
19 | (295018AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Starting the standby pump | 3.5 | K1 | 295018
20 | (295030EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) Systems required to shut down the reactor | 3.4 | A1 | 295030
21 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 500000
22 | (295007AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reactor/turbine pressure regulating system operation | 4 | K3 | 295007
23 | (295013AK2.03) Knowledge of the relationship between the (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. and the following systems or components: (CFR: 41.7 / 45.8) RCIC/HPCI operation | 4 | K2 | 295013
24 | (295017AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.8 to 41.10) Filtered vs. nonfiltered release | 3.6 | K1 | 295017
25 | (295011AA1.01) Ability to operate and/or monitor the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling system | 3.7 | A1 | 295011
26 | (295020AA2.01) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Drywell/containment pressure | 3.9 | A2 | 295020
27 | (218000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) ADS valve position indications | 4 | A1 | 218000
28 | (300000K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Air leaks | 3.3 | K5 | 300000
29 | (510000A4.02) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valve operations | 3.6 | A4 | 510000
30 | (215004A3.03) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) RPS status | 3.5 | A3 | 215004
31 | (217000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Suppression pool | 3.8 | K1 | 217000
32 | (262002A2.05) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of UPS | 3.8 | A2 | 262002
33 | (400000K3.18) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Reactor feedwater system | 3.1 | K3 | 400000
34 | (259002K4.09) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Single-element control (reactor water level provides the only input) | 3.5 | K4 | 259002
35 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 223002
36 | (263000K2.03) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Battery chargers | 3.5 | K2 | 263000
37 | (264000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) Starting air components | 3.8 | K6 | 264000
38 | (262001A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) System power | 3.3 | A1 | 262001
39 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
40 | (205000A4.02) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) SDC/RHR valves | 3.9 | A4 | 205000
41 | (203000A3.02) Ability to monitor automatic operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Pump start | 4.1 | A3 | 203000
42 | (239002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.6 | K1 | 239002
43 | (209002A2.14) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool temperature | 3.4 | A2 | 209002
44 | (209001K3.03) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency generators | 3.6 | K3 | 209001
45 | (211000K4.13) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Tank heater operation | 2.8 | K4 | 211000
46 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (291005K1.09) MOTORS AND GENERATORS (CFR: 41.7) Interrelations of the following: VARs, watts, amps, volts, power factor | 2.6 | C | 215005
47 | (215003K2.01) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) IRM channels/detectors | 3.4 | K2 | 215003
48 | (261000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) Primary containment high pressure | 3.4 | K6 | 261000
49 | (218000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) Reactor water level | 4 | A1 | 218000
50 | (300000K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Low instrument air pressure | 3.9 | K5 | 300000
51 | (510000A4.01) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Pump operations | 3.7 | A4 | 510000
52 | (215004A3.04) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block status | 3.7 | A3 | 215004
53 | (239001K2.02) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Main steam line shutoff valves | 3.3 | K2 | 239001
54 | (239003K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) : (CFR: 41.7 / 45.7) Outboard MSIV leakage | 2.9 | K6 | 239003
55 | (219000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE including: (CFR: 41.5 / 45.5) Suppression chamber air temperature | 3.3 | A1 | 219000
56 | (215001K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 TIP) TRAVERSING IN CORE PROBE: (CFR: 41.5 / 45.3) Flux detection | 3.2 | K5 | 215001
57 | (510001A4.01) Ability to manually operate and/or monitor the (SF8 CWS*) CIRCULATING WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Circulating water pumps | 3.3 | A4 | 510001
58 | (216000K4.01) Knowledge of (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION design features and/or interlocks that provide for the following: (CFR: 41.7) Reading of nuclear boiler parameters outside the control room | 3.3 | A3 | 216000
59 | (268000K1.18) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 RW) RADWASTE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment | 2.5 | K1 | 268000
60 | (259001A2.03) Ability to (a) predict the impacts of the following on the (SF2 FWS) FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of condensate system pump(s) | 3.9 | A2 | 259001
61 | (201005K3.05) Knowledge of the effect that a loss or malfunction of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) will have on the following systems or system parameters: (CFR: 41.6 / 41.7 / 45.4 to 45.6) Control rod drive mechanism system | 3.1 | K3 | 201005
62 | (233000K4.01) Knowledge of (SF9 FPCCU) FUEL POOL COOLING/CLEANUP design features and/or interlocks that provide for the following: (CFR: 41.7) Redundancy | 3.1 | K4 | 233000
63 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 286000
64 | (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the concept of subcritical multiplication | 3 | R | 292003
71 | (292004K1.11) REACTIVITY COEFFICIENTS (CFR: 41.1) Describe the effect on the magnitude of void coefficient from changes in the following: --Core void fraction | 2.6 | R | 292004
72 | (292002K1.08) NEUTRON LIFE CYCLE (CFR: 41.1) Define effective multiplication factor (K-effective) and discuss its relationship to the state of a reactor (critical, subcritical, and supercritical) | 2.8 | R | 292002
73 | (293008K1.17) THERMAL HYDRAULICS (CFR: 41.14) (TWO-PHASE FLOW) Describe onset of transition boiling point along a hypothetical fuel channel, experiencing two phase flow | 2.8 | T | 293008
74 | (293007K1.06) HEAT TRANSFER (CFR: 41.14) (HEAT EXCHANGERS) Discuss the factors that affect heat transfer rate in | 2.8 | T | 293007
75 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
76 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.6 | A2 | 295027
77 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 600000
78 | (295001AA2.11) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Individual loop flow(s) | 3.6 | A2 | 295001
79 | (295006) (APE 6) SCRAM (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 295006
80 | (295024EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4 | A2 | 295024
81 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295019
82 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.6 | A2 | 295031
83 | (295033EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.10 / 43.5 / 45.13) Source of high area radiation | 3.8 | A2 | 295033
84 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295012
85 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
86 | (217000A2.07) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of lube oil | 3.3 | A2 | 217000
87 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 262002
88 | (400000A2.03) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High/low CCW temperature | 3.5 | A2 | 400000
89 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 259002
90 | (223002A2.12) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Plant pneumatic system failures | 3.1 | A2 | 223002
91 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 230000
92 | (234000A2.08) Ability to (a) predict the impacts of the following on the (SF8 FH) FUEL HANDLING and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Fuel pool ventilation malfunction | 2.9 | A2 | 234000
93 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 226001
94 | (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
95 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.1 | G2.1
96 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4