## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295027EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4.5 | A2 | 295027
2 | (295026EK2.01) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.8 | K2 | 295026
3 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 295001
4 | (600000AA1.09) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Plant fire zone panel (including detector location) | 3.3 | A1 | 600000
5 | (295021AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Establishing alternate heat removal flow paths | 4 | K3 | 295021
6 | (700000AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Frequency changes | 3.2 | K1 | 700000
7 | (295038EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Total number of curies released or release rate/duration | 3.2 | A2 | 295038
8 | (295019AK2.03) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Feedwater system | 3.7 | K2 | 295019
9 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295024
10 | (295005AA1.11) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) RCIC (BWR 6) | 3.5 | A1 | 295005
11 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
12 | (295016AK2.14) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Cooling water systems | 3.4 | K1 | 295016
13 | (295037EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Containment conditions/isolations | 3.7 | A2 | 295037
14 | (295006AK2.02) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) Reactor water level control system | 4.1 | K2 | 295006
15 | (295023) (APE 23) REFUELING ACCIDENTS (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295023
16 | (295018AA1.05) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor recirculation system | 3.6 | A1 | 295018
17 | (295031EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Core submergence | 4.7 | K3 | 295031
18 | (295025EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Decay heat | 3.8 | K1 | 295025
19 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.4 | A2 | 295003
20 | (295030EK2.06) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool makeup system(s) | 3.5 | K2 | 295030
21 | (295036EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.7 / 45.6 / 45.8) Radwaste system | 2.7 | A1 | 295036
22 | (295033EK3.06) Knowledge of the reasons for the following responses or actions as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.5 / 45.6) Operating ventilation systems | 3.6 | K3 | 295033
23 | (295009AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Recirculation pump net positive suction head | 3.4 | K1 | 295009
24 | (295017AA2.03) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.7 | A2 | 295017
25 | (295022AK2.08) Knowledge of the relationship between the (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS and the following systems or components: (CFR: 41.7 / 45.8) Condensate system | 2.6 | K2 | 295022
26 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 295013
27 | (217000K4.06) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Manual system initiation | 4 | K4 | 217000
28 | (400000A2.15) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to turbine lube oil system | 3.4 | A2 | 400000
29 | (259002K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Feedwater system | 3.9 | K1 | 259002
30 | (203000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) System flow | 4 | A1 | 203000
31 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 263000
32 | (218000K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.1 | K3 | 218000
33 | (510000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Flood prevention | 3.1 | K5 | 510000
34 | (264000A3.07) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Room ventilation system | 3.1 | A3 | 264000
35 | (205000A4.06) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor water level | 4 | A4 | 205000
36 | (209002K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Suppression pool suction strainer | 3.4 | K6 | 209002
37 | (262002K2.02) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor generator | 3.3 | K2 | 262002
38 | (215004K4.06) Knowledge of (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) IRM/SRMS interlock | 3.4 | K4 | 215004
39 | (239002A2.04) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS actuation | 4.6 | A2 | 239002
40 | (209001K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment | 3.7 | K1 | 209001
41 | (211000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) RWCU system lineup | 3.9 | A1 | 211000
42 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (291002K1.08) SENSORS AND DETECTORS (CFR: 41.7) (LEVEL) Effects of operating environment (pressure, temperature, or radiation) | 2.9 | C | 223002
43 | (215005K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RPS | 4.2 | K3 | 215005
44 | (215003K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.5 / 45.3) Detector operation | 3 | K5 | 215003
45 | (212000A3.10) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Bypassing SCRAM signals | 3.8 | A3 | 212000
46 | (262001A4.01) Ability to manually operate and/or monitor the (SF6 AC) AC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Breakers and disconnects | 3.7 | A4 | 262001
47 | (300000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Air dryers | 3.3 | K6 | 300000
48 | (261000K2.04) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Standby gas treatment system heaters | 2.9 | K2 | 261000
49 | (217000K4.18) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Remote operation | 3.7 | K4 | 217000
50 | (400000A2.04) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Radiation monitoring system alarm | 3 | A2 | 400000
51 | (259002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor feedwater flow | 3.9 | K1 | 259002
52 | (203000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Component cooling water systems | 2.8 | A1 | 203000
53 | (290001K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 SC) SECONDARY CONTAINMENT: (CFR: 41.7 / 45.7) Primary containment system | 3.6 | K6 | 290001
54 | (216000K2.01) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Analog trip system | 3.6 | K2 | 216000
55 | (201003K4.08) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) CRD mechanism temperature | 3.1 | K4 | 201003
56 | (290002A2.06) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding safety limits | 4.6 | A2 | 290002
57 | (201005K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) and the following systems: (CFR: 41.2 to 41.7 / 45.8) Recirculation flow control system | 3.2 | K1 | 201005
58 | (239003A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.5 / 45.5) Status indicating lights and alarms | 2.7 | A1 | 239003
59 | (268000) (SF9 RW) RADWASTE SYSTEM (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 268000
60 | (233000K3.02) Knowledge of the effect that a loss or malfunction of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Fuel pool water level | 3.6 | K3 | 233000
61 | (259001K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 FWS) FEEDWATER SYSTEM: (CFR: 41.5 / 45.3) Thermal power calculation | 3.5 | K5 | 259001
62 | (234000A3.02) Ability to monitor automatic operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.7 / 45.7) Interlock operation | 3.1 | A3 | 234000
63 | (256000A4.04) Ability to manually operate and/or monitor the (SF2 CDS) CONDENSATE SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Minimum flow valves | 3.4 | A4 | 256000
64 | (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.4 | G2.4
70 | (292005K1.04) CONTROL RODS (CFR: 41.1) Predict direction of change in reactor power for a change in control rod position | 3.5 | R | 292005
71 | (292006K1.07) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Xenon following a SCRAM | 3.2 | R | 292006
72 | (292008K1.22) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain the effect that opening steam bypass valves, during power operation, will have on reactor power | 3.6 | R | 292008
73 | (293007K1.12) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Define percent reactor power | 2.7 | T | 293007
74 | (293009K1.18) CORE THERMAL LIMITS (CFR: 41.14) (MCPR) Define CPR | 3.7 | T | 293009
75 | (293003K1.16) STEAM (CFR: 41.14) Define the following term: Subcooling | 2.8 | T | 293003
76 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.6 | A2 | 295027
77 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 295026
78 | (295001AA2.13) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Thermal limits | 3.9 | A2 | 295001
79 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 600000
80 | (295021AA2.04) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water temperature | 4.3 | A2 | 295021
81 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 700000
82 | (295038EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 4.5 | A2 | 295038
83 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
84 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295020
85 | (295008AA2.03) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water cleanup blowdown flow | 3.2 | A2 | 295008
86 | (263000A2.04) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.2 | A2 | 263000
87 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 218000
88 | (510000A2.04) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Pipe leakage/rupture | 3.5 | A2 | 510000
89 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 264000
90 | (205000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of AC power | 3.8 | A2 | 205000
91 | (271000) (SF9 OG) OFFGAS SYSTEM (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 271000
92 | (215001A2.05) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of DC electrical distribution | 2.7 | A2 | 215001
93 | (223001) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 223001
94 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
96 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
97 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
100 | (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G2.4 | G2.4