## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 295038
2 | (295003AA1.07) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) DC electrical loads | 3.8 | A1 | 295003
3 | (700000AK2.10) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Emergency generators (diesel/jet) | 3.9 | K2 | 700000
4 | (295026EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.5 | A2 | 295026
5 | (295018AK2.04) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Reactor recirculation system | 3.7 | K1 | 295018
6 | (295005AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.1 | K3 | 295005
7 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 295031
8 | (295027EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 3 | A1 | 295027
9 | (295030EK2.08) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Systems required to depressurize the reactor | 3.9 | K2 | 295030
10 | (295016AA2.04) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4 | A2 | 295016
11 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
12 | (295021AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Installing fuel pool gates | 3 | K3 | 295021
13 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G | 295037
14 | (295001AA1.07) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) Nuclear boiler instrumentation system | 3.4 | A1 | 295001
15 | (295006AK2.03) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD hydraulic system | 3.9 | K2 | 295006
16 | (295025EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4 | A2 | 295025
17 | (295004AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Battery capacity | 3.9 | K1 | 295004
18 | (295019AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Standby air compressor operation | 3.7 | K3 | 295019
19 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 295023
20 | (295024EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) HPCS | 4.2 | A1 | 295024
21 | (295036EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Operability of components within the affected area | 3.3 | A2 | 295036
22 | (295014AK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.8 to 41.10) Reactor power | 4.4 | K1 | 295014
23 | (295017AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.5 / 45.6) Power reduction | 3.7 | K3 | 295017
24 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295008
25 | (295013AA1.03) Ability to operate and/or monitor the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.7 / 45.6) Suppression pool temperature monitoring system | 4 | A1 | 295013
26 | (295029EK2.08) Knowledge of the relationship between the (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Drywell/suppression chamber ventilation | 3.5 | K2 | 295029
27 | (209002K4.10) Knowledge of (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Uniform core spray coverage | 3.1 | K4 | 209002
28 | (215005K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RMCS (BWR 2, 3, 4, 5) | 3.4 | K3 | 215005
29 | (218000A4.04) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS inhibit | 4.4 | A4 | 218000
30 | (209001K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Loss of emergency generators | 4.2 | K6 | 209001
31 | (263000K2.01) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Operationally significant DC loads | 4 | K2 | 263000
32 | (261000K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Fuel handling building pressure changes | 3 | K5 | 261000
33 | (223002A3.02) Ability to monitor automatic operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.7 / 45.7) Valve closures | 4.3 | A3 | 223002
34 | (203000A2.17) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Keep fill system failure | 3.6 | A2 | 203000
35 | (205000K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Service water | 3.2 | K1 | 205000
36 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 262002
37 | (510000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.5 / 45.5) Service water temperatures | 3.5 | A1 | 510000
38 | (212000K4.07) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Manual SCRAM | 4.2 | K4 | 212000
39 | (217000K3.06) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Condensate storage tank level | 3.2 | K3 | 217000
40 | (262001A4.07) Ability to manually operate and/or monitor the (SF6 AC) AC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Tap changers | 2.8 | A4 | 262001
41 | (239002K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Nuclear boiler instrument system (pressure indication) | 3.8 | K6 | 239002
42 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
43 | (264000K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Generator load limits | 4.1 | K5 | 264000
44 | (215004A3.04) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block status | 3.7 | A3 | 215004
45 | (211000A2.03) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC power failures | 3.9 | A2 | 211000
46 | (259002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor feedwater flow | 3.9 | K1 | 259002
47 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (291007K1.09) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Effects of demineralizer operation on water conductivity | 2.7 | C | 215003
48 | (300000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.5 / 45.5) Instrument air supply pressure | 3.7 | A1 | 300000
49 | (209002K4.01) Knowledge of (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of water hammer (keep fill) | 3.5 | K4 | 209002
50 | (215005K3.09) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Recirculation flow control system | 3.3 | K3 | 215005
51 | (218000A4.01) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS valves | 4.5 | A4 | 218000
52 | (209001K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Suppression pool suction strainer | 3.4 | K6 | 209001
53 | (290002) (SF4 RVI) REACTOR VESSEL INTERNALS (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 290002
54 | (286000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FPS) FIRE PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) System lineups | 3.1 | A1 | 286000
55 | (271000K4.09) Knowledge of (SF9 OG) OFFGAS SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Filtration of radioactive particulate | 3.2 | K4 | 271000
56 | (233000K3.03) Knowledge of the effect that a loss or malfunction of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Fuel pool water clarity | 2.9 | K3 | 233000
57 | (219000A4.03) Ability to manually operate and/or monitor the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Keep fill system | 3.3 | A4 | 219000
58 | (268000A2.04) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Radiological release isolation valve failure | 3.1 | K6 | 268000
59 | (290003K2.02) (SF9 CRV) CONTROL ROOM VENTILATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Chiller units | 3.1 | K2 | 290003
60 | (215001K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 TIP) TRAVERSING IN CORE PROBE: (CFR: 41.5 / 45.3) Flux detection | 3.2 | K5 | 215001
61 | (201001A3.09) Ability to monitor automatic operation of the (SF1 CRDH) CRD HYDRAULIC SYSTEM including: (CFR: 41.1-2 / 41.5-7 / 41.9 / 45.1-6 / 45.8 / 45.12-13) Cooling water flow | 3.2 | A3 | 201001
62 | (204000A2.07) Ability to (a) predict the impacts of the following on the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of instrument air systems | 2.9 | A2 | 204000
63 | (239003K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Condensate system | 2.5 | K1 | 239003
64 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
71 | (292004K1.03) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain resonance absorption | 2.7 | R | 292004
72 | (292008K1.08) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (CRITICALITY) Describe reactor power and startup rate/period response once criticality is reached | 4.1 | R | 292008
73 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
74 | (293009K1.24) CORE THERMAL LIMITS (CFR: 41.14) (MCPR) Describe the effects of pressure on critical power | 3.2 | T | 293009
75 | (293003K1.07) STEAM (CFR: 41.14) Define the following term: Saturated liquid | 2.8 | T | 293003
76 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 295038
77 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
78 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 700000
79 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4 | A2 | 295026
80 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295018
81 | (295005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.1 | A2 | 295005
82 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 295031
83 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 295033
84 | (295035EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Radiation release rate | 3.9 | A2 | 295035
85 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 295011
86 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 263000
87 | (261000A2.13) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High secondary containment ventilation exhaust radiation | 3.6 | A2 | 261000
88 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 223002
89 | (203000A2.20) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Surveillance acceptance criteria not being met | 3.3 | A2 | 203000
90 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 205000
91 | (241000A2.07) Ability to (a) predict the impacts of the following on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of condenser vacuum | 3.8 | A2 | 241000
92 | (223001) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 223001
93 | (230000A2.14) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low (or negative) suppression pool pressure during system operation | 3.6 | A2 | 230000
94 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
97 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4
100 | (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4