## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (700000AA1.06) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) AC electrical distribution system | 3.5 | A1 | 700000
2 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
3 | (295026EK2.07) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 3.8 | K2 | 295026
4 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295030
5 | (295037EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) SCRAM discharge volume level | 3.6 | A2 | 295037
6 | (295005AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.1 | K3 | 295005
7 | (295031EA1.13) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Reactor water level control system | 4.1 | A1 | 295031
8 | (295038EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Exceeding limits for gaseous/liquid releases | 4.1 | K1 | 295038
9 | (295021AK2.03) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) RHR/shutdown cooling | 4.2 | K2 | 295021
10 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 295004
11 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.5 | A2 | 295027
12 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
13 | (295006AA1.04) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Recirculation system | 3.8 | A1 | 295006
14 | (295016AK2.04) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution | 3.5 | K1 | 295016
15 | (295019AK2.18) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Safety/relief valves | 3.7 | K2 | 295019
16 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 295001
17 | (295018AA2.04) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System flow | 3.4 | A2 | 295018
18 | (295023AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Personnel evacuation | 4 | K3 | 295023
19 | (295025EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Main and reheat steam | 3.1 | A1 | 295025
20 | (295003AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Load shedding | 3.8 | K1 | 295003
21 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295032
22 | (295007AA2.04) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Bypass valve capacity | 4.2 | A2 | 295007
23 | (295022AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.5 / 45.6) Reactor SCRAM | 4 | K3 | 295022
24 | (295033EA1.14) Ability to operate and/or monitor the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.7 / 45.6) Systems required to protect the containment | 4.1 | A1 | 295033
25 | (295034EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.8 to 41.10) Radiation releases | 3.9 | K1 | 295034
26 | (295017AK2.15) Knowledge of the relationship between the (APE 17) ABNORMAL OFFSITE RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.1 | K2 | 295017
27 | (217000K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression pool level | 3.3 | K3 | 217000
28 | (263000K4.06) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Divisional separation | 3.6 | K4 | 263000
29 | (223002K1.22) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Containment nitrogen inerting system | 3.2 | K1 | 223002
30 | (215005K2.02) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) APRM channels | 3.7 | K2 | 215005
31 | (209002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Component cooling water systems | 3.1 | K6 | 209002
32 | (262002A2.03) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Frequency malfunctions in the system | 3 | A2 | 262002
33 | (215003K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.5 / 45.3) Reactor power indication response to rod position changes | 3.8 | K5 | 215003
34 | (212000A3.10) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Bypassing SCRAM signals | 3.8 | A3 | 212000
35 | (510000A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.5 / 45.5) CCW heat exchanger outlet temperature | 3.4 | A1 | 510000
36 | (218000A4.05) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS timer reset | 4 | A4 | 218000
37 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 203000
38 | (262001K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 AC) AC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency generators | 4.6 | K3 | 262001
39 | (400000K4.03) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Spent fuel pool cooling | 3.6 | K4 | 400000
40 | (209001K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Leak detection | 3.2 | K1 | 209001
41 | (215004K2.02) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive modules | 2.7 | K2 | 215004
42 | (211000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) Core spray system | 2.8 | K6 | 211000
43 | (264000A2.10) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) LOCA | 4.7 | A2 | 264000
44 | (205000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) Valve operation | 3.5 | K5 | 205000
45 | (239002A3.02) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) SRV operation on high reactor pressure | 4.2 | A3 | 239002
46 | (259002A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Reactor water level control controller indications | 3.9 | A1 | 259002
47 | (300000A4.02) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Instrument air compressors | 3.5 | A4 | 300000
48 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (291006K1.10) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Principle of operation of condensers | 2.8 | C | 261000
49 | (217000K3.02) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor vessel pressure | 3.9 | K3 | 217000
50 | (263000K4.03) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Ground detection | 2.9 | K4 | 263000
51 | (223002K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) HPCI | 3.8 | K1 | 223002
52 | (215005K2.03) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) OPRM channels | 3.6 | K2 | 215005
53 | (219000A4.01) Ability to manually operate and/or monitor the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Pumps | 4.2 | A4 | 219000
54 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 201001
55 | (215001K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 TIP) TRAVERSING IN CORE PROBE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Local power range monitoring system | 3.1 | K3 | 215001
56 | (201003K4.04) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) Scramming of the control rod with accumulator or RPV pressure | 4 | K4 | 201003
57 | (256000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 CDS) CONDENSATE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Offgas condenser | 2.9 | K1 | 256000
58 | (233000K2.01) (SF9 FPCCU) FUEL POOL COOLING/CLEANUP Knowledge of electrical power supplies to the following: (CFR: 41.7) Fuel pool cooling pumps | 3.1 | K2 | 233000
59 | (202002K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM: (CFR: 41.7 / 45.7) Reactor/turbine pressure regulating system | 3.2 | K6 | 202002
60 | (226001A2.13) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve logic failure | 3.8 | A2 | 226001
61 | (288000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 PVS) PLANT VENTILATION SYSTEMS : (CFR: 41.7 / 45.4) Airborne contamination control | 3.2 | K5 | 288000
62 | (286000A3.03) Ability to monitor automatic operation of the (SF8 FPS) FIRE PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Actuation of fire detectors | 3.3 | A3 | 286000
63 | (234000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.5 / 45.5) Refuel floor radiation levels/airborne levels | 3.7 | A1 | 234000
64 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.4 | G2.4
70 | (292006K1.07) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Xenon following a SCRAM | 3.2 | R | 292006
71 | (292003K1.09) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define doubling time and calculate it using the power | 2.6 | R | 292003
72 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
73 | (293004K1.13) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain vacuum formation in condenser processes | 2.6 | T | 293004
74 | (293009K1.15) CORE THERMAL LIMITS (CFR: 41.14) (MAPLHGR) Describe conditions under which radiative heat | 3.1 | T | 293009
75 | (293006K1.30) FLUID STATICS AND DYNAMICS (CFR: 41.14) Describe the methods of controlling system flow rates | 2.7 | T | 293006
76 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 700000
77 | (295024EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Safety/relief valves | 3.7 | A2 | 295024
78 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295026
79 | (295030EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 3.5 | A2 | 295030
80 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 295037
81 | (295005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.1 | A2 | 295005
82 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295031
83 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 295036
84 | (295020AA2.10) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor building radiation | 3.5 | A2 | 295020
85 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 295012
86 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 209002
87 | (262002A2.01) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal voltage | 3.2 | A2 | 262002
88 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 215003
89 | (212000A2.08) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low reactor level | 4.4 | A2 | 212000
90 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 510000
91 | (271000A2.13) Ability to (a) predict the impacts of the following on the (SF9 OG) OFFGAS SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6 / 45.8) Recombiner low temperature | 2.7 | A2 | 271000
92 | (202001) (SF1, SF4 RS) RECIRCULATION SYSTEM (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 202001
93 | (290001A2.03) Ability to (a) predict the impacts of the following on the (SF5 SC) SECONDARY CONTAINMENT and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High area radiation | 3.8 | A2 | 290001
94 | (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
95 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
96 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4
100 | (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4