## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295030EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Pump NPSH | 3.9 | K1 | 295030
2 | (295018AK2.04) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Reactor recirculation system | 3.7 | K2 | 295018
3 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
4 | (295004AA2.01) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of DC power | 4 | A2 | 295004
5 | (295023AA1.10) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Alternate fuel pool makeup systems | 3.5 | A1 | 295023
6 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 295021
7 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
8 | (295027EK2.01) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI: containment spray system mode | 4 | K2 | 295027
9 | (295003AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Reactor cooldown | 3.8 | K3 | 295003
10 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
11 | (700000AA1.07) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Emergency generators (diesel/jet) | 3.8 | A1 | 700000
12 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 295037
13 | (295006AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Pressure control | 4.1 | K1 | 295006
14 | (295031EK2.15) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution | 3.6 | K2 | 295031
15 | (295025EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Isolation condenser initiation (Nine Mile Point 1, Dresden) | 4 | K3 | 295025
16 | (295026EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.5 | A2 | 295026
17 | (295005AA1.05) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 3.9 | A1 | 295005
18 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 295001
19 | (295016AA1.10) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Safety/relief valves | 3.9 | K1 | 295016
20 | (295038EK2.07) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Control room heating, ventilation and air conditioning | 3.5 | K2 | 295038
21 | (295012AA2.01) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell temperature | 4.4 | A2 | 295012
22 | (295020AA1.05) Ability to operate and/or monitor the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295020
23 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 295008
24 | (295009AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Recirculation pump net positive suction head | 3.4 | K1 | 295009
25 | (295032EK2.06) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Area temperature monitoring system | 3.4 | K2 | 295032
26 | (295013AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.5 / 45.6) Suppression pool cooling operation | 4.1 | K3 | 295013
27 | (203000K4.08) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Pump operability testing | 3 | K4 | 203000
28 | (300000K5.15) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) High moisture content in instrument air | 3.1 | K5 | 300000
29 | (259002A3.12) Ability to monitor automatic operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Transfer from three-element to one-element control | 3.4 | A3 | 259002
30 | (400000A2.15) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to turbine lube oil system | 3.4 | A2 | 400000
31 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 262001
32 | (209001K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Residual heat removal system | 3.3 | K1 | 209001
33 | (262002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) Static switch/inverter | 3.4 | K6 | 262002
34 | (212000K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) PCIS/NSSSS | 3.9 | K3 | 212000
35 | (215004A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) RPS status | 3.3 | A1 | 215004
36 | (209002A4.16) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Emergency diesel generator operation | 4.3 | A4 | 209002
37 | (263000K2.03) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Battery chargers | 3.5 | K2 | 263000
38 | (218000K4.03) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) ADS logic control | 4.2 | K4 | 218000
39 | (211000K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.5 / 45.3) SLCS pressure/relief valve operation | 2.9 | K5 | 211000
40 | (217000A3.02) Ability to monitor automatic operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Turbine startup | 4 | A3 | 217000
41 | (510000A2.07) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal intake water temperature | 3.3 | A2 | 510000
42 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (291003K1.06) CONTROLLERS AND POSITIONERS (CFR: 41.7) Function and characteristics of governors and other mechanical controllers | 2.6 | C | 223002
43 | (205000K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Service water | 3.2 | K1 | 205000
44 | (264000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) Fuel oil components | 3.6 | K6 | 264000
45 | (239002K3.05) Knowledge of the effect that a loss or malfunction of the (SF3 SRV) SAFETY RELIEF VALVES will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression pool | 3.9 | K3 | 239002
46 | (215003A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Reactor SCRAM signals | 4 | A1 | 215003
47 | (261000A4.05) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Drywell to suppression chamber/torus differential pressure (Mark I and II) | 3.5 | A4 | 261000
48 | (215005K2.01) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) LPRM channels | 3.2 | K2 | 215005
49 | (203000K4.15) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Pump runout protection | 3 | K4 | 203000
50 | (300000K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Air leaks | 3.3 | K5 | 300000
51 | (259002A3.11) Ability to monitor automatic operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Automatic selection of feedflow/steam flow/level channel input | 3.2 | A3 | 259002
52 | (400000A2.12) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to reactor recirculation pump variable frequency drive | 3 | A2 | 400000
53 | (226001A4.02) Ability to manually operate and/or monitor the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Valves | 4.1 | A4 | 226001
54 | (245000K2.04) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS Knowledge of electrical power supplies to the following: (CFR: 41.7) Hydrogen seal oil pumps | 2.9 | K2 | 245000
55 | (290001K4.02) Knowledge of (SF5 SC) SECONDARY CONTAINMENT design features and/or interlocks that provide for the following: (CFR: 41.7) Protection against overpressurization | 3.3 | K4 | 290001
56 | (239003K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) : (CFR: 41.7 / 45.4) Radiation release | 3.2 | K5 | 239003
57 | (230000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 230000
58 | (201001A2.10) Ability to (a) predict the impacts of the following on the (SF1 CRDH) CRD HYDRAULIC SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.2 / 41.5-7 / 41.10 / 41.12-13 / 45.1-6) Low HCU accumulator pressure or high-level | 3.7 | A2 | 201001
59 | (234000) (SF8 FH) FUEL HANDLING (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 234000
60 | (215001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 TIP) TRAVERSING IN CORE PROBE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment isolation system (BWR 2, 3, 4, 5) | 3.7 | K1 | 215001
61 | (259001K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 FWS) FEEDWATER SYSTEM: (CFR: 41.7 / 45.7) Reactor water level control system | 4 | K6 | 259001
62 | (202002K3.05) Knowledge of the effect that a loss or malfunction of the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Recirculation pump speed | 3.8 | K3 | 202002
63 | (223001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES including: (CFR: 41.5 / 45.5) Containment temperature | 4 | A1 | 223001
64 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G2.4 | G2.4
70 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
71 | (292008K1.28) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (NORMAL REACTOR SHUTDOWN) Explain the necessity for inserting control rods in a predetermined sequence during normal shutdown | 3.7 | R | 292008
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293006K1.03) FLUID STATICS AND DYNAMICS (CFR: 41.14) Define head loss | 2.5 | T | 293006
74 | (293004K1.13) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain vacuum formation in condenser processes | 2.6 | T | 293004
75 | (293008K1.30) THERMAL HYDRAULICS (CFR: 41.14) (CORE ORIFICING) Compare the flow resistance through high\u2011powered bundles to that of low-powered bundles | 2.7 | T | 293008
76 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 295030
77 | (295018AA2.02) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Cooling water temperature | 3.5 | A2 | 295018
78 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 600000
79 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.5 | A2 | 295004
80 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 295023
81 | (295021AA2.06) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.8 | A2 | 295021
82 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 295024
83 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295011
84 | (295036EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Water level in the affected area | 3.8 | A2 | 295036
85 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295029
86 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 262001
87 | (209001A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trips | 3.9 | A2 | 209001
88 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 262002
89 | (212000A2.11) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) | 4.1 | A2 | 212000
90 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 215004
91 | (286000A2.10) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Valve openings due to malfunction(s) | 2.9 | A2 | 286000
92 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 201003
93 | (288000A2.05) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Extreme outside weather conditions | 2.9 | A2 | 288000
94 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
96 | (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
97 | (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
100 | (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4