## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295023AA1.07) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) SGTS/FRVS | 4 | A1 | 295023
2 | (295024EK2.11) Knowledge of the relationship between the (EPE 1) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Drywell spray (RHR) (Mark I, II) | 4.2 | K2 | 295024
3 | (295025EK3.10) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.3 | K3 | 295025
4 | (295026EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.5 | A2 | 295026
5 | (700000AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Under-excitation | 3.2 | K1 | 700000
6 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295001
7 | (295018AA1.05) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor recirculation system | 3.6 | A1 | 295018
8 | (600000AK2.08) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Portable fire suppression systems | 3 | K2 | 600000
9 | (295030EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) HPCI shutdown | 4 | K3 | 295030
10 | (295003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of AC power | 4 | A2 | 295003
11 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | K1 | 295019
12 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295038
13 | (295037EA1.15) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) SRVs | 3.9 | A1 | 295037
14 | (295004AK2.03) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) DC electrical loads | 3.8 | K2 | 295004
15 | (295031EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Spray cooling | 4.4 | K3 | 295031
16 | (295016AA2.03) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.5 | A2 | 295016
17 | (295027EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Primary containment integrity | 4 | K1 | 295027
18 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 295005
19 | (295021AA1.01) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor water cleanup system | 3.4 | A1 | 295021
20 | (295006AK2.03) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD hydraulic system | 3.9 | K2 | 295006
21 | (295032EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Equipment operability | 3.2 | A2 | 295032
22 | (295036EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.8 to 41.10) Maximum safe operating limit | 4.1 | K1 | 295036
23 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295034
24 | (295012AA1.01) Ability to operate and/or monitor the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.7 / 45.6) Drywell ventilation system | 3.7 | A1 | 295012
25 | (295009AK2.02) Knowledge of the relationship between the (APE 9) LOW REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Reactor water level control | 4.1 | K2 | 295009
26 | (295022AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.5 / 45.6) Reactor SCRAM | 4 | K3 | 295022
27 | (211000K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) Redundant reactivity control system | 3.6 | K6 | 211000
28 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 400000
29 | (212000A3.09) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) System actuation | 4.3 | A3 | 212000
30 | (261000K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Fuel handling building pressure changes | 3 | K5 | 261000
31 | (259002K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) ECCS | 3.5 | K1 | 259002
32 | (217000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Reactor pressure | 4.1 | A1 | 217000
33 | (205000K2.02) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 3.3 | K2 | 205000
34 | (215004K4.04) Knowledge of (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Changing detector position | 3.4 | K4 | 215004
35 | (239002A4.05) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor pressure | 4.4 | A4 | 239002
36 | (510000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal valve positions | 3.6 | A2 | 510000
37 | (218000K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.1 | K3 | 218000
38 | (263000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Degraded voltage | 3.6 | K6 | 263000
39 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (291004K1.13) PUMPS (CFR: 41.3) (CENTRIFUGAL) Theory of operation of a centrifugal pump | 2.7 | C | 215003
40 | (215005A3.03) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215005
41 | (262002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Motor generator operation | 3.1 | K5 | 262002
42 | (262001K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 AC) AC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Emergency generators | 4.7 | K1 | 262001
43 | (300000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.5 / 45.5) Service air pressure | 3.1 | A1 | 300000
44 | (209002K2.02) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.9 | K2 | 209002
45 | (203000K4.16) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Manual system initiation | 4.1 | K4 | 203000
46 | (223002A4.07) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) Reset of system initiations | 3.8 | A4 | 223002
47 | (264000A2.08) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Initiation of emergency generator room fire protection system | 3.1 | A2 | 264000
48 | (209001K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Drywell cooling | 2.8 | K3 | 209001
49 | (211000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) Plant air systems | 2.5 | K6 | 211000
50 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 400000
51 | (212000A3.10) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Bypassing SCRAM signals | 3.8 | A3 | 212000
52 | (261000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Secondary containment pressure changes | 3.4 | K5 | 261000
53 | (202001A2.13) Ability to (a) predict the impacts of the following on the (SF1, SF4 RS) RECIRCULATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Carryunder | 3.4 | A2 | 202001
54 | (256000K3.10) Knowledge of the effect that a loss or malfunction of the (SF2 CDS) CONDENSATE SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Gland seal steam system | 2.8 | K3 | 256000
55 | (239001K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM: (CFR: 41.7 / 45.7) Reactor/turbine pressure regulating system | 3.8 | K6 | 239001
56 | (245000) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS (291004K1.11) PUMPS (CFR: 41.3) (CENTRIFUGAL) Definition of pump shutoff head | 2.5 | C | 245000
57 | (233000A3.01) Ability to monitor automatic operation of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP including: (CFR: 41.7 / 45.7) Valve operation | 2.9 | A3 | 233000
58 | (204000K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM : (CFR: 41.5 / 45.3) System temperatures | 3 | K5 | 204000
59 | (216000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPS | 4.1 | K1 | 216000
60 | (201005A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) including: (CFR: 41.5 / 45.5) First stage shell pressure/turbine load | 3.5 | A1 | 201005
61 | (268000K2.01) (SF9 RW) RADWASTE SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Radiological release isolation valves | 2.7 | K2 | 268000
62 | (241000K4.08) Knowledge of (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Feedwater heater isolation | 3.2 | K4 | 241000
63 | (223001A4.03) Ability to manually operate and/or monitor the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES in the control room: (CFR: 41.7 / 45.5 to 45.8) Air dilution valves to drywell and suppression pool | 3.1 | A4 | 223001
64 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G2.4 | G2.4
70 | (292004K1.16) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain and describe the effect of power defect and Doppler defect on reactivity | 2.9 | R | 292004
71 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
72 | (292003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the concept of subcritical multiplication | 3 | R | 292003
73 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
74 | (293004K1.17) THERMODYNAMIC PROCESS (CFR: 41.14) (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam or water | 2.8 | T | 293004
75 | (293008K1.07) THERMAL HYDRAULICS (CFR: 41.14) (POOL BOILING CURVE (TEMPERATURE VS. HEAT FLUX)) Define nucleate boiling, subcooled nucleate boiling, and bulk boiling | 3 | T | 293008
76 | (295023) (APE 23) REFUELING ACCIDENTS (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 295023
77 | (295024EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 4.3 | A2 | 295024
78 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 295025
79 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4 | A2 | 295026
80 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 700000
81 | (295001AA2.12) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Thermal-hydraulic instabilities | 4.2 | A2 | 295001
82 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 295018
83 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 295014
84 | (295002AA2.04) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Offgas system flow | 3.6 | A2 | 295002
85 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 295010
86 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 259002
87 | (217000A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent system initiation signal | 4.2 | A2 | 217000
88 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 205000
89 | (215004A2.03) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck detector | 3.2 | A2 | 215004
90 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 239002
91 | (290002A2.03) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Control rod drop accident | 3.8 | A2 | 290002
92 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 230000
93 | (215001A2.06) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Abnormal valve position (BWR 2, 3, 4, 5) | 3.1 | A2 | 215001
94 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
96 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
97 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4