## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295005AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Core thermal limits | 3.8 | K1 | 295005
2 | (700000AA2.06) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator frequency limitations | 3.2 | A2 | 700000
3 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 295027
4 | (295024EK3.08) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Containment spray | 4.3 | K3 | 295024
5 | (295038EK2.11) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) MSIV leakage control | 3 | K2 | 295038
6 | (295001AA1.03) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.4 | A1 | 295001
7 | (295004AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Battery capacity | 3.9 | K1 | 295004
8 | (600000AA2.11) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Time limit for use of respirators | 3.9 | A2 | 600000
9 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.39) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 295018
10 | (295023AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Personnel evacuation | 4 | K3 | 295023
11 | (295026EK2.04) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems | 2.9 | K2 | 295026
12 | (295006AA1.06) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) CRD hydraulic system | 3.7 | A1 | 295006
13 | (295037EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Shutdown conditions | 4.1 | K1 | 295037
14 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.7 | A2 | 295025
15 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 295019
16 | (295016AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Reactor SCRAM | 4 | K3 | 295016
17 | (295030EK2.02) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) RCIC | 3.7 | K2 | 295030
18 | (295003AA1.07) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) DC electrical loads | 3.8 | A1 | 295003
19 | (295021AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Natural circulation | 3.9 | K1 | 295021
20 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.9 | A2 | 295031
21 | (295034EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.5 / 45.6) Manual SCRAM | 3.5 | K3 | 295034
22 | (295011AK2.01) Knowledge of the relationship between the (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.8 | K2 | 295011
23 | (295036EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.7 / 45.6 / 45.8) Radwaste system | 2.7 | A1 | 295036
24 | (295002AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.8 to 41.10) Offgas flow changes | 3.4 | K1 | 295002
25 | (295013AA2.03) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Open/leaking Safety relief valve | 4.2 | A2 | 295013
26 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 295009
27 | (263000A4.01) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Operationally significant breakers and control power fuses | 3.7 | A4 | 263000
28 | (300000K2.02) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Emergency air compressor | 3.3 | K2 | 300000
29 | (217000K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main steam system | 3.6 | K1 | 217000
30 | (209001K3.03) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency generators | 3.6 | K3 | 209001
31 | (262001A2.02) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.3 | A2 | 262001
32 | (211000K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.5 / 45.3) Accumulator operation | 2.8 | K5 | 211000
33 | (400000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.5 / 45.5) CCW pressure | 3 | A1 | 400000
34 | (259002K4.08) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) TDRFP speed control | 3.2 | K4 | 259002
35 | (215003K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.7 / 45.7) Detectors | 3.2 | K6 | 215003
36 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 215004
37 | (212000A3.10) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Bypassing SCRAM signals | 3.8 | A3 | 212000
38 | (203000A4.14) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Testable check valves | 2.6 | A4 | 203000
39 | (261000K2.01) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Standby gas treatment system fans | 3.5 | K2 | 261000
40 | (215005K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) IRM system | 3.7 | K1 | 215005
41 | (223002K3.06) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Turbine building radiation | 3.4 | K3 | 223002
42 | (218000A2.04) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS failure to initiate | 4.4 | A2 | 218000
43 | (264000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Fuel consumption rate | 2.8 | K5 | 264000
44 | (510000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.5 / 45.5) Service water temperatures | 3.5 | A1 | 510000
45 | (205000K4.04) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) Adequate pump NPSH | 3.3 | K4 | 205000
46 | (239002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Pneumatics supply | 3.8 | K6 | 239002
47 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (291002K1.24) SENSORS AND DETECTORS (CFR: 41.7) (RADIATION DETECTION) Use of portable and personal radiation monitoring instruments | 3.2 | C | 209002
48 | (262002A3.01) Ability to monitor automatic operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.7 / 45.7) Transfer of power sources | 3.4 | A3 | 262002
49 | (263000A4.06) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfers | 3.2 | A4 | 263000
50 | (300000K2.01) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 300000
51 | (217000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Condensate system | 3.1 | K1 | 217000
52 | (209001K3.01) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.3 | K3 | 209001
53 | (202001) (SF1, SF4 RS) RECIRCULATION SYSTEM (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 202001
54 | (288000A3.02) Ability to monitor automatic operation of the (SF9 PVS) PLANT VENTILATION SYSTEMS including: (CFR: 41.7 / 45.7) Differential pressure control | 3.3 | A3 | 288000
55 | (268000A4.01) Ability to manually operate and/or monitor the (SF9 RW) RADWASTE SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Sump integrators | 3.2 | A4 | 268000
56 | (233000K2.01) (SF9 FPCCU) FUEL POOL COOLING/CLEANUP Knowledge of electrical power supplies to the following: (CFR: 41.7) Fuel pool cooling pumps | 3.1 | K2 | 233000
57 | (239003K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) AC electrical distribution system | 2.8 | K1 | 239003
58 | (510001K3.08) Knowledge of the effect that a loss or malfunction of the (SF8 CWS*) CIRCULATING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Feedwater system | 2.8 | K3 | 510001
59 | (286000A2.06) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low fire main pressure | 3.3 | A2 | 286000
60 | (226001K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE : (CFR: 41.5 / 45.3) Vacuum breaker operation | 3.6 | K5 | 226001
61 | (230000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.5 / 45.5) Emergency generator loading | 3.5 | A1 | 230000
62 | (223001K4.07) Knowledge of (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES design features and/or interlocks that provide for the following: (CFR: 41.7) Prevents localized heating of suppression pool (SRV steam quenchers) | 3.6 | K4 | 223001
63 | (215001K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 TIP) TRAVERSING IN CORE PROBE: (CFR: 41.7 / 45.7) Containment/drywell pressure (BWR 2, 3, 4, 5) | 3 | K6 | 215001
64 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G2.4 | G2.4
70 | (292003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define reactor period | 3.7 | R | 292003
71 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
72 | (292006K1.04) FISSION PRODUCT POISONS (CFR: 41.1) Describe the removal of xenon-135 | 2.9 | R | 292006
73 | (293006K1.10) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Define cavitation | 2.9 | T | 293006
74 | (293003K1.09) STEAM (CFR: 41.14) Define the following term: Saturated vapor | 2.6 | T | 293003
75 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
76 | (295005AA2.06) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Feedwater temperature | 2.9 | A2 | 295005
77 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 700000
78 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.1 | A2 | 295027
79 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295024
80 | (295038EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Meteorological data | 3.8 | A2 | 295038
81 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 295001
82 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.5 | A2 | 295004
83 | (500000EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen concentration limits for containment | 3.9 | A2 | 500000
84 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 295032
85 | (295010AA2.02) Ability to determine and/or interpret the following as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4.3 | A2 | 295010
86 | (262001A2.06) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of a plant bus | 3.8 | A2 | 262001
87 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 211000
88 | (400000A2.11) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to reactor recirculation pump | 3.7 | A2 | 400000
89 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 259002
90 | (215003A2.08) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Improper overlap | 3.5 | A2 | 215003
91 | (256000) (SF2 CDS) CONDENSATE SYSTEM (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 256000
92 | (201003A2.01) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Stuck rod | 4 | A2 | 201003
93 | (234000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.5 / 45.5) Core reactivity level | 3.6 | A1 | 234000
94 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
96 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4