## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 295016
2 | (295005AA1.05) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 3.9 | A1 | 295005
3 | (295001AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Power/flow distribution | 3.7 | K1 | 295001
4 | (295037EK3.09) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Bypassing rod insertion blocks | 3.8 | K3 | 295037
5 | (700000AK2.10) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Emergency generators (diesel/jet) | 3.9 | K2 | 700000
6 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
7 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295025
8 | (600000AA1.07) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Fire alarm reset panel | 3.2 | A1 | 600000
9 | (295023AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Shutdown margin | 3.5 | K1 | 295023
10 | (295038EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) System isolations | 4.1 | K3 | 295038
11 | (295019AK2.20) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Control room ventilation | 3.1 | K2 | 295019
12 | (295018AA2.02) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Cooling water temperature | 3.7 | A2 | 295018
13 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 295021
14 | (295027EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling | 3.7 | A1 | 295027
15 | (295026EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Pump NPSH | 3.6 | K1 | 295026
16 | (295024EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Emergency depressurization | 4.2 | K3 | 295024
17 | (295006AK2.04) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) Turbine trip logic | 3.7 | K2 | 295006
18 | (295030EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/suppression chamber differential pressure (Mark I, II) | 4.2 | A2 | 295030
19 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 295004
20 | (295031EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) High-pressure coolant injection | 4.2 | A1 | 295031
21 | (295035EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.5 / 45.6) Secondary containment ventilation alignment | 3.7 | K3 | 295035
22 | (295009AK2.07) Knowledge of the relationship between the (APE 9) LOW REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Feedwater system | 3.8 | K2 | 295009
23 | (295008AA2.05) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Swell | 3.8 | A2 | 295008
24 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295011
25 | (295032EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.7 / 45.6) Leak detection system | 3.8 | A1 | 295032
26 | (500000EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.8 to 41.10) Hydrogen ignition/deflagration | 3.8 | K1 | 500000
27 | (223002K1.18) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor building drainage system | 2.8 | K1 | 223002
28 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
29 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 263000
30 | (215004A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.4 | A1 | 215004
31 | (217000K3.07) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Secondary containment parameters | 3.4 | K3 | 217000
32 | (203000K2.02) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.7 | K2 | 203000
33 | (215003K4.06) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Alarm seal-in | 2.9 | K4 | 215003
34 | (209001A4.15) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Initiation reset | 3.6 | A4 | 209001
35 | (300000A3.04) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Automatic isolation | 3.4 | A3 | 300000
36 | (218000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) Pneumatic supply to ADS valves | 3.7 | K6 | 218000
37 | (205000A2.09) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor low water level | 4.1 | A2 | 205000
38 | (215005K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) TIP | 3.1 | K1 | 215005
39 | (211000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.5 / 45.3) Shutdown margin | 3.7 | K5 | 211000
40 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (291003K1.10) CONTROLLERS AND POSITIONERS (CFR: 41.7) Function and characteristics of air-operated valves, including failure modes | 2.8 | C | 261000
41 | (510000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.5 / 45.5) Ultimate heat sink temperature | 3.5 | A1 | 510000
42 | (262001K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 AC) AC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency generators | 4.6 | K3 | 262001
43 | (262002K2.02) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor generator | 3.3 | K2 | 262002
44 | (264000K4.04) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Field flashing | 3.2 | K4 | 264000
45 | (209002A4.16) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Emergency diesel generator operation | 4.3 | A4 | 209002
46 | (400000A3.04) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) Pump trip | 3.8 | A3 | 400000
47 | (259002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) AC power | 3.3 | K6 | 259002
48 | (239002A2.03) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck-open SRV | 4.6 | A2 | 239002
49 | (223002K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Containment atmosphere sampling | 3.1 | K1 | 223002
50 | (212000A2.20) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Full RPS actuation | 4.3 | K5 | 212000
51 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 263000
52 | (215004A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Control rod block status | 3.6 | A1 | 215004
53 | (288000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 PVS) PLANT VENTILATION SYSTEMS : (CFR: 41.7 / 45.7) Instrument air system | 3 | K6 | 288000
54 | (219000A2.13) Ability to (a) predict the impacts of the following on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool temperature | 3.9 | A2 | 219000
55 | (233000K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Backup fuel pool systems | 3.3 | K1 | 233000
56 | (223001K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES: (CFR: 41.5 / 45.3) Hydrogen production mechanisms | 3.6 | K5 | 223001
57 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (291008K1.12) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7) Trip indicators for circuit breakers and protective relays | 2.9 | C | 216000
58 | (290003A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 CRV) CONTROL ROOM VENTILATION including: (CFR: 41.5 / 45.5) Lights and alarms | 3.3 | A1 | 290003
59 | (239003K3.01) Knowledge of the effect that a loss or malfunction of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Radiation monitoring system | 3 | K3 | 239003
60 | (201005K2.01) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) Knowledge of electrical power supplies to the following: (CFR: 41.6 / 41.7) RCIS | 3.3 | K2 | 201005
61 | (286000K4.11) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.5 / 41.7 / 45.3 to 45.8) Alternate injection to the RPV or primary containment | 3.8 | K4 | 286000
62 | (290002K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.5 / 45.3) Plant radiation levels | 3.2 | A4 | 290002
63 | (271000A3.06) Ability to monitor automatic operation of the (SF9 OG) OFFGAS SYSTEM including: (CFR: 41.7 / 45.7) System differential pressure control | 2.6 | A3 | 271000
64 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292006K1.13) FISSION PRODUCT POISONS (CFR: 41.1) Plot the curve and explain the reasoning for the reactivity insertion by Xenon-135 versus time for the following: --Reactor shutdown | 2.6 | R | 292006
71 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
72 | (292008K1.11) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) Discuss the concept of the point of adding heat (POAH) and its impact on reactor power | 3.8 | R | 292008
73 | (293006K1.12) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Define pump shutoff head, pump runout, and axial thrust | 2.5 | T | 293006
74 | (293003K1.23) STEAM (CFR: 41.14) Use saturated and superheated steam tables | 3.1 | T | 293003
75 | (293010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the effect of fast neutron irradiation on reactor vessel metals | 2.8 | T | 293010
76 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295016
77 | (295005AA2.03) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Turbine valve position | 3.6 | A2 | 295005
78 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 295001
79 | (295037EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.5 | A2 | 295037
80 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G | 700000
81 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.3 | A2 | 295003
82 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295025
83 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 295010
84 | (295007AA2.04) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Bypass valve capacity | 4 | A2 | 295007
85 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295034
86 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 217000
87 | (203000A2.15) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loop selection logic failure | 3.9 | A2 | 203000
88 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 215003
89 | (209001A2.09) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low suppression pool level | 3.5 | A2 | 209001
90 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 300000
91 | (245000A2.05) Ability to (a) predict the impacts of the following on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Generator trip | 3.9 | A2 | 245000
92 | (215001) (SF7 TIP) TRAVERSING IN CORE PROBE (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 215001
93 | (510001A2.04) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) System leakage/rupture | 3.5 | A2 | 510001
94 | (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
95 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
96 | (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
97 | (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4