## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 295019
2 | (295026EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool spray | 3.4 | K3 | 295026
3 | (295021AK2.05) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.4 | K2 | 295021
4 | (295031EA1.11) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Condensate system | 3.6 | A1 | 295031
5 | (295027EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4.5 | A2 | 295027
6 | (295030EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Downcomer/horizontal vent submergence | 3.9 | K1 | 295030
7 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 295018
8 | (295016AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Disabling/transferring control room controls | 4 | K3 | 295016
9 | (295006AK2.03) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD hydraulic system | 3.9 | K2 | 295006
10 | (295024EA1.19) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Containment atmosphere control | 3.2 | A1 | 295024
11 | (295004AA2.03) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery parameters | 3.8 | A2 | 295004
12 | (295038EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Filtered vs. nonfiltered release | 3.8 | K1 | 295038
13 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 600000
14 | (700000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Actions contained in abnormal operating procedure for voltage and grid disturbances | 3.8 | K3 | 700000
15 | (295003AK2.05) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) Decay heat removal systems | 4.2 | K2 | 295003
16 | (295023AA1.02) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.4 | A1 | 295023
17 | (295001AA2.07) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.1 | A2 | 295001
18 | (295037EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Reactor water level effects on reactor power | 4.3 | K1 | 295037
19 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G | 295025
20 | (295005AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Main generator trip | 3.2 | K3 | 295005
21 | (295012AA1.01) Ability to operate and/or monitor the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.7 / 45.6) Drywell ventilation system | 3.7 | A1 | 295012
22 | (500000EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen concentration limits for wetwell | 3.2 | A2 | 500000
23 | (295033EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.8 to 41.10) Maximum normal operating radiation limit | 3.9 | K1 | 295033
24 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 295036
25 | (295022AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.5 / 45.6) Swapping/bypassing filter | 3 | K3 | 295022
26 | (295007AK2.05) Knowledge of the relationship between the (APE 7) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Shutdown cooling system (RHR shutdown cooling mode) | 3.7 | K2 | 295007
27 | (215004K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.1 | K1 | 215004
28 | (239002K4.05) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Allows for SRV operation from more than one location | 3.7 | K4 | 239002
29 | (400000A3.07) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) System realignments | 3.3 | A3 | 400000
30 | (262002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Motor generator operation | 3.1 | K5 | 262002
31 | (223002K3.07) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4 | K3 | 223002
32 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 217000
33 | (211000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Explosive squib valves status | 4 | A1 | 211000
34 | (264000A4.07) Ability to manually operate and/or monitor the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of control to local/remote panels | 3.4 | A4 | 264000
35 | (205000A2.12) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Inadequate system flow | 3.6 | A2 | 205000
36 | (263000K2.01) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Operationally significant DC loads | 4 | K2 | 263000
37 | (203000K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) Low reactor water level | 4 | K6 | 203000
38 | (261000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) Primary containment system and auxiliaries | 3.7 | K1 | 261000
39 | (218000K4.03) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) ADS logic control | 4.2 | K4 | 218000
40 | (215003A3.03) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) SCRAM signals | 4.1 | A3 | 215003
41 | (300000K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Air leaks | 3.3 | K5 | 300000
42 | (215005K3.07) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) ROD BLOCK MONITOR SYSTEM (BWR 3, 4, 5) | 3.7 | K3 | 215005
43 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (291007K1.04) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Purpose of a demineralizer | 2.9 | C | 259002
44 | (209002A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) System lineup | 3.9 | A1 | 209002
45 | (212000A4.01) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System actuation | 4.3 | A4 | 212000
46 | (510000A2.08) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal intake water level | 3.7 | A2 | 510000
47 | (262001K2.03) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Major motor control centers/buses (480 volts and higher) | 3.8 | K2 | 262001
48 | (209001K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Condensate storage tank low level | 2.8 | K6 | 209001
49 | (215004K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPS | 3.5 | K1 | 215004
50 | (239002K4.07) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Minimum steam pressure required to keep SRV open or to open SRV | 3.6 | K4 | 239002
51 | (400000A3.03) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) Spent fuel pool cooling | 3.8 | A3 | 400000
52 | (262002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Static switch/inverter operation | 3.3 | K5 | 262002
53 | (202001K2.06) (SF1, SF4 RS) RECIRCULATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) VFDs | 3.8 | K2 | 202001
54 | (241000K6.22) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM: (CFR: 41.7 / 45.7) Turbine chest warming | 2.7 | K6 | 241000
55 | (290001K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 SC) SECONDARY CONTAINMENT and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) SGTS/FRVS | 4 | K1 | 290001
56 | (201003K4.04) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) Scramming of the control rod with accumulator or RPV pressure | 4 | K4 | 201003
57 | (259001A3.07) Ability to monitor automatic operation of the (SF2 FWS) FEEDWATER SYSTEM including: (CFR: 41.7 / 45.7) FWRV position | 3.8 | A3 | 259001
58 | (215001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 TIP) TRAVERSING IN CORE PROBE: (CFR: 41.5 / 45.3) Area radiation monitor indications | 2.8 | K5 | 215001
59 | (245000K3.07) Knowledge of the effect that a loss or malfunction of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor protection system | 3.9 | K3 | 245000
60 | (290003) (SF9 CRV) CONTROL ROOM VENTILATION (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 290003
61 | (272000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.5 / 45.5) Sample flows | 2.8 | A1 | 272000
62 | (219000A4.14) Ability to manually operate and/or monitor the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Overrides for suppression pool cooling valve logic | 4 | A4 | 219000
63 | (256000A2.17) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Feedwater heater string trip | 3.6 | A2 | 256000
64 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G2.4 | G2.4
70 | (292006K1.12) FISSION PRODUCT POISONS (CFR: 41.1) Plot the curve and explain the reasoning for the reactivity insertion by Xenon-135 versus time for the following: --Reactor SCRAM | 2.8 | R | 292006
71 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293003K1.16) STEAM (CFR: 41.14) Define the following term: Subcooling | 2.8 | T | 293003
74 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
75 | (293010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the effect of fast neutron irradiation on reactor vessel metals | 2.8 | T | 293010
76 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 295019
77 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
78 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 295021
79 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4 | A2 | 295031
80 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 295027
81 | (295030EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4.1 | A2 | 295030
82 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 295018
83 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 295029
84 | (295034EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Ventilation radiation levels | 4 | A2 | 295034
85 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 295032
86 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 223002
87 | (217000A2.11) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate system flow | 3.7 | A2 | 217000
88 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 211000
89 | (264000A2.11) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Failure of emergency generator to start/load | 4.3 | A2 | 264000
90 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 205000
91 | (233000A2.07) Ability to (a) predict the impacts of the following on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal fuel pool temperature | 3.6 | A2 | 233000
92 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 201001
93 | (223001A2.01) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of coolant accident | 4.5 | A2 | 223001
94 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G2.1 | G2.1
96 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4