## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295005
2 | (295025EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4 | A2 | 295025
3 | (600000AK2.05) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Fire alarm panels | 3.4 | K2 | 600000
4 | (700000AA1.02) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Turbine/generator controls | 3.4 | A1 | 700000
5 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
6 | (295016AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Turbine trip | 3.6 | K3 | 295016
7 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 295023
8 | (295006AA2.04) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295006
9 | (295030EK2.01) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 4 | K2 | 295030
10 | (295027EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Hydrogen recombiners | 3.1 | A1 | 295027
11 | (295037EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Reactor water level effects on reactor power | 4.3 | K1 | 295037
12 | (295018AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Increasing cooling water flow to heat exchangers | 3.3 | K3 | 295018
13 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G | 295004
14 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
15 | (295026EK2.07) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 3.8 | K2 | 295026
16 | (295021AA1.05) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor recirculation | 3.6 | A1 | 295021
17 | (295038EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Exceeding limits for gaseous/liquid releases | 4.1 | K1 | 295038
18 | (295024EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Suppression pool spray | 4.1 | K3 | 295024
19 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 295001
20 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
21 | (295035EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.7 / 45.6) Secondary containment ventilation | 3.7 | A1 | 295035
22 | (295033EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.8 to 41.10) Maximum safe operating radiation limit | 4.1 | K1 | 295033
23 | (295007AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reducing reactor power | 3.9 | K3 | 295007
24 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 295012
25 | (295014AA2.05) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Violation of safety limits | 4.8 | A2 | 295014
26 | (500000EK2.05) Knowledge of the relationship between the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION and the following systems or components: (CFR: 41.7 / 45.8) Hydrogen and oxygen recombiners | 3.5 | K2 | 500000
27 | (217000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Turbine control failure | 3.7 | K6 | 217000
28 | (259002K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) ECCS | 3.5 | K1 | 259002
29 | (215003K4.09) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) IRM-APRM overlap | 3.6 | K4 | 215003
30 | (510000K3.07) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Residual heat removal/low-pressure coolant injection | 3.7 | K3 | 510000
31 | (211000A2.03) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC power failures | 3.9 | A2 | 211000
32 | (205000A4.12) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) Recirculation loop temperatures | 3.7 | A4 | 205000
33 | (300000A3.04) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Automatic isolation | 3.4 | A3 | 300000
34 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
35 | (262001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Breaker control power | 3.5 | K5 | 262001
36 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 209001
37 | (264000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Operating voltages, currents, and temperatures | 3.6 | A1 | 264000
38 | (263000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) AC electrical distribution | 3.8 | K6 | 263000
39 | (239002K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Drywell instrument air/drywell pneumatics | 3.6 | K1 | 239002
40 | (212000K4.07) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Manual SCRAM | 4.2 | K4 | 212000
41 | (223002K3.23) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) High-pressure core spray | 3.6 | K3 | 223002
42 | (215004A2.02) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) SRMS inoperable condition | 3.4 | A2 | 215004
43 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
44 | (215005A3.03) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215005
45 | (203000K2.03) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 3.7 | K2 | 203000
46 | (261000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Heat removal mechanisms | 3 | K5 | 261000
47 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (291002K1.22) SENSORS AND DETECTORS (CFR: 41.7) (NUCLEAR INSTRUMENTATION) Failure modes of fission chambers, ion chambers, and proportional counters | 3.1 | C | 400000
48 | (209002A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Suppression pool temperature | 3.3 | A1 | 209002
49 | (217000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Electrical power | 3.8 | K6 | 217000
50 | (259002K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main and reheat steam system | 2.9 | K1 | 259002
51 | (215003K4.04) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Ranging IRMs | 3.8 | K4 | 215003
52 | (510000K3.05) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) HIGH-PRESSURE COOLANT INJECTION SYSTEM (BWR 2, 3, 4) | 3.1 | K3 | 510000
53 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 239001
54 | (510001A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CWS*) CIRCULATING WATER SYSTEM including: (CFR: 41.5 / 45.5) Circulating water pressures | 2.6 | A1 | 510001
55 | (219000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE: (CFR: 41.7 / 45.7) AC electrical distribution system | 3.8 | K6 | 219000
56 | (234000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FH) FUEL HANDLING and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fuel pool ventilation | 3.2 | K1 | 234000
57 | (271000K4.08) Knowledge of (SF9 OG) OFFGAS SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic system isolation | 3.7 | K4 | 271000
58 | (215001K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 TIP) TRAVERSING IN CORE PROBE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Local power range monitoring system | 3.1 | K3 | 215001
59 | (286000A2.01) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) System logic failure | 2.8 | A2 | 286000
60 | (216000A4.02) Ability to manually operate and/or monitor the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION in the control room: (CFR: 41.7 / 45.5 to 45.8) Channel select controls | 3.2 | A4 | 216000
61 | (239003A3.02) Ability to monitor automatic operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.7 / 45.7) Main steamline pressures | 2.5 | A3 | 239003
62 | (268000K2.01) (SF9 RW) RADWASTE SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Radiological release isolation valves | 2.7 | K2 | 268000
63 | (288000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 PVS) PLANT VENTILATION SYSTEMS : (CFR: 41.7 / 45.4) Temperature control | 2.9 | K5 | 288000
64 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
66 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (292005K1.05) CONTROL RODS (CFR: 41.1) Define rod density | 2.6 | R | 292005
71 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
72 | (292006K1.04) FISSION PRODUCT POISONS (CFR: 41.1) Describe the removal of xenon-135 | 2.9 | R | 292006
73 | (293003K1.23) STEAM (CFR: 41.14) Use saturated and superheated steam tables | 3.1 | T | 293003
74 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
75 | (293009K1.20) CORE THERMAL LIMITS (CFR: 41.14) (MCPR) Describe the mode of fuel failure for CPR | 3.6 | T | 293009
76 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 295005
77 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295025
78 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 600000
79 | (700000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operations status of safety-related (vital) buses | 4 | A2 | 700000
80 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295031
81 | (295016AA2.05) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 3.6 | A2 | 295016
82 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 295023
83 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 295020
84 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
85 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 295011
86 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 211000
87 | (205000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of AC power | 3.8 | A2 | 205000
88 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 300000
89 | (218000A2.06) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS initiation signals present | 4.3 | A2 | 218000
90 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 262001
91 | (201003A2.05) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Reactor SCRAM | 4.3 | A2 | 201003
92 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 230000
93 | (223001A2.16) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Opening of head vent to drywell equipment sump with pressure in the reactor vessel | 3.5 | A2 | 223001
94 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
96 | (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G2.4 | G2.4