## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295037EK2.13) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Systems used for alternate boron injection | 3.6 | K2 | 295037
2 | (295023AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Ventilation isolation | 3.7 | K3 | 295023
3 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 295027
4 | (295018AA1.05) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor recirculation system | 3.6 | A1 | 295018
5 | (295004AA2.01) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of DC power | 4 | A2 | 295004
6 | (295001AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Natural circulation | 3.7 | K1 | 295001
7 | (295006AK2.04) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) Turbine trip logic | 3.7 | K2 | 295006
8 | (295038EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4.1 | K3 | 295038
9 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295019
10 | (295030EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) RCIC | 3.8 | A1 | 295030
11 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
12 | (295026EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Pump NPSH | 3.6 | K1 | 295026
13 | (600000AK2.07) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Electrical distribution system | 3.3 | K2 | 600000
14 | (295021AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Installing fuel pool gates | 3 | K3 | 295021
15 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 295005
16 | (295024EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) RPS | 4.2 | A1 | 295024
17 | (700000AA2.01) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operating point on the generator capability curve | 3.4 | A2 | 700000
18 | (295016AA1.11) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) RCIC | 4.2 | K1 | 295016
19 | (295025EK2.06) Knowledge of the relationship between the (EPE 2) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 3.5 | K2 | 295025
20 | (295031EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Emergency depressurization | 4.4 | K3 | 295031
21 | (295011AA1.01) Ability to operate and/or monitor the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling system | 3.7 | A1 | 295011
22 | (295012AA2.01) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell temperature | 4.4 | A2 | 295012
23 | (295009AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Jet pump net positive suction head | 3.2 | K1 | 295009
24 | (295020AK2.04) Knowledge of the relationship between the (APE 20) INADVERTENT CONTAINMENT ISOLATION and the following systems or components: (CFR: 41.7 / 45.8) RWCU system | 3.6 | K2 | 295020
25 | (295007AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reducing reactor power | 3.9 | K3 | 295007
26 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 295014
27 | (223002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Secondary containment integrity | 3.9 | K5 | 223002
28 | (239002K4.08) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Opening of the SRV from either an electrical or mechanical signal | 3.9 | K4 | 239002
29 | (510000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.7 / 45.7) Loss of ultimate heat sink | 3.9 | K6 | 510000
30 | (262001A2.06) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of a plant bus | 4 | A2 | 262001
31 | (209001A4.02) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valves | 4.2 | A4 | 209001
32 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
33 | (215005A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) Reactor power indication | 4.3 | A1 | 215005
34 | (261000K3.02) Knowledge of the effect that a loss or malfunction of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Offsite release rate | 4 | K3 | 261000
35 | (218000A3.10) Ability to monitor automatic operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.7 / 45.7) ADS logic | 4.1 | A3 | 218000
36 | (203000K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 43.5 / 45.7 / 45.8) Shutdown cooling system | 3.6 | K1 | 203000
37 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 264000
38 | (259002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Controller operation | 3.8 | K5 | 259002
39 | (263000K4.05) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Coping time | 3.6 | K4 | 263000
40 | (300000K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Service air cross-connect valve | 3.4 | K6 | 300000
41 | (211000A2.05) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of SLCS tank heaters | 3.1 | A2 | 211000
42 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
43 | (215004K2.02) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive modules | 2.7 | K2 | 215004
44 | (217000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Suppression pool temperature | 3.5 | A1 | 217000
45 | (209002K3.09) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Override of drywell pressure interlock | 3.6 | K3 | 209002
46 | (212000A3.10) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Bypassing SCRAM signals | 3.8 | A3 | 212000
47 | (215003K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Display control system | 3.2 | K1 | 215003
48 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (291008K1.12) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7) Trip indicators for circuit breakers and protective relays | 2.9 | C | 205000
49 | (223002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Primary containment integrity | 4.1 | K5 | 223002
50 | (239002K4.07) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Minimum steam pressure required to keep SRV open or to open SRV | 3.6 | K4 | 239002
51 | (510000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.7 / 45.7) Intake/traveling screen high differential pressure/ differential level | 3.2 | K6 | 510000
52 | (262001A2.03) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of/degraded offsite power | 4.5 | A2 | 262001
53 | (230000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment | 3.9 | K1 | 230000
54 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.1 | G | 201001
55 | (259001K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 FWS) FEEDWATER SYSTEM: (CFR: 41.5 / 45.3) Rod worth minimizer | 2.7 | K5 | 259001
56 | (286000K4.11) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.5 / 41.7 / 45.3 to 45.8) Alternate injection to the RPV or primary containment | 3.8 | K4 | 286000
57 | (290003K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 CRV) CONTROL ROOM VENTILATION: (CFR: 41.7 / 45.7) Plant pneumatic system | 2.7 | K6 | 290003
58 | (239003A2.12) Ability to (a) predict the impacts of the following on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) MSIV failure to close | 3 | A2 | 239003
59 | (234000A4.03) Ability to manually operate and/or monitor the (SF8 FH) FUEL HANDLING in the control room: (CFR: 41.7 / 45.5 to 45.8) Mode switch | 3.7 | A4 | 234000
60 | (219000K2.01) (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.6 | K2 | 219000
61 | (226001A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE including: (CFR: 41.5 / 45.5) Lights and alarms | 3.6 | A1 | 226001
62 | (215001K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 TIP) TRAVERSING IN CORE PROBE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Local power range monitoring system | 3.1 | K3 | 215001
63 | (268000A3.02) Ability to monitor automatic operation of the (SF9 RW) RADWASTE SYSTEM including: (CFR: 41.7 / 45.7) Primary/secondary containment sump pump operation | 3.1 | A3 | 268000
64 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (292002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1) State the relationship between reactivity and effective multiplication factor | 2.5 | R | 292002
71 | (292008K1.14) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (HEATUP OPERATION) Describe three parameters to be monitored and controlled during heatup | 3.5 | R | 292008
72 | (292006K1.02) FISSION PRODUCT POISONS (CFR: 41.1) State the characteristics of xenon-135 as a fission product poison | 3.1 | R | 292006
73 | (293006K1.20) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Describe the problems that will occur in emergency core cooling systems if the pumps are operated at lower than design flow for extended periods of time | 2.9 | T | 293006
74 | (293007K1.03) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Explain the manner in which fluid films affects heat | 2.8 | T | 293007
75 | (293004K1.12) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 3.1 | T | 293004
76 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 295037
77 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.2 | A2 | 295023
78 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295027
79 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3 | A2 | 295018
80 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 295004
81 | (295001AA2.04) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Individual jet pump flows | 3.4 | A2 | 295001
82 | (295006) (APE 6) SCRAM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 295006
83 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 295013
84 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
85 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 295036
86 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 209001
87 | (400000A2.12) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to reactor recirculation pump variable frequency drive | 3.5 | A2 | 400000
88 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 215005
89 | (261000A2.09) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Instrument air system malfunction | 2.7 | A2 | 261000
90 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 218000
91 | (245000A2.02) Ability to (a) predict the impacts of the following on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of lube oil | 3.5 | A2 | 245000
92 | (202001) (SF1, SF4 RS) RECIRCULATION SYSTEM (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 202001
93 | (256000A2.09) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low feedwater heater level | 3.2 | A2 | 256000
94 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4