## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE05EK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 41.5 / 41.7 / 45.7 to 45.9): Maintaining RCS within postaccident pressure-temperature limits | 4 | K1 | 395012
2 | (065AK2.10) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): PZR PCS | 3.6 | K2 | 395019
3 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 395020
4 | (058AA1.04) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): AC distribution system breakers | 3.6 | A1 | 395017
5 | (062AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Effect on the service water discharge flow header of a loss of CCW | 3.3 | K3 | 395018
6 | (056AA2.07) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of AFW | 4.2 | A2 | 395015
7 | (011EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Loss/degraded CCWs | 3.6 | K1 | 395004
8 | (WE05EK2.25) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): FPS | 2.6 | K2 | 395023
9 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 395003
10 | (027AA1.05) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Transfer of heaters to a backup power supply | 3.3 | A1 | 395009
11 | (054AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.5 / 41.10 / 45.6 / 45.13): Feeding a hot, dry S/G | 3.9 | K3 | 395013
12 | (029EA2.14) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a reactor trip | 4.6 | A2 | 395010
13 | (015AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Natural circulation | 3.9 | K1 | 395005
14 | (038EK2.10) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): ECCS | 4.1 | K2 | 395011
15 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 395002
16 | (026AA1.01) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): CCW temperature indications | 3.3 | A1 | 395008
17 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
18 | (WE11EA2.05) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): RWST level | 3.5 | A2 | 395022
19 | (WE13EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.7 / 45.7 / 45.8): Conditions required to cause overpressurization of an S/G | 3.2 | K1 | 395044
20 | (037AK2.16) Knowledge of the relationship between (APE 37) STEAM Generator Tube Leak and the following systems or components (CFR: 41.7 / 45.7): PZR PCS | 3.6 | K2 | 395032
21 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G | 395033
22 | (024AA1.04) Ability to operate and/or monitor the following as they apply to (APE 24) EMERGENCY Boration (CFR: 41.7 / 45.5 / 45.6): Manual boration valve | 3.7 | A1 | 395027
23 | (028AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for PZR level malfunction | 3.9 | K3 | 395028
24 | (032AA2.09) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Effect of improper high-voltage setting | 3.2 | A2 | 395029
25 | (076AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.8 / 41.10 / 45.3): Crud burst | 3.2 | K1 | 395041
26 | (005AK2.05) Knowledge of the relationship between (APE 5) INOPERABLE/STUCK Control Rod and the following systems or components (CFR: 41.7 / 45.7): CRDS | 3.7 | K2 | 395026
27 | (006K3.03) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): CSS | 3.8 | K3 | 400006
28 | (059A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): MFW pump speed (including normal control speed for ICS) | 3.4 | A1 | 400059
29 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 400003
30 | (078K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): PVSs | 2.8 | K1 | 400078
31 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A3 | 400073
32 | (062K2.01) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major bus or motor control center power supplies | 3.8 | K2 | 400062
33 | (026A2.05) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of chemical addition tanks to inject | 3 | A2 | 400026
34 | (008K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): Power supply to CCWS pumps and/or valves | 3.7 | K6 | 400008
35 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
36 | (064K4.08) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): EDG fuel oil supply | 3.6 | K4 | 400064
37 | (004K5.30) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Relationship between temperature and pressure in CVCS components during solid plant operation | 4 | K5 | 400004
38 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
39 | (061A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): AFW source tank level | 3.8 | A1 | 400061
40 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (191002K1.08) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Effects of operating environment (pressure, temperature, and/or radiation) | 3.1 | C | 400013
41 | (007K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): WGS | 2.7 | K1 | 400007
42 | (005A3.01) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic RHR suction swap-over | 4.1 | A3 | 400005
43 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
44 | (063A2.04) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Battery malfunctions | 3.9 | A2 | 400063
45 | (022K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): Heat exchangers and/or coolers | 3.3 | K6 | 400022
46 | (010A4.01) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR spray valve | 3.8 | A4 | 400010
47 | (039K4.06) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevent reverse steam flow on steamline break | 3.5 | K4 | 400039
48 | (006K5.16) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): LPI ECCS pumps for CSS | 3.7 | K5 | 400006
49 | (059K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CDS | 3.2 | K3 | 400059
50 | (003A1.13) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCP motor current | 3.5 | A1 | 400003
51 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 400078
52 | (073K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): WGS | 3.2 | K1 | 400073
53 | (062A3.06) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Tripping of loads, buses, or transformers due to protective relaying | 3.7 | A3 | 400062
54 | (026K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Motor-operated valves | 3.6 | K2 | 400026
55 | (014K3.02) Knowledge of the effect that a loss or malfunction of the (SF1 RPI) ROD POSITION INDICATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Plant computer | 3.2 | K3 | 400014
56 | (075A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CW) CIRCULATING WATER SYSTEM, including (CFR: 41.5 / 45.5): Main condenser vacuum | 3.4 | A1 | 400075
57 | (400017) 017 (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (191002K1.06) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Temperature/pressure compensation requirements | 2.6 | C | 400017
58 | (035K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P SG) STEAM GENERATOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): MRSS | 3.5 | K1 | 400035
59 | (055A3.02) Ability to monitor automatic features of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Steam to CARS | 2.9 | A3 | 400055
60 | (001K2.04) Knowledge of electrical power supplies to the following: (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (CFR: 41.6) Control rod lift coil | 3.1 | K2 | 400001
61 | (015A2.03) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Xenon oscillations | 3 | A2 | 400015
62 | (028K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.7 / 45.7): Hydrogen recombiner components | 2.6 | K6 | 400028
63 | (045A4.14) Ability to manually operate and/or monitor the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Turbine trip | 3.6 | A4 | 400045
64 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
65 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
66 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
67 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
72 | (192005K1.10) CONTROL RODS (CFR: 41.1): State the purpose of flux shaping | 2.9 | R | 192005
73 | (193010K1.07) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the operational concerns of uncontrolled cooldown | 4.1 | T | 193010
74 | (193008K1.16) THERMAL HYDRAULICS (CFR: 41.14): (TWO-PHASE FLOW) Draw the temperature profile from the centerline of a fuel pellet to the centerline of the flow channel | 2.6 | T | 193008
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 395006
77 | (025AA2.12) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Reduced inventory reactor vessel level | 4.1 | A2 | 395007
78 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395001
79 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
80 | (395014) 000055 (EPE 55) Station Blackout (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 395014
81 | (CE05EA2.15) Ability to determine and/or interpret the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 43.5 / 45.13): Reactor power | 3.6 | A2 | 395012
82 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G | 395053
83 | (078AA2.09) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): Reactor trip setpoints | 4.4 | A2 | 395042
84 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395043
85 | (033AA2.02) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Intermediate range detector failure | 3.5 | A2 | 395030
86 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 400008
87 | (076A2.05) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Sensor and detector failure | 3.1 | A2 | 400076
88 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 400064
89 | (004A2.01) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): RCS pressure exceeds limits | 3.9 | A2 | 400004
90 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 400103
91 | (056A2.16) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Main steam system malfunction | 2.9 | A2 | 400056
92 | (400033) 033 (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 400033
93 | (027K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): Containment | 3.1 | A2 | 400027
94 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
96 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4
100 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4