## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (009EA1.14) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): Secondary pressure control | 3.4 | A1 | 395003
2 | (062AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Guidance actions contained in AOPs for loss of service water | 3.9 | K3 | 395018
3 | (WE04EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Component failures required to establish a LOCA outside containment | 3.8 | K1 | 395021
4 | (057AK2.11) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): CVCS instrumentation | 3.6 | K2 | 395016
5 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395019
6 | (029EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a main turbine trip | 4.1 | A2 | 395010
7 | (022AA1.05) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): RCP seal backpressure regulator valves | 3.3 | A1 | 395006
8 | (026AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance actions contained in EOPs for loss of CCW | 3.8 | K3 | 395008
9 | (BE10EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary inventory control | 4 | K1 | 395001
10 | (008AK2.10) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PZR PORVs | 4 | K2 | 395002
11 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395007
12 | (027AA2.03) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Effects of RCS pressure changes on key components in the plant | 3.3 | A2 | 395009
13 | (077AA1.04) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): Reactor controls | 3.6 | A1 | 395020
14 | (015AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Sequence of events for manually tripping reactor and RCP as a result of an RCP malfunction | 3.9 | K3 | 395005
15 | (038EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): S/G PORV or main steam safety valve failing open or main steamline break on the ruptured S/G | 4.1 | K1 | 395011
16 | (054AK2.09) Knowledge of the relationship between (APE 54) LOSS OF Main Feedwater and the following systems or components (CFR: 41.7 / 45.7): AFW | 3.9 | K2 | 395013
17 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G | 395022
18 | (056AA2.35) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Reactor trip indication | 3.8 | A2 | 395015
19 | (060AA1.02) Ability to operate and/or monitor the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.7 / 45.5 / 45.6): PVS | 3.5 | A1 | 395035
20 | (078AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.5 / 41.10 / 45.6 / 45.13): CCWS radiation alarm | 3.4 | K3 | 395042
21 | (WE15EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.7 / 45.7 / 45.8): Design‑basis flood level in containment | 3.1 | K1 | 395045
22 | (033AK2.01) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Power supplies | 3.1 | K2 | 395030
23 | (395044) (W E13) Steam Generator Overpressure (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G | 395044
24 | (003AA2.06) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): Ex-core NIS | 3.6 | A2 | 395025
25 | (061AA1.02) Ability to operate and/or monitor the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.7 / 45.5 / 45.6): Control room radiation monitoring displays | 3.3 | A1 | 395036
26 | (WE14EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.10 / 45.6 / 45.13): Ensuring that MSLI has occurred | 3.8 | K3 | 395039
27 | (008A4.02) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): Filling and draining operations of the CCWS, including the proper venting of the components | 2.7 | A4 | 400008
28 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 400004
29 | (039K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Indications and alarms for main steam and radiation monitors (during S/G tube rupture) | 4 | K5 | 400039
30 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
31 | (064A3.07) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Load sequencing | 3.9 | A3 | 400064
32 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.7 | A2 | 400063
33 | (073K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): S/GB | 3.4 | K3 | 400073
34 | (076K2.07) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) Cooling tower fans | 2.5 | K2 | 400076
35 | (005K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): Injection and/or recirculation valves | 3.9 | K6 | 400005
36 | (013K4.10) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): Safeguards equipment control reset | 3.7 | K4 | 400013
37 | (003K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.9 | K1 | 400003
38 | (026A4.04) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The remote sampling of the NaOH tank and RWST for chemical analysis | 2.5 | A4 | 400026
39 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191003K1.04) CONTROLLERS AND POSITIONERS (CFR: 41.7): Function and operation of pressure and temperature controllers, including pressure and temperature control valves | 3 | C | 400103
40 | (059K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Reason for matching steam flow and MFW flow when recovering from an S/G level transient in manual control | 3.9 | K5 | 400059
41 | (012A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Individual channels | 3.6 | A1 | 400012
42 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
43 | (062A2.19) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of Class 1E DC distribution system | 4.1 | A2 | 400062
44 | (010K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4 | K3 | 400010
45 | (006K2.02) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) Valve operators for safety injection tanks | 3.2 | K2 | 400006
46 | (061K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): AFW turbine drain(s) or heat tracing | 2.5 | K6 | 400061
47 | (022K4.03) Knowledge of (SF5 CCS) CONTAINMENT COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment isolation | 3.9 | K4 | 400022
48 | (008K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): EDGs | 3.8 | K1 | 400008
49 | (004A4.11) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): RCP seal injection | 3.9 | A4 | 400004
50 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 400039
51 | (078K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): High moisture content in instrument air | 2.9 | K5 | 400078
52 | (064A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Fuel oil storage, day tank levels, and/or temperatures | 3.3 | A1 | 400064
53 | (063A3.02) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Battery charger undervoltage stripping | 3.1 | A3 | 400063
54 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
55 | (056A4.08) Ability to manually operate and/or monitor the (SF4S CDS) CONDENSATE SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Condensate automatic makeup valve controller | 2.8 | A4 | 400056
56 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (191003K1.01) CONTROLLERS AND POSITIONERS (CFR: 41.7): Function and operation of flow controller in manual and automatic modes | 3.2 | C | 400045
57 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
58 | (028A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Recombiner temperature | 2.8 | A1 | 400028
59 | (071A3.02) Ability to monitor automatic features of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Pressure-regulating system for waste gas vent header | 2.5 | A3 | 400071
60 | (086A2.02) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low FPS header pressure | 3.4 | A2 | 400086
61 | (029K3.01) Knowledge of the effect that a loss or malfunction of the (SF8 CPS) CONTAINMENT PURGE SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6 / 45.8): CNT | 3.1 | K3 | 400029
62 | (041K2.03) Knowledge of electrical power supplies to the following: (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (CFR: 41.7) Turbine bypass control loop and valve power | 2.9 | K2 | 400041
63 | (017K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.7 / 45.7): Temperature measuring device (for example thermocouple) | 3.2 | K6 | 400017
64 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
65 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (192005K1.05) CONTROL RODS (CFR: 41.1): Define control rod worth, differential control rod worth, and integral control rod worth | 3.1 | R | 192005
71 | (192006K1.05) FISSION PRODUCT POISONS (CFR: 41.1): Describe the following processes and state their effect on reactor operations: -- equilibrium xenon | 3.1 | R | 192006
72 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
73 | (193009K1.02) CORE THERMAL LIMITS (CFR: 41.14): Explain axial peaking factor | 2.8 | T | 193009
74 | (193010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): Define PTS | 3.8 | T | 193010
75 | (193008K1.04) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe departure from nucleate boiling | 3.3 | T | 193008
76 | (011EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): CCW temperatures | 3.4 | A2 | 395004
77 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 395023
78 | (BE05EA2.08) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): Reactor building pressure | 3.7 | A2 | 395012
79 | (395014) 000055 (EPE 55) Station Blackout (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 395014
80 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
81 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395003
82 | (059AA2.03) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Failure modes, symptoms, and/or indications of a radioactive-liquid monitor failure | 3.3 | A2 | 395034
83 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395040
84 | (037AA2.20) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): T‑cold and/or RCS cooldown rate | 3.8 | A2 | 395032
85 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 395033
86 | (076A2.05) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Sensor and detector failure | 3.1 | A2 | 400076
87 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 400005
88 | (013A2.05) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of DC control power | 3.8 | A2 | 400013
89 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400003
90 | (026A2.09) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Radiation hazard potential of BWST/RWST | 3 | A2 | 400026
91 | (400001) 001 (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 400001
92 | (015A2.02) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty or erratic operation of detectors or compensating components | 3.6 | A2 | 400015
93 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 400002
94 | (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G2.4 | G2.4