## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 395007
2 | (CE06EA2.05) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): S/G level and pressure | 4 | A2 | 395013
3 | (058AA1.03) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Vital bus and battery bus components | 3.8 | A1 | 395017
4 | (WE12EK2.05) Knowledge of the relationship between (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): ESFAS | 4.1 | K2 | 395012
5 | (065AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.5 / 41.10 / 45.6 / 45.13): Checking electric loads on a running compressor | 2.5 | K3 | 395019
6 | (BE04EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary to secondary heat transfer | 3.9 | K1 | 395023
7 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 395018
8 | (026AA2.04) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by CCW | 2.8 | A2 | 395008
9 | (008AA1.06) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): PZR LCS | 3.5 | A1 | 395002
10 | (055EK2.04) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): AFW system | 4.2 | K2 | 395014
11 | (WE11EK3.12) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Manually transferring high-head SI pump suction source to RWST | 3.5 | K3 | 395022
12 | (027AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Why pressure recovers much more slowly if the PZR level is lost and then re | 3.2 | K1 | 395009
13 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 395001
14 | (029EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Reactor power | 4.4 | A2 | 395010
15 | (011EA1.21) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): HRPS | 3.3 | A1 | 395004
16 | (057AK2.08) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): NI | 4.1 | K2 | 395016
17 | (056AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 4.1 | K3 | 395015
18 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
19 | (395042) 000078 (APE 78*) RCS Leak (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 395042
20 | (061AA2.02) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Normal operating characteristics | 3 | A2 | 395036
21 | (059AA1.01) Ability to operate and/or monitor the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.7 / 45.5 / 45.6): PRMS | 3.5 | A1 | 395034
22 | (068AK2.07) Knowledge of the relationship between (APE 68) Control Room Evacuation and the following systems or components (CFR: 41.7 / 45.7): EDG | 4 | K2 | 395038
23 | (WE06EK3.14) Knowledge of the reasons for the following responses and/or actions as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating or venting SI accumulators | 3.3 | K3 | 395040
24 | (033AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Equivalency and/or overlap among source range, intermediate range, and p | 3.5 | K1 | 395030
25 | (395046) (W E16) High Containment Radiation (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G | 395046
26 | (WE15EA2.04) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Tank levels and/or system flow indications for systems that supply components inside containment | 2.5 | A2 | 395045
27 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
28 | (064K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): Water buildup in cylinders | 3.2 | K6 | 400064
29 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
30 | (062A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): EDG load limits | 4 | A1 | 400062
31 | (006K5.17) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Piggyback mode | 3.7 | K5 | 400006
32 | (003K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS/RPS | 3.6 | K1 | 400003
33 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 400103
34 | (022A3.01) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Initiation of ESFAS mode of operation | 4.2 | A3 | 400022
35 | (012A2.06) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Failure of RPS signal to trip the reactor | 4.8 | A2 | 400012
36 | (026K4.04) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Reduction of temperature and pressure in containment after a LOCA by condensing steam to reduce radiological hazard and protect equipment from corrosion damage (spray) | 3.7 | K4 | 400026
37 | (076A4.02) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS valves | 3.7 | A4 | 400076
38 | (005K3.02) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCPS | 2.9 | K3 | 400005
39 | (039K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): MSIVs | 3.8 | K6 | 400039
40 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
41 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
42 | (010K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Constant enthalpy expansion through PORV or safety valve | 3.5 | K5 | 400010
43 | (063K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG | 4.4 | K1 | 400063
44 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (191005K1.03) MOTORS AND GENERATORS (CFR: 41.7): Causes of excessive current in motors and generators, such as low voltage, overloading, and mechanical binding | 2.8 | C | 400007
45 | (013A3.14) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): Upper head injection accumulator isolation | 3.9 | A3 | 400013
46 | (004A2.04) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Unplanned gas release | 2.5 | A2 | 400004
47 | (078K4.07) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Maintaining normal instrument air pressure | 3.1 | K4 | 400078
48 | (061A4.01) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW pump | 4.2 | A4 | 400061
49 | (064K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS controlled or actuated systems | 4.3 | K3 | 400064
50 | (059K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW flow transmitters | 3.2 | K6 | 400059
51 | (062K2.02) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Breaker control power | 3.5 | K2 | 400062
52 | (006A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): ECCS temperatures | 3.1 | A1 | 400006
53 | (003K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Effects of RCP shutdown on secondary parameters, such as steam pressure, steam flow, and feed flow | 3.5 | K5 | 400003
54 | (103K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CSS | 4.1 | K1 | 400103
55 | (015K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): FHS | 2.9 | K3 | 400015
56 | (071K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.7 / 45.8 / 45.9): Waste gas compressors | 2.6 | K6 | 400071
57 | (045K2.02) Knowledge of electrical power supplies to the following: (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (CFR: 41.7) MT/G lube oil pumps | 2.7 | K2 | 400045
58 | (033A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM, including (CFR: 41.5 / 45.5): Spent fuel pool water level | 3.7 | A1 | 400033
59 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
60 | (029K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CPS) CONTAINMENT PURGE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8): PRMS | 3.4 | K1 | 400029
61 | (400001) 001 (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 400001
62 | (050A3.01) Ability to monitor automatic features of the (SF9 CRV) CONTROL ROOM VENTILATION, including (CFR: 41.7 / 45.7): Initiation/reconfiguration | 3.7 | A3 | 400050
63 | (011A2.05) Ability to (a) predict the impacts of the following on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of PZR heaters | 3.3 | A2 | 400011
64 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
66 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
67 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192005K1.11) CONTROL RODS (CFR: 41.1): State the purpose of rod sequencing and overlap | 3 | R | 192005
72 | (192006K1.05) FISSION PRODUCT POISONS (CFR: 41.1): Describe the following processes and state their effect on reactor operations: -- equilibrium xenon | 3.1 | R | 192006
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193006K1.11) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- water hammer | 3.4 | T | 193006
75 | (193010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): Define PTS | 3.8 | T | 193010
76 | (022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Failures of flow control valve or controller | 3.6 | A2 | 395006
77 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 395011
78 | (015AA2.09) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP high stator temperature | 3.4 | A2 | 395005
79 | (395021) (W E04) LOCA Outside Containment (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395021
80 | (077AA2.04) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): VAR | 3.4 | A2 | 395020
81 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395007
82 | (WE08EA2.05) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): RCS pressure, temperature, and/or PZR level | 3.9 | A2 | 395056
83 | (395025) 000003 (APE 3) Dropped Control Rod (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G | 395025
84 | (060AA2.01) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): A radiation-level alarm indicating whether the cause was due to a gradual (in time) signal increase or due to a sudden increase (a “spike”), inclu | 3.4 | A2 | 395035
85 | (395037) 000067 (APE 67) Plant Fire On Site (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 395037
86 | (022A2.04) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water system malfunction | 3.4 | A2 | 400022
87 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 400012
88 | (026A2.09) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Radiation hazard potential of BWST/RWST | 3 | A2 | 400026
89 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400076
90 | (005A2.04) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR valve malfunction | 3.7 | A2 | 400005
91 | (034K3.02) Knowledge of the effect that a loss or malfunction of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM will have on the following systems or system parameters (CFR: 41.2 to 41.7 / 43.6 / 43.7 / 45.6 to 45.8): Spent fuel pool | 3.3 | K3 | 400034
92 | (016A2.01) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Detector/transmitter failure | 3.4 | A2 | 400016
93 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4 | G | 400055
94 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.1 | G2.1
96 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4