## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295023AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Ventilation isolation | 3.7 | K3 | 295023
2 | (295003AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Battery capacity | 3.8 | K1 | 295003
3 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 700000
4 | (295005AK2.08) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution | 3.4 | K2 | 295005
5 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.7 | A2 | 295031
6 | (295027EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling | 3.7 | A1 | 295027
7 | (295001AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reduced loop operating requirements | 3.7 | K3 | 295001
8 | (295004AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.7 | K1 | 295004
9 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G | 295025
10 | (295019AK2.16) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Reactor core isolation cooling | 3 | K2 | 295019
11 | (600000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Fire alarm | 3.8 | A2 | 600000
12 | (295016AA1.01) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295016
13 | (295024EK3.09) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Secondary containment/auxiliary building isolation | 3.6 | K3 | 295024
14 | (295021AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Decay heat | 4.4 | K1 | 295021
15 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295037
16 | (295018AK2.06) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.8 | K2 | 295018
17 | (295030EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 4.1 | A2 | 295030
18 | (295038EA1.13) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Radwaste system | 3 | A1 | 295038
19 | (295006AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor water level response | 4 | K3 | 295006
20 | (295026EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Suppression pool level | 3.5 | K1 | 295026
21 | (500000EK2.09) Knowledge of the relationship between the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION and the following systems or components: (CFR: 41.7 / 45.8) Drywell nitrogen purge | 3.6 | K2 | 500000
22 | (295035EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Secondary containment pressure | 4 | A2 | 295035
23 | (295017AA1.07) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) Process radiation monitoring system | 3.7 | A1 | 295017
24 | (295008AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) PCIS/NSSSS initiation | 3.5 | K3 | 295008
25 | (295012AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.8 to 41.10) Drywell pressure | 4 | K1 | 295012
26 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 295020
27 | (262002K3.14) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 3.3 | K3 | 262002
28 | (400000K4.02) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Containment isolation | 3.6 | K4 | 400000
29 | (215003A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Control rod block status | 3.9 | A1 | 215003
30 | (209001A3.02) Ability to monitor automatic operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump start | 4.3 | A3 | 209001
31 | (264000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) Lube oil components | 3.6 | K6 | 264000
32 | (209002K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water systems | 3.1 | K1 | 209002
33 | (217000A4.02) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Turbine trip throttle valve reset | 4 | A4 | 217000
34 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
35 | (262001A2.01) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine/generator trip | 4 | A2 | 262001
36 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 203000
37 | (215004K2.02) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive modules | 2.7 | K2 | 215004
38 | (218000K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4.3 | K3 | 218000
39 | (259002K4.12) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Manual and automatic control of the system | 3.9 | K4 | 259002
40 | (223002A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Suppression chamber pressure | 3.8 | A1 | 223002
41 | (215005A3.05) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Flow converter/comparator signals | 3.2 | A3 | 215005
42 | (261000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) AC electrical distribution | 3.5 | K6 | 261000
43 | (212000K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RCIS (BWR 6) | 3.4 | K1 | 212000
44 | (300000A4.02) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Instrument air compressors | 3.5 | A4 | 300000
45 | (211000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.5 / 45.3) Squib valve operation | 3.7 | K5 | 211000
46 | (205000A2.08) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of heat exchanger cooling | 4 | A2 | 205000
47 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (291003K1.11) CONTROLLERS AND POSITIONERS (CFR: 41.7) Cautions for placing a valve controller in manual mode | 2.9 | C | 239002
48 | (510000K2.02) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system valves (Class 1E) | 3.4 | K2 | 510000
49 | (262002K3.13) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 3.1 | K3 | 262002
50 | (400000K4.08) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) System response to LOOP signal | 3.8 | K4 | 400000
51 | (215003A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.6 | A1 | 215003
52 | (209001A3.01) Ability to monitor automatic operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Valve operation | 4.2 | A3 | 209001
53 | (201005) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 201005
54 | (290002K3.02) Knowledge of the effect that a loss or malfunction of the (SF4 RVI) REACTOR VESSEL INTERNALS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4 | K2 | 290002
55 | (216000K3.27) Knowledge of the effect that a loss or malfunction of the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Core differential pressure | 3.3 | K3 | 216000
56 | (290001K4.02) Knowledge of (SF5 SC) SECONDARY CONTAINMENT design features and/or interlocks that provide for the following: (CFR: 41.7) Protection against overpressurization | 3.3 | K4 | 290001
57 | (202001A1.18) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1, SF4 RS) RECIRCULATION SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.4 | A1 | 202001
58 | (215001A3.08) Ability to monitor automatic operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.7 / 45.7) TIP detector retract during accident conditions (BWR 2, 3, 4, 5) | 3.7 | A3 | 215001
59 | (245000K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS: (CFR: 41.7 / 45.7) Electrical distribution | 3.3 | K6 | 245000
60 | (239001K1.27) Knowledge of the physical connections and/or cause and effect relationships between the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor protection system | 4.1 | K1 | 239001
61 | (201001A4.01) Ability to manually operate and/or monitor the (SF1 CRDH) CRD HYDRAULIC SYSTEM in the control room: (CFR: 41.5-7 / 41.9 / 41.10 / 45.1-6 / 45.8 / 45.12-13) CRD pumps | 3.7 | A4 | 201001
62 | (271000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.4) Heat removal mechanisms | 2.6 | K5 | 271000
63 | (233000A2.04) Ability to (a) predict the impacts of the following on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trip | 3.6 | A2 | 233000
64 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
65 | (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
70 | (292008K1.25) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (REACTOR RESPONSE ON A SCRAM) Explain the shape of a curve of reactor power versus time after a SCRAM | 2.9 | R | 292008
71 | (292005K1.10) CONTROL RODS (CFR: 41.1) State the purpose of flux shaping | 3.3 | R | 292005
72 | (292004K1.05) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the fuel temperature (Doppler) coefficient of reactivity | 2.9 | R | 292004
73 | (293009K1.16) CORE THERMAL LIMITS (CFR: 41.14) (MAPLHGR) Discuss how changes in the heat generation rate | 2.8 | T | 293009
74 | (293003K1.22) STEAM (CFR: 41.14) Explain the usefulness of steam tables to the control | 3.2 | T | 293003
75 | (293006K1.30) FLUID STATICS AND DYNAMICS (CFR: 41.14) Describe the methods of controlling system flow rates | 2.7 | T | 293006
76 | (295023AA2.02) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Fuel pool level | 3.8 | A2 | 295023
77 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295003
78 | (700000AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operational status of emergency diesel generators | 4.2 | A2 | 700000
79 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295005
80 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4 | A2 | 295031
81 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 295027
82 | (295001AA2.04) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Individual jet pump flows | 3.4 | A2 | 295001
83 | (295022AA2.04) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3 | A2 | 295022
84 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 295013
85 | (295029EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/containment water level | 3.6 | A2 | 295029
86 | (264000A2.09) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of safety bus | 4.3 | A2 | 264000
87 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 209002
88 | (217000A2.04) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC power loss | 3.4 | A2 | 217000
89 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 263000
90 | (262001A2.12) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.5 | A2 | 262001
91 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 230000
92 | (268000A2.04) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Radiological release isolation valve failure | 3.2 | A2 | 268000
93 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 201003
94 | (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
100 | (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G2.4 | G2.4