## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (700000AA1.04) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Reactor controls | 3.6 | A1 | 700000
2 | (295018AA2.02) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Cooling water temperature | 3.7 | A2 | 295018
3 | (295038EK2.14) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Main and reheat steam system | 2.7 | K2 | 295038
4 | (295026EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool cooling | 3.8 | K3 | 295026
5 | (295016AK2.13) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) RPS | 3.4 | K1 | 295016
6 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 295027
7 | (295005AA1.10) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Recirculation flow control system | 3 | A1 | 295005
8 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
9 | (295006AK2.04) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) Turbine trip logic | 3.7 | K2 | 295006
10 | (295019AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Service air isolations | 3.3 | K3 | 295019
11 | (295021AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Adequate core cooling | 4.4 | K1 | 295021
12 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 4 | G | 295030
13 | (600000AA1.05) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6): Plant and control room ventilation systems | 3.3 | A1 | 600000
14 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.2 | A2 | 295004
15 | (295031EK2.07) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) High-pressure core spray | 4.5 | K2 | 295031
16 | (295001AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor power response | 4 | K3 | 295001
17 | (295025EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Pressure effects on reactor water level | 3.8 | K1 | 295025
18 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 295037
19 | (295024EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) HPCS | 4.2 | A1 | 295024
20 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.9 | A2 | 295023
21 | (295002AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.5 / 45.6) Reactor SCRAM | 3.9 | K3 | 295002
22 | (295033EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.8 to 41.10) Maximum safe operating radiation limit | 4.1 | K1 | 295033
23 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.1 | G | 295017
24 | (295013AA1.03) Ability to operate and/or monitor the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.7 / 45.6) Suppression pool temperature monitoring system | 4 | A1 | 295013
25 | (500000EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen concentration limits for containment | 3.4 | A2 | 500000
26 | (295010AK2.07) Knowledge of the relationship between the (APE 10) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Component cooling water | 3.5 | K2 | 295010
27 | (218000K4.04) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Ensure adequate pneumatic supply to ADS valves | 3.8 | K4 | 218000
28 | (211000K2.03) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Heater power | 2.5 | K2 | 211000
29 | (215005A2.13) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) | 4 | A2 | 215005
30 | (400000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) Service water system | 3.7 | K6 | 400000
31 | (510000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Intake/traveling screen high differential pressure/ differential level | 3.3 | K5 | 510000
32 | (209001A3.01) Ability to monitor automatic operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Valve operation | 4.2 | A3 | 209001
33 | (264000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fire protection system | 3 | K1 | 264000
34 | (212000K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) PCIS/NSSSS | 3.9 | K3 | 212000
35 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 205000
36 | (259002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Reactor power | 4 | A1 | 259002
37 | (263000A4.06) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfers | 3.2 | A4 | 263000
38 | (217000K4.07) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic transfer of RCIC pump suction | 3.6 | K4 | 217000
39 | (209002K2.03) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 4.2 | K2 | 209002
40 | (261000A2.11) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High containment pressure | 3.6 | A2 | 261000
41 | (215004K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) RPS | 3.3 | K6 | 215004
42 | (300000K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Low instrument air pressure | 3.9 | K5 | 300000
43 | (215003A3.01) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215003
44 | (203000K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 43.5 / 45.7 / 45.8) Component cooling water systems | 2.7 | K1 | 203000
45 | (262002K3.19) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor/turbine pressure regulating system | 3.2 | K3 | 262002
46 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (291003K1.01) CONTROLLERS AND POSITIONERS (CFR: 41.7) Function and operation of flow controller in manual and automatic modes | 3.7 | C | 262001
47 | (223002A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Suppression chamber pressure | 3.8 | A1 | 223002
48 | (239002A4.04) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) Suppression pool temperature | 4.2 | A4 | 239002
49 | (218000K4.05) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Inhibiting automatic initiation of ADS logic | 4.2 | K4 | 218000
50 | (211000K2.01) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SLCS pumps | 3.6 | K2 | 211000
51 | (215005A2.10) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Changes in void concentration | 3.3 | A2 | 215005
52 | (400000K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) Recirculation system | 2.9 | K6 | 400000
53 | (223001A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES including: (CFR: 41.5 / 45.5) Containment pressure | 4.1 | A1 | 223001
54 | (239003A4.01) Ability to manually operate and/or monitor the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Manually initiate system operation | 3.2 | A4 | 239003
55 | (271000K4.02) Knowledge of (SF9 OG) OFFGAS SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of water entering the recombiner catalyst | 2.8 | K4 | 271000
56 | (219000K2.01) (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.6 | K2 | 219000
57 | (234000A2.05) Ability to (a) predict the impacts of the following on the (SF8 FH) FUEL HANDLING and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) RCIS malfunction | 3.3 | A2 | 234000
58 | (290002K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.7 / 45.7) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) (BWR 4, 5, 6) | 3.5 | K6 | 290002
59 | (201003K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM: (CFR: 41.1-6 / 45.1-6) Hydraulics | 3.6 | K5 | 201003
60 | (215001A3.06) Ability to monitor automatic operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.7 / 45.7) TIP detector insertion into the reactor core | 2.9 | A3 | 215001
61 | (202001K1.31) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF4 RS) RECIRCULATION SYSTEM and the following systems: (CFR: 41.2 to 41.8 / 45.7 / 45.8) Primary containment isolation system | 3.3 | K1 | 202001
62 | (272000K3.13) Knowledge of the effect that a loss or malfunction of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Continuous air monitoring/post\u2011accident air monitoring systems | 2.9 | K3 | 272000
63 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 230000
64 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
65 | (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.39) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G2.4 | G2.4
70 | (292003K1.09) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define doubling time and calculate it using the power | 2.6 | R | 292003
71 | (292001K1.05) NEUTRONS (CFR: 41.1) Identify characteristics of good moderators | 2.6 | R | 292001
72 | (292004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the void coefficient of reactivity | 3.2 | R | 292004
73 | (293003K1.07) STEAM (CFR: 41.14) Define the following term: Saturated liquid | 2.8 | T | 293003
74 | (293010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State how the possibility of brittle fracture is minimized by operating limitations | 3.2 | T | 293010
75 | (293004K1.14) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain the condensing process | 2.7 | T | 293004
76 | (700000AA2.06) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator frequency limitations | 3 | A2 | 700000
77 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 295018
78 | (295038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Source of offsite release | 3.9 | A2 | 295038
79 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 295026
80 | (295016AA2.06) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Cooldown rate | 3.7 | A2 | 295016
81 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295027
82 | (295005AA2.06) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Feedwater temperature | 2.9 | A2 | 295005
83 | (295009AA2.02) Ability to determine and/or interpret the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Steam flow/feed flow mismatch | 3.8 | A2 | 295009
84 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 295035
85 | (295011AA2.01) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4 | A2 | 295011
86 | (510000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Intake/discharge blockage | 3.5 | A2 | 510000
87 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 209001
88 | (264000A2.09) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of safety bus | 4.3 | A2 | 264000
89 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 212000
90 | (205000A2.01) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Recirculation loop high temperature | 3.3 | A2 | 205000
91 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 226001
92 | (245000A2.04) Ability to (a) predict the impacts of the following on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Reactor SCRAM | 3.9 | A2 | 245000
93 | (290001) (SF5 SC) SECONDARY CONTAINMENT (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 290001
94 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
95 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
96 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4