## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295019AK2.08) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Plant ventilation | 3 | K2 | 295019
2 | (295037EA1.17) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) Rod worth minimizer | 3.5 | A1 | 295037
3 | (295038EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Exceeding limits for gaseous/liquid releases | 4.1 | K1 | 295038
4 | (295005AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.1 | K3 | 295005
5 | (295027EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.5 | A2 | 295027
6 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 295031
7 | (295030EK2.02) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) RCIC | 3.7 | K2 | 295030
8 | (295018AA1.05) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor recirculation system | 3.6 | A1 | 295018
9 | (295003AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Station blackout | 4.3 | K1 | 295003
10 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
11 | (295016AA2.05) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 3.9 | A2 | 295016
12 | (295023) (APE 23) REFUELING ACCIDENTS (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 295023
13 | (700000AK2.08) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Main turbine generator and auxiliary systems | 3.1 | K2 | 700000
14 | (295025EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Reactor water cleanup system | 2.8 | A1 | 295025
15 | (295004AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.7 | K1 | 295004
16 | (295024EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Emergency depressurization | 4.2 | K3 | 295024
17 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4.1 | A2 | 295026
18 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295001
19 | (295021AK2.07) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Reactor recirculation | 3.5 | K2 | 295021
20 | (295006AA1.03) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 4.2 | A1 | 295006
21 | (295034EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.5 / 45.6) Starting SGTS/FRVS | 4 | K3 | 295034
22 | (295017AA2.06) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 3.4 | A2 | 295017
23 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 295010
24 | (295002AK2.05) Knowledge of the relationship between the (APE 2) LOSS OF MAIN CONDENSER VACUUM and the following systems or components: (CFR: 41.7 / 45.8) Feedwater system | 3.1 | K2 | 295002
25 | (295032EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.7 / 45.6) Isolate damaged portions of affected systems | 3.7 | A1 | 295032
26 | (295029EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Venting the suppression pool (Mark I containment) | 4 | K1 | 295029
27 | (217000K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Reactor level control | 4.2 | K5 | 217000
28 | (209002A4.05) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Manual initiation controls | 4.3 | A4 | 209002
29 | (262001A2.01) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine/generator trip | 4 | A2 | 262001
30 | (239002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) AC power | 3.2 | K6 | 239002
31 | (263000K4.03) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Ground detection | 2.9 | K4 | 263000
32 | (262002A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.5 / 45.5) Inverter outputs | 3.1 | A1 | 262002
33 | (261000A3.02) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) Fan start | 3.8 | A3 | 261000
34 | (215005K2.01) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) LPRM channels | 3.2 | K2 | 215005
35 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 300000
36 | (215004K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RMCS (BWR 2, 3, 4, 5) | 3.5 | K3 | 215004
37 | (510000K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) HIGH-PRESSURE COOLANT INJECTION SYSTEM (BWR 2, 3, 4) | 3 | K1 | 510000
38 | (215003K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.5 / 45.3) Reactor power indication response to rod position changes | 3.8 | K5 | 215003
39 | (209001A4.01) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Core spray pump | 4.3 | A4 | 209001
40 | (400000A2.10) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Spent fuel pool cooling system heat exchanger tube leak | 3.6 | A2 | 400000
41 | (205000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.7 / 45.7) Reactor water cleanup | 2.8 | K6 | 205000
42 | (223002K4.03) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Manual initiation capability | 3.9 | K4 | 223002
43 | (264000A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.5 | A1 | 264000
44 | (212000A3.09) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) System actuation | 4.3 | A3 | 212000
45 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
46 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (291005K1.07) MOTORS AND GENERATORS (CFR: 41.7) Electrical units: volts, amps, VARs, watts and hertz | 2.6 | C | 211000
47 | (203000K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Drywell pressure | 3.3 | K3 | 203000
48 | (259002K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Rod worth minimizer | 2.8 | K1 | 259002
49 | (217000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Turbine operation | 3.5 | K5 | 217000
50 | (209002A4.02) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Suction valves | 4 | A4 | 209002
51 | (262001A2.10) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding current limitations | 3.7 | A2 | 262001
52 | (239002K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Discharge line vacuum breaker | 3.4 | K6 | 239002
53 | (234000K3.05) Knowledge of the effect that a loss or malfunction of the (SF8 FH) FUEL HANDLING will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Fuel pool level | 3 | K3 | 234000
54 | (290003K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 CRV) CONTROL ROOM VENTILATION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fire protection system | 2.7 | K1 | 290003
55 | (201001K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 CRDH) CRD HYDRAULIC SYSTEM: (CFR: 41.5-7 / 41.10 / 45.1-6 / 45.12-13) Solenoid-operated valves | 3.3 | K5 | 201001
56 | (268000A4.01) Ability to manually operate and/or monitor the (SF9 RW) RADWASTE SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Sump integrators | 3.2 | A4 | 268000
57 | (230000A2.03) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve closures due to malfunction(s) | 3.6 | A2 | 230000
58 | (259001K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 FWS) FEEDWATER SYSTEM: (CFR: 41.7 / 45.7) Main steam: TDRFPs only | 3 | K6 | 259001
59 | (223001K4.01) Knowledge of (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES design features and/or interlocks that provide for the following: (CFR: 41.7) Absorption of energy released during a LOCA | 4.2 | K4 | 223001
60 | (288000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 PVS) PLANT VENTILATION SYSTEMS including: (CFR: 41.5 / 45.5) Area temperatures | 3.1 | A1 | 288000
61 | (239001A3.01) Ability to monitor automatic operation of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM including: (CFR: 41.7 / 45.7) Isolation of main steam system | 4.2 | A3 | 239001
62 | (241000K2.02) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Controls | 2.9 | K2 | 241000
63 | (290001) (SF5 SC) SECONDARY CONTAINMENT (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 290001
64 | (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
66 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292005K1.12) CONTROL RODS (CFR: 41.1) Describe effects of deep and shallow control rods on axial and radial flux distribution | 2.9 | R | 292005
71 | (292003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define reactor period | 3.7 | R | 292003
72 | (292004K1.03) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain resonance absorption | 2.7 | R | 292004
73 | (293003K1.16) STEAM (CFR: 41.14) Define the following term: Subcooling | 2.8 | T | 293003
74 | (293007K1.13) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Calculate core thermal power using a simplified heat | 2.9 | T | 293007
75 | (293010K1.03) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) Define reference temperature | 2.5 | T | 293010
76 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 295019
77 | (295037EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.4 | A2 | 295037
78 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295038
79 | (295005AA2.09) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Turbine limitations | 3 | A2 | 295005
80 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 295027
81 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4 | A2 | 295031
82 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295030
83 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 500000
84 | (295009AA2.01) Ability to determine and/or interpret the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.5 | A2 | 295009
85 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295035
86 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 263000
87 | (262002A2.05) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of UPS | 3.9 | A2 | 262002
88 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 261000
89 | (215005A2.02) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Upscale or downscale trips | 3.9 | A2 | 215005
90 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 300000
91 | (510001A2.04) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) System leakage/rupture | 3.5 | A2 | 510001
92 | (245000) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 245000
93 | (202001A2.16) Ability to (a) predict the impacts of the following on the (SF1, SF4 RS) RECIRCULATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of seal purge flow (CRD) | 3.1 | A2 | 202001
94 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
96 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4