## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 395010
2 | (057AA1.07) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Interlocks in effect on loss of AC vital electrical instrument bus that must be bypassed to restore normal equipment operation | 3.7 | A1 | 395016
3 | (055EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Effect of battery discharge rates on capacity | 3.8 | K1 | 395014
4 | (WE05EK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Resetting SI and/or containment isolation | 3.5 | K3 | 395023
5 | (WE12EK2.15) Knowledge of the relationship between (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CSS | 3.8 | K2 | 395012
6 | (015AA2.13) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP ammeter | 3.3 | A2 | 395005
7 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395022
8 | (065AA1.01) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Remote manual loaders | 2.9 | A1 | 395019
9 | (056AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Long‑term spent fuel pool cooling | 3.6 | K1 | 395015
10 | (058AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs or EOPs for loss of DC power | 4.1 | K3 | 395017
11 | (BE10EK2.09) Knowledge of the relationship between (BW E10) POST-TRIP STABILIZATION and the following systems or components (CFR: 41.8 / 41.10 / 45.3): PZR heaters and/or spray | 3.7 | K2 | 395001
12 | (008AA2.27) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PZR pressure and/or level due to sensing line leakage | 3.5 | A2 | 395002
13 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 395013
14 | (WE04EA1.05) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RHRS | 3.8 | A1 | 395021
15 | (038EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): Leak rate versus pressure drop | 3.7 | K1 | 395011
16 | (022AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Avoiding plant transients | 3.5 | K3 | 395006
17 | (062AK2.03) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.5 | K2 | 395018
18 | (025AA2.05) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Limitations on RHR flow and temperature rates of change | 3.4 | A2 | 395007
19 | (395025) 000003 (APE 3) Dropped Control Rod (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 395025
20 | (067AA1.01) Ability to operate and/or monitor the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.7 / 45.5 / 45.6): Respirator air pack | 3.3 | A1 | 395037
21 | (033AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Effects of voltage changes on performance | 2.9 | K1 | 395030
22 | (WE03EK3.15) Knowledge of the reasons for the following responses and/or actions as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 / 41.10 / 45.6 / 45.13): Manually reinitiating SI flow | 3.8 | K3 | 395053
23 | (051AK2.13) Knowledge of the relationship between (APE 51) LOSS OF Condenser Vacuum and the following systems or components (CFR: 41.7 / 45.7): SDS | 3.5 | K2 | 395033
24 | (WE16EA2.01) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.3 | A2 | 395046
25 | (395036) 000061 (APE 61) Area Radiation Monitoring System Alarms (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 395036
26 | (WE14EA1.10) Ability to operate and/or monitor the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 to 41.8 / 45.5 to 45.8): AFW system | 3.6 | A1 | 395039
27 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 400007
28 | (005K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RCS pressure boundary motor‑operated valves | 3.4 | K2 | 400005
29 | (062K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Class 1E DC distribution system | 4.2 | K1 | 400062
30 | (026A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 4 | A1 | 400026
31 | (103K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Hydrogen concentration inside containment | 3.5 | K5 | 400103
32 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
33 | (013A4.08) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Main steam isolation system actuation/reset | 4 | A4 | 400013
34 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
35 | (064K4.11) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic load sequencer: safeguards | 4.1 | K4 | 400064
36 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.7 | A2 | 400063
37 | (059K6.19) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW preheating malfunctions | 2.8 | K6 | 400059
38 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191002K1.24) SENSORS AND DETECTORS (CFR: 41.7): (RADIATION DETECTION) Theory and operation of failed-fuel detectors | 2.7 | C | 400006
39 | (010K2.01) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.4 | K2 | 400010
40 | (076K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): MT/G lube oil system | 2.9 | K1 | 400076
41 | (078A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air compressor parameters | 2.9 | A1 | 400078
42 | (022K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Containment equipment subject to damage by high or low temperature, humidity, and pressure | 3.1 | K5 | 400022
43 | (003A3.06) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP trip actuation due to ESFAS actuation | 4 | A3 | 400003
44 | (004A4.05) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Letdown pressure and temperature control valves | 3.7 | A4 | 400004
45 | (008K3.10) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): ECCS | 4.2 | K3 | 400008
46 | (073K4.02) Knowledge of (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): System actuations based on PRM signals | 3.7 | K4 | 400073
47 | (039A2.06) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Atmospheric relief valve malfunctions | 4.2 | A2 | 400039
48 | (007K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): Leakage collection | 2.8 | K6 | 400007
49 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 400005
50 | (062K2.02) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Breaker control power | 3.5 | K2 | 400062
51 | (026K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Cooling water | 3.6 | K1 | 400026
52 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
53 | (012K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Power density | 3.7 | K5 | 400012
54 | (013A3.08) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): AFW actuation signal | 4.1 | A3 | 400013
55 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (191002K1.07) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Theory and operation of level detectors | 2.6 | C | 400011
56 | (055A2.03) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of air ejector cooling water | 3.2 | K2 | 400055
57 | (068K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 LRS) LIQUID RADWASTE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CCWS | 2.6 | K1 | 400068
58 | (056A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S CDS) CONDENSATE SYSTEM, including (CFR: 41.5 / 45.5): D/P indicators (across pumps and demineralizers) | 2.6 | A1 | 400056
59 | (014K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 RPI) ROD POSITION INDICATION SYSTEM (CFR: 41.6 / 41.7 / 45.7): Concepts of magnetic flux and permeability of stainless steel housing | 2.5 | K5 | 400014
60 | (001A3.09) Ability to monitor automatic features of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM, including (CFR: 41.6 / 45.13): Rod speed and direction | 4 | A3 | 400001
61 | (027A4.01) Ability to manually operate and/or monitor the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CIRS controls | 2.8 | A4 | 400027
62 | (045K3.08) Knowledge of the effect that a loss or malfunction of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Stator cooling system | 3 | K3 | 400045
63 | (016K4.04) Knowledge of (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Outputs from control systems | 3.3 | K4 | 400016
64 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G2.4 | G2.4
70 | (192004K1.15) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on boron reactivity worth from changes in the following: -- moderator temperature | 2.9 | R | 192004
71 | (192002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1): State the relationship between reactivity and effective multiplication factor | 2.5 | R | 192002
72 | (192008K1.24) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (NORMAL REACTOR SHUTDOWN) Explain reactor power response to a control rod insertion | 3.6 | R | 192008
73 | (193010K1.01) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the brittle fracture mode of failure | 3.2 | T | 193010
74 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
75 | (193006K1.09) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- gas binding | 2.8 | T | 193006
76 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 395009
77 | (009EA2.38) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Existence of head bubble | 4 | A2 | 395003
78 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 395004
79 | (077AA2.12) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Lights and alarms | 3.1 | A2 | 395020
80 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 395008
81 | (029EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Reactor power | 4.1 | A2 | 395010
82 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395034
83 | (WE07EA2.04) Ability to determine and/or interpret the following as they apply to (W E07) SATURATED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395040
84 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 395024
85 | (068AA2.07) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): PZR level | 3.8 | A2 | 395038
86 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 400061
87 | (064A2.26) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of AC power | 4.2 | A2 | 400064
88 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 400063
89 | (059A2.03) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overfeeding event | 3.5 | A2 | 400059
90 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 400006
91 | (035A2.06) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Small‑break LOCA | 3.9 | A2 | 400035
92 | (400075) 075 (SF8 CW) CIRCULATING WATER SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400075
93 | (029A2.06) Ability to (a) predict the impacts of the following on the (SF8 CPS) CONTAINMENT PURGE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.13): CPS component malfunction | 3 | A2 | 400029
94 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G2.4 | G2.4
100 | (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4