## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (056AA1.15) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): Service water booster pump | 2.8 | A1 | 395015
2 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
3 | (027AK2.13) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR master pressure controller | 3.9 | K2 | 395009
4 | (008AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP tripping requirements | 3.5 | K3 | 395002
5 | (395021) (W E04) LOCA Outside Containment (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 395021
6 | (029EA2.13) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): RCS cooldown or heatup | 3.9 | A2 | 395010
7 | (058AA1.06) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): DC distribution system | 3.7 | A1 | 395017
8 | (CE02EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.5 / 41.7 / 45.7 to 45.9): Basis for tripping all RCPs for a large‑break LOCA | 3.6 | K1 | 395001
9 | (WE12EK2.08) Knowledge of the relationship between (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): NIS | 3.3 | K2 | 395012
10 | (062AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): The conditions that will initiate the automatic opening and closing of the SWS isolation valves to the service water coolers | 3.5 | K3 | 395018
11 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 395013
12 | (WE11EA2.05) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): RWST level | 3.5 | A2 | 395022
13 | (WE05EA1.04) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): AC electrical distribution system | 3.5 | A1 | 395023
14 | (077AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Underexcitation | 3.3 | K1 | 395020
15 | (025AK2.24) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): PZR pressure and LCS | 3.3 | K2 | 395007
16 | (022AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Adjustment of RCP seal backpressure regulator valve to obtain normal flow | 3.4 | K3 | 395006
17 | (395014) 000055 (EPE 55) Station Blackout (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 395014
18 | (011EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): CCW temperatures | 3.1 | A2 | 395004
19 | (WE02EA1.10) Ability to operate and/or monitor the following as they apply to (W E02) SI TERMINATION (CFR: 41.5 to 4.18 / 45.5 to 45.8): NIS | 3.3 | A1 | 395043
20 | (WE13EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.7 / 45.7 / 45.8): Conditions required to cause overpressurization of an S/G | 3.2 | K1 | 395044
21 | (051AK2.01) Knowledge of the relationship between (APE 51) LOSS OF Condenser Vacuum and the following systems or components (CFR: 41.7 / 45.7): Valves | 2.7 | K2 | 395033
22 | (068AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 68) Control Room Evacuation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Maintenance of S/G level using AFW flow control valves | 4 | K3 | 395038
23 | (395037) 000067 (APE 67) Plant Fire On Site (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 395037
24 | (BA08AA2.04) Ability to determine and/or interpret the following as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.10 / 43.5 / 45.13): Radiation levels | 4.1 | A2 | 395031
25 | (WE06EA1.04) Ability to operate and/or monitor the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 to 41.8 / 45.5 to 45.8): ESFAS | 4.2 | A1 | 395040
26 | (076AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.8 / 41.10 / 45.3): Radiation source and/or transport pathway | 3.3 | K1 | 395041
27 | (078A3.04) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air from service air | 3.1 | A3 | 400078
28 | (007K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): WGS | 2.7 | K1 | 400007
29 | (008K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): PRMS | 2.7 | K6 | 400008
30 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
31 | (062K3.01) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Offsite power | 4.1 | K3 | 400062
32 | (064K4.06) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Speed droop control | 3.3 | K4 | 400064
33 | (026A4.04) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The remote sampling of the NaOH tank and RWST for chemical analysis | 2.5 | A4 | 400026
34 | (005A2.01) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR instrumentation failure | 3.5 | A2 | 400005
35 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 400076
36 | (059K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Reason for matching steam flow and MFW flow when recovering from an S/G level transient in manual control | 3.9 | K5 | 400059
37 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
38 | (061A3.04) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): Automatic AFW isolation | 4 | A3 | 400061
39 | (022K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CCS) CONTAINMENT COOLING SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): Cooling water system | 3.6 | K1 | 400022
40 | (004K6.54) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 to 41.7 / 45.7): Temperature control valve malfunction | 3.6 | K6 | 400004
41 | (006A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): CCW flow | 3.2 | A1 | 400006
42 | (073K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): Systems served by PRMs | 3.5 | K3 | 400073
43 | (010K4.05) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Low-temperature overpressure protection | 3.8 | K4 | 400010
44 | (003A4.08) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCP cooling water supplies | 3.5 | A4 | 400003
45 | (063A2.05) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of all AC | 4.2 | A2 | 400063
46 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (191004K1.23) PUMPS (CFR: 41.3): (POSITIVE DISPLACEMENT) Consequences of operating a positive displacement pump against a closed flowpath | 3.1 | C | 400012
47 | (013K5.23) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.3 to 41.5 / 45.7): Inadequate core cooling | 4.2 | K5 | 400013
48 | (078K2.01) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 400078
49 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
50 | (008K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): RHRS | 4.3 | K1 | 400008
51 | (103K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): CPS | 3.4 | K6 | 400103
52 | (062A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): EDG load limits | 4 | A1 | 400062
53 | (064K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS controlled or actuated systems | 4.3 | K3 | 400064
54 | (026K4.09) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevention of path for escape of radioactivity from containment to the outside (interlocks on RWST isolation after swapover) | 3.8 | K4 | 400026
55 | (056A3.01) Ability to monitor automatic features of the (SF4S CDS) CONDENSATE SYSTEM, including (CFR: 41.7 / 45.5): Automatic hotwell level control | 2.9 | A3 | 400056
56 | (068K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 LRS) LIQUID RADWASTE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): Sources of liquid wastes for LRS | 2.8 | K1 | 400068
57 | (071K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.7 / 45.8 / 45.9): Waste gas discharge release valve | 3.2 | K6 | 400071
58 | (072A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 45.5 /45.9): Radiation levels | 3.4 | A1 | 400072
59 | (034K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM will have on the following systems or system parameters (CFR: 41.2 to 41.7 / 43.6 / 43.7 / 45.6 to 45.8): Reactor components | 2.9 | K3 | 400034
60 | (035K4.12) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Secondary side overpressure protection | 3.7 | K4 | 400035
61 | (045A4.08) Ability to manually operate and/or monitor the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Valve freedom test | 2.6 | A4 | 400045
62 | (001A2.14) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Rod control alarm, including rod-out-of-sequence and motion-inhibit alarms | 3.4 | A2 | 400001
63 | (400075) 075 (SF8 CW) CIRCULATING WATER SYSTEM (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 400075
64 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G2.4 | G2.4
70 | (192004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- moderator temperature | 2.9 | R | 192004
71 | (192007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Define burnable poison and state its use in the reactor | 2.5 | R | 192007
72 | (192006K1.09) FISSION PRODUCT POISONS (CFR: 41.1): Plot the curve and explain the reasoning for the reactivity insertion by xenon-135 versus time for the following: -- initial reactor startup and ascension to rated power | 3.1 | R | 192006
73 | (193003K1.17) STEAM (CFR: 41.14): Define the following term: -- subcooling | 3.2 | T | 193003
74 | (193006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- mass flow rate | 3 | T | 193006
75 | (193009K1.07) CORE THERMAL LIMITS (CFR: 41.14): Describe factors that affect peaking and hot channel factors | 3.3 | T | 193009
76 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 395008
77 | (038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Radiation levels | 4 | A2 | 395011
78 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 395005
79 | (065AA2.04) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Typical conditions that could cause a compressor trip (e.g., high temperature) | 2.9 | A2 | 395019
80 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 395016
81 | (056AA2.01) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): PZR pressure controller | 3.5 | A2 | 395015
82 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 395056
83 | (001AA2.08) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): Megawatt electric | 3.2 | A2 | 395024
84 | (395045) (W E15) Containment Flooding (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 395045
85 | (032AA2.09) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Effect of improper high-voltage setting | 3 | A2 | 395029
86 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 400005
87 | (076A2.06) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Controller and positioner failure | 3.2 | A2 | 400076
88 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 400059
89 | (039A2.04) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunctioning steam dump | 3.7 | A2 | 400039
90 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 400061
91 | (027K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CSS | 3.2 | A2 | 400027
92 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400016
93 | (086A2.01) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Manual shutdown of the FPS | 2.7 | A2 | 400086
94 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
96 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4
100 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4