## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295018AA1.08) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Plant operations | 3.6 | A1 | 295018
2 | (295037EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Reactor pressure effects on reactor power | 4.3 | K1 | 295037
3 | (295001AK2.04) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 3 | K2 | 295001
4 | (295024EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Containment radiation levels (Mark III) | 3.4 | A2 | 295024
5 | (295003AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Manual and automatic bus transfer | 3.7 | K3 | 295003
6 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 295021
7 | (295026EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) RCIC | 3.9 | A1 | 295026
8 | (295030EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Steam condensation | 3.9 | K1 | 295030
9 | (295016AK2.09) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI: torus/suppression pool cooling mode | 3.7 | K2 | 295016
10 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295031
11 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
12 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 295005
13 | (700000AA1.02) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Turbine/generator controls | 3.4 | A1 | 700000
14 | (295027EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Reactor water level measurement | 4.1 | K1 | 295027
15 | (295023AK2.01) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Fuel handling equipment | 3.5 | K2 | 295023
16 | (295038EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.4 | A2 | 295038
17 | (295019AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Alignment of backup air systems | 3.6 | K3 | 295019
18 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295025
19 | (295006AA1.07) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Control rod position | 4.2 | A1 | 295006
20 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
21 | (295034EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Ventilation radiation levels | 3.9 | A2 | 295034
22 | (295014AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.5 / 45.6) Changing recirculation flow | 4.1 | K3 | 295014
23 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.1 | G | 295007
24 | (295011AA1.01) Ability to operate and/or monitor the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling system | 3.7 | A1 | 295011
25 | (295036EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.8 to 41.10) Identification of a primary system discharging to secondary containment | 4.2 | K1 | 295036
26 | (295020AK2.12) Knowledge of the relationship between the (APE 20) INADVERTENT CONTAINMENT ISOLATION and the following systems or components: (CFR: 41.7 / 45.8) Instrument air/nitrogen | 3.1 | K2 | 295020
27 | (239002A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Lights and alarms | 3.7 | A1 | 239002
28 | (259002K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Pump runout | 3.2 | K5 | 259002
29 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 261000
30 | (264000K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 3 | K1 | 264000
31 | (203000A3.02) Ability to monitor automatic operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Pump start | 4.1 | A3 | 203000
32 | (400000K4.04) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Pump trip on low surge tank level | 3.1 | K4 | 400000
33 | (215005K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RCIS (BWR 6) | 3.8 | K3 | 215005
34 | (212000A2.18) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) SCRAM air header low pressure | 3.9 | A2 | 212000
35 | (223002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.7 / 45.7) DC electrical distribution | 3.7 | K6 | 223002
36 | (300000K2.02) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Emergency air compressor | 3.3 | K2 | 300000
37 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
38 | (510000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.5 / 45.5) Intake screen differential pressure/level | 3.1 | A1 | 510000
39 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
40 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (291005K1.04) MOTORS AND GENERATORS (CFR: 41.7) Relationship between pump motor current (ammeter reading) and the following: pump fluid flow, head, speed, and stator temperature | 2.7 | C | 209002
41 | (209001K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Residual heat removal system | 3.3 | K1 | 209001
42 | (205000A3.02) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Pump operation | 3.7 | A3 | 205000
43 | (215003K4.12) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) IRM inoperable | 3.7 | K4 | 215003
44 | (211000K3.03) Knowledge of the effect that a loss or malfunction of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Core plate differential pressure | 3 | K3 | 211000
45 | (218000A2.04) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS failure to initiate | 4.4 | A2 | 218000
46 | (262001K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Offsite power | 4.2 | K6 | 262001
47 | (217000K2.04) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Gland seal compressor (vacuum pump) | 2.6 | K2 | 217000
48 | (215004A4.05) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS back panel switches, meters, and indicating lights | 3 | A4 | 215004
49 | (239002A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Indicated vs. actual steam flow | 3.5 | A1 | 239002
50 | (259002K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Turbine speed control mechanisms: TDRFP | 3.3 | K5 | 259002
51 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 261000
52 | (264000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fire protection system | 3 | K1 | 264000
53 | (256000K2.01) (SF2 CDS) CONDENSATE SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) System pumps | 3.4 | K2 | 256000
54 | (215001A4.06) Ability to manually operate and/or monitor the (SF7 TIP) TRAVERSING IN CORE PROBE in the control room: (CFR: 41.7 / 45.5 to 45.8) Drive mechanism operation | 2.7 | A4 | 215001
55 | (290003A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 CRV) CONTROL ROOM VENTILATION including: (CFR: 41.5 / 45.5) Toxic gas | 3.2 | A1 | 290003
56 | (223001K5.16) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES: (CFR: 41.5 / 45.3) Containment spray operation | 4.1 | K5 | 223001
57 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (291004K1.11) PUMPS (CFR: 41.3) (CENTRIFUGAL) Definition of pump shutoff head | 2.5 | C | 288000
58 | (219000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water systems | 2.8 | K1 | 219000
59 | (230000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 230000
60 | (290002K4.02) Knowledge of (SF4 RVI) REACTOR VESSEL INTERNALS design features and/or interlocks that provide for the following: (CFR: 41.7) Flow paths within the reactor vessel | 3.9 | K4 | 290002
61 | (286000K3.10) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) DC electrical distribution systems | 2.7 | K3 | 286000
62 | (226001A2.11) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Motor-operated valve failures | 3.7 | A2 | 226001
63 | (271000K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.7) Hydrogen water chemistry system | 2.7 | K6 | 271000
64 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
67 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G2.4 | G2.4
70 | (292001K1.05) NEUTRONS (CFR: 41.1) Identify characteristics of good moderators | 2.6 | R | 292001
71 | (292006K1.11) FISSION PRODUCT POISONS (CFR: 41.1) Plot the curve and explain the reasoning for the reactivity insertion by Xenon-135 versus time for the following: --Power changes from steady-state power to another | 2.7 | R | 292006
72 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
73 | (293007K1.03) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Explain the manner in which fluid films affects heat | 2.8 | T | 293007
74 | (293006K1.22) FLUID STATICS AND DYNAMICS (CFR: 41.14) Define or explain the following term or concept: Two-phase flow | 2.6 | T | 293006
75 | (293010K1.01) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the brittle fracture mode of failure | 2.8 | T | 293010
76 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.5 | A2 | 295018
77 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295037
78 | (295001AA2.13) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Thermal limits | 3.9 | A2 | 295001
79 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 295024
80 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
81 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 295021
82 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4 | A2 | 295026
83 | (295012AA2.01) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell temperature | 4.2 | A2 | 295012
84 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 295029
85 | (295022AA2.01) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Accumulator pressure | 3.7 | A2 | 295022
86 | (203000A2.16) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.4 | A2 | 203000
87 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 400000
88 | (215005A2.12) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Operation of the OPRM-enabled region of the power to flow map | 3.9 | A2 | 215005
89 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 212000
90 | (223002A2.02) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) DC electrical distribution failures | 3.6 | A2 | 223002
91 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 201001
92 | (268000A2.05) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal primary containment sump pump run time | 3.3 | A2 | 268000
93 | (239003) (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 239003
94 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
96 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
97 | (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4