## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295001AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Thermal-hydraulic instabilities | 4.3 | K1 | 295001
2 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 295016
3 | (700000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operations status of safety-related (vital) buses | 4.1 | A2 | 700000
4 | (295038EK2.03) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Plant ventilation systems | 3.8 | K2 | 295038
5 | (295027EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 3 | A1 | 295027
6 | (295024EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Drywell flooding | 3.7 | K3 | 295024
7 | (295025EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Safety/relief valve tailpipe temperature/pressure relationships | 4.1 | K1 | 295025
8 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295003
9 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4.1 | A2 | 295026
10 | (295005AK2.11) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Recirculation flow control system | 3 | K2 | 295005
11 | (295004AA1.04) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) DC electrical loads | 3.7 | A1 | 295004
12 | (295006AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Direct turbine generator trip | 3.7 | K3 | 295006
13 | (295023AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Shutdown margin | 3.5 | K1 | 295023
14 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 295019
15 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.7 | A2 | 295031
16 | (295037EK2.05) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) CRD hydraulic system | 3.9 | K2 | 295037
17 | (295018AA1.08) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Plant operations | 3.6 | A1 | 295018
18 | (295021AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Feeding and bleeding reactor vessel | 3.7 | K3 | 295021
19 | (295030EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Steam condensation | 3.9 | K1 | 295030
20 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 600000
21 | (295002AK2.01) Knowledge of the relationship between the (APE 2) LOSS OF MAIN CONDENSER VACUUM and the following systems or components: (CFR: 41.7 / 45.8) RPS | 3.8 | K2 | 295002
22 | (295032EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.7 / 45.6) Isolate damaged portions of affected systems | 3.7 | A1 | 295032
23 | (295007AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reactor/turbine pressure regulating system operation | 4 | K3 | 295007
24 | (295029EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Venting the suppression pool (Mark I containment) | 4 | K1 | 295029
25 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295034
26 | (295022AA2.05) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.7 | A2 | 295022
27 | (261000A4.08) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System temperature | 3.1 | A4 | 261000
28 | (212000K4.13) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Underfrequency, overvoltage, and undervoltage protection | 3.5 | K4 | 212000
29 | (215004K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) 24/48 volt DC power | 3.4 | K6 | 215004
30 | (218000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) ADS valve position indications | 4 | A1 | 218000
31 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 205000
32 | (223002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main steam system | 4.2 | K1 | 223002
33 | (217000K3.06) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Condensate storage tank level | 3.2 | K3 | 217000
34 | (259002K2.02) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Feedwater coolant injection (FWCI) initiation logic | 3.4 | K2 | 259002
35 | (510000A3.03) Ability to monitor automatic operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.7 / 45.5) Traveling screen operation | 2.8 | A3 | 510000
36 | (211000A2.06) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal valve position | 3.7 | A2 | 211000
37 | (209001K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209001
38 | (209002A4.03) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Injection valve | 4.3 | A4 | 209002
39 | (215005K4.06) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Effects of detector aging on LPRM/APRM readings | 2.9 | K4 | 215005
40 | (262002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) DC electrical distribution | 3.4 | K6 | 262002
41 | (264000A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.5 | A1 | 264000
42 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (291008K1.11) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7) Control room indication of a breaker status | 3.3 | C | 263000
43 | (400000K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 to 45.8) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) (BWR 4, 5, 6) | 3.1 | K1 | 400000
44 | (300000K3.04) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Plant ventilation systems | 3 | K3 | 300000
45 | (239002K2.01) (SF3 SRV) SAFETY RELIEF VALVES Knowledge of electrical power supplies to the following: (CFR: 41.7) SRV solenoids | 3.7 | K2 | 239002
46 | (262001A3.01) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Breaker tripping | 3.6 | A3 | 262001
47 | (215003A2.02) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) IRM inoperable condition | 3.9 | A2 | 215003
48 | (203000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.5 / 45.3) NPSH limits | 3.4 | K5 | 203000
49 | (261000A4.09) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SGTS valves/dampers | 3.6 | A4 | 261000
50 | (212000K4.03) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Transferring RPS power supplies | 3.7 | K4 | 212000
51 | (215004K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) Reactor vessel and internals | 2.6 | K6 | 215004
52 | (218000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) Reactor pressure | 4.2 | A1 | 218000
53 | (259001A2.07) Ability to (a) predict the impacts of the following on the (SF2 FWS) FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Reactor water level control system malfunctions | 4.1 | A2 | 259001
54 | (239003K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) : (CFR: 41.7 / 45.4) Radiation release | 3.2 | K5 | 239003
55 | (268000A4.01) Ability to manually operate and/or monitor the (SF9 RW) RADWASTE SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Sump integrators | 3.2 | A4 | 268000
56 | (286000K4.02) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.5 / 41.7 / 45.3 to 45.8) Automatic system initiation | 3.5 | K4 | 286000
57 | (201001K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 CRDH) CRD HYDRAULIC SYSTEM: (CFR: 41.6-7 / 41.10 / 45.1-6 / 45.8 / 45.12-13) RPS | 4.2 | K6 | 201001
58 | (202001A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1, SF4 RS) RECIRCULATION SYSTEM including: (CFR: 41.5 / 45.5) Vessel bottom head drain temperature | 3.2 | A1 | 202001
59 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 510001
60 | (204000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.3 | K1 | 204000
61 | (219000K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression pool temperature control | 4.2 | K3 | 219000
62 | (272000K2.04) (SF7, SF9 RMS) RADIATION MONITORING SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Process radiation monitoring system | 2.8 | K2 | 272000
63 | (202002A3.04) Ability to monitor automatic operation of the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM including: (CFR: 41.7 / 45.7) System lockups/lockouts | 3.9 | A3 | 202002
64 | (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
71 | (292006K1.01) FISSION PRODUCT POISONS (CFR: 41.1) Define fission product poison | 2.8 | R | 292006
72 | (292004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain Doppler broadening and self-shielding | 2.7 | R | 292004
73 | (293006K1.20) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Describe the problems that will occur in emergency core cooling systems if the pumps are operated at lower than design flow for extended periods of time | 2.9 | T | 293006
74 | (293004K1.04) THERMODYNAMIC PROCESS (CFR: 41.14) (NOZZLES) Describe the functions of nozzles in air ejectors | 2.6 | T | 293004
75 | (293008K1.33) THERMAL HYDRAULICS (CFR: 41.14) (CORE ORIFICING) Explain the need for adequate core bypass flow | 2.6 | T | 293008
76 | (295001AA2.05) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Jet pump operability | 3.5 | A2 | 295001
77 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 295016
78 | (700000AA2.10) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator overheating and the required actions | 3.5 | A2 | 700000
79 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 295038
80 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.1 | A2 | 295027
81 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 295024
82 | (295025EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.2 | A2 | 295025
83 | (295008AA2.03) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water cleanup blowdown flow | 3.2 | A2 | 295008
84 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 295017
85 | (295020AA2.06) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Cause of isolation | 3.7 | A2 | 295020
86 | (205000A2.09) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor low water level | 3.9 | A2 | 205000
87 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 223002
88 | (217000A2.10) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine control system failures | 3.7 | A2 | 217000
89 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 259002
90 | (510000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal valve positions | 3.5 | A2 | 510000
91 | (256000) (SF2 CDS) CONDENSATE SYSTEM (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 256000
92 | (239001A2.07) Ability to (a) predict the impacts of the following on the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Main steam area high temperature | 3.8 | A2 | 239001
93 | (234000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FH) FUEL HANDLING: (CFR: 41.7 / 45.7) RCIS | 3 | K2 | 234000
94 | (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
96 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
100 | (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4