## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295003AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Load shedding | 3.8 | K1 | 295003
2 | (295001AA1.11) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) Reactor water cleanup system | 2.8 | A1 | 295001
3 | (700000AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operational status of emergency diesel generators | 4.2 | A2 | 700000
4 | (295006AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Direct turbine generator trip | 3.7 | K3 | 295006
5 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 295005
6 | (295030EK2.05) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) HPCS | 3.8 | K2 | 295030
7 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
8 | (295023AA1.02) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.4 | A1 | 295023
9 | (295018AA2.04) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System flow | 3.4 | A2 | 295018
10 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
11 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 295037
12 | (295026EK2.01) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.8 | K2 | 295026
13 | (295038EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Exceeding limits for gaseous/liquid releases | 4.1 | K1 | 295038
14 | (295019AA1.01) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Backup air supply | 3.4 | A1 | 295019
15 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.7 | A2 | 295025
16 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
17 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 295021
18 | (295027EK2.03) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.4 | K2 | 295027
19 | (295016AA1.07) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Control room/local control transfer mechanisms | 4 | K1 | 295016
20 | (295024EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Suppression pool makeup | 3.1 | A1 | 295024
21 | (295020AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Drywell/containment pressure response | 3.9 | K3 | 295020
22 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 295029
23 | (295035EK2.01) Knowledge of the relationship between the (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.8 | K2 | 295035
24 | (295009AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Recirculation pump net positive suction head | 3.4 | K1 | 295009
25 | (295002AA1.05) Ability to operate and/or monitor the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.7 / 45.6) Main turbine generator and auxiliaries system | 3.4 | A1 | 295002
26 | (295010AA2.02) Ability to determine and/or interpret the following as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4 | A2 | 295010
27 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 262001
28 | (400000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.5 / 45.5) CCW pressure | 3 | A1 | 400000
29 | (215005K4.04) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) LPRM detector replacement | 2.5 | K4 | 215005
30 | (223002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Primary containment integrity | 4.1 | K5 | 223002
31 | (264000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) AC electrical distribution | 4.5 | K1 | 264000
32 | (205000A2.04) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of DC power | 3.6 | A2 | 205000
33 | (239002K2.01) (SF3 SRV) SAFETY RELIEF VALVES Knowledge of electrical power supplies to the following: (CFR: 41.7) SRV solenoids | 3.7 | K2 | 239002
34 | (209001A4.01) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Core spray pump | 4.3 | A4 | 209001
35 | (218000K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4.3 | K3 | 218000
36 | (212000A3.09) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) System actuation | 4.3 | A3 | 212000
37 | (261000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) DC electrical distribution | 3.2 | K6 | 261000
38 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (291004K1.12) PUMPS (CFR: 41.3) (CENTRIFUGAL) \u201cRunout\u201d of a centrifugal pump (definition, indications, causes, effects, and corrective measures) | 2.8 | C | 203000
39 | (263000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 DC) DC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Lights and alarms | 3.3 | A1 | 263000
40 | (209002K4.11) Knowledge of (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of piping overpressurization | 3.2 | K4 | 209002
41 | (262002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Motor generator operation | 3.1 | K5 | 262002
42 | (215004K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RMCS (BWR 2, 3, 4, 5) | 3.5 | K1 | 215004
43 | (217000A2.02) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine trips | 4.2 | A2 | 217000
44 | (211000K2.03) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Heater power | 2.5 | K2 | 211000
45 | (259002A4.09) Ability to manually operate and/or monitor the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) TDRFP lockout reset | 3.2 | A4 | 259002
46 | (300000K3.04) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Plant ventilation systems | 3 | K3 | 300000
47 | (510000A3.01) Ability to monitor automatic operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.7 / 45.5) Pump starts | 3.5 | A3 | 510000
48 | (215003K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.7 / 45.7) Changing mode switch position | 3.8 | K6 | 215003
49 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 262001
50 | (400000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.5 / 45.5) CCW temperature | 3.4 | A1 | 400000
51 | (215005K4.09) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Core thermal calculations | 3.6 | K4 | 215005
52 | (223002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Secondary containment integrity | 3.9 | K5 | 223002
53 | (234000A3.02) Ability to monitor automatic operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.7 / 45.7) Interlock operation | 3.1 | A3 | 234000
54 | (256000K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 CDS) CONDENSATE SYSTEM: (CFR: 41.7 / 45.7) Heater drains and vent system | 2.8 | K6 | 256000
55 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (291003K1.01) CONTROLLERS AND POSITIONERS (CFR: 41.7) Function and operation of flow controller in manual and automatic modes | 3.7 | C | 230000
56 | (204000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM including: (CFR: 41.5 / 45.5) Reactor water conductivity | 3.3 | A1 | 204000
57 | (241000K4.18) Knowledge of (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Turbine protection | 3.6 | K4 | 241000
58 | (226001K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE : (CFR: 41.5 / 45.3) Vacuum breaker operation | 3.6 | K5 | 226001
59 | (290002K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 RVI) REACTOR VESSEL INTERNALS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) (BWR 4, 5, 6) | 3.8 | K1 | 290002
60 | (286000A2.08) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Failure to actuate when required | 3.7 | A2 | 286000
61 | (271000A4.02) Ability to manually operate and/or monitor the (SF9 OG) OFFGAS SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System flows | 3.3 | K2 | 271000
62 | (272000A4.02) Ability to manually operate and/or monitor the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Meter indications | 3.2 | A4 | 272000
63 | (290003K3.05) Knowledge of the effect that a loss or malfunction of the (SF9 CRV) CONTROL ROOM VENTILATION will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Control room humidity | 2.7 | K3 | 290003
64 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G2.4 | G2.4
70 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
71 | (292004K1.03) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain resonance absorption | 2.7 | R | 292004
72 | (292005K1.06) CONTROL RODS (CFR: 41.1) Define reactor SCRAM/trip | 3.8 | R | 292005
73 | (293008K1.12) THERMAL HYDRAULICS (CFR: 41.14) (POOL BOILING CURVE (TEMPERATURE VS. HEAT FLUX)) Describe stable film boiling | 2.8 | T | 293008
74 | (293010K1.03) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) Define reference temperature | 2.5 | T | 293010
75 | (293003K1.22) STEAM (CFR: 41.14) Explain the usefulness of steam tables to the control | 3.2 | T | 293003
76 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295003
77 | (295001AA2.11) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Individual loop flow(s) | 3.6 | A2 | 295001
78 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 700000
79 | (295006AA2.04) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.1 | A2 | 295006
80 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 295005
81 | (295030EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.7 | A2 | 295030
82 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 295031
83 | (295022) (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 295022
84 | (295008AA2.03) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water cleanup blowdown flow | 3.2 | A2 | 295008
85 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 500000
86 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 264000
87 | (205000A2.01) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Recirculation loop high temperature | 3.3 | A2 | 205000
88 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 239002
89 | (209001A2.05) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Core spray line break | 3.5 | A2 | 209001
90 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 218000
91 | (245000A2.09) Ability to (a) predict the impacts of the following on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine vibration | 3.5 | A2 | 245000
92 | (268000) (SF9 RW) RADWASTE SYSTEM (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 268000
93 | (288000A2.05) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Extreme outside weather conditions | 2.9 | A2 | 288000
94 | (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
95 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
96 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4