## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 295003
2 | (295026EK2.04) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems | 2.9 | K2 | 295026
3 | (295001AA2.13) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Thermal limits | 4.1 | A2 | 295001
4 | (600000AA1.08) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Firefighting equipment used on each class of fire | 3.3 | A1 | 600000
5 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
6 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
7 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 295023
8 | (295006AK2.01) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) RPS | 4.5 | K2 | 295006
9 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
10 | (295016AA1.09) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Isolation condensers (Nine Mile Point 1, Dresden) | 4 | A1 | 295016
11 | (295018AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Placing the standby heat exchanger in service | 3.4 | K3 | 295018
12 | (295037EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Cooldown effects on reactor power | 4.1 | K1 | 295037
13 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 700000
14 | (295025EK2.12) Knowledge of the relationship between the (EPE 2) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Main and reheat steam system | 3.1 | K2 | 295025
15 | (295024EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4.4 | A2 | 295024
16 | (295005AA1.05) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 3.9 | A1 | 295005
17 | (295027EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.5 / 45.6) Anticipated/emergency depressurization | 4 | K3 | 295027
18 | (295030EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Downcomer/horizontal vent submergence | 3.9 | K1 | 295030
19 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295021
20 | (295038EK2.15) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Primary containment system and auxiliaries | 3.7 | K2 | 295038
21 | (500000EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.7 / 45.6) Drywell sprays | 3.6 | A1 | 500000
22 | (295012AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.5 / 45.6) Increased drywell cooling | 3.8 | K3 | 295012
23 | (295022AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.8 to 41.10) Reactivity control | 3.9 | K1 | 295022
24 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 295036
25 | (295034EK2.01) Knowledge of the relationship between the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION and the following systems or components: (CFR: 41.7 / 45.8) Process radiation monitoring system | 3.7 | K2 | 295034
26 | (295011AA2.04) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) System/component operating limitations | 3.2 | A2 | 295011
27 | (217000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Adequate core cooling | 4.2 | K5 | 217000
28 | (263000K2.04) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Inverters | 3.4 | K2 | 263000
29 | (218000A2.03) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of pneumatic supply to ADS valves | 3.9 | A2 | 218000
30 | (209002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Component cooling water systems | 3.1 | K6 | 209002
31 | (205000A3.02) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Pump operation | 3.7 | A3 | 205000
32 | (211000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor recirculation system | 2.9 | K1 | 211000
33 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 510000
34 | (261000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) Offsite radioactive release limits | 3.7 | A1 | 261000
35 | (209001K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Drywell cooling | 2.8 | K3 | 209001
36 | (262001A4.03) Ability to manually operate and/or monitor the (SF6 AC) AC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Local operation of breakers | 3 | A4 | 262001
37 | (262002K4.01) Knowledge of (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) design features and/or interlocks that provide for the following: (CFR: 41.7) Transfer of power supplies | 3.5 | K4 | 262002
38 | (259002K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Water level measurement | 3.7 | K5 | 259002
39 | (215005K2.01) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) LPRM channels | 3.2 | K2 | 215005
40 | (215003A2.01) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Power supply degradation | 3.1 | A2 | 215003
41 | (223002K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.7 / 45.7) Various process instrumentation | 3.2 | K6 | 223002
42 | (215004A3.04) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block status | 3.7 | A3 | 215004
43 | (264000K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water system | 3.4 | K1 | 264000
44 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (291004K1.22) PUMPS (CFR: 41.3) (POSITIVE DISPLACEMENT) Consequences of operating a positive displacement pump against a closed flow path | 3.3 | C | 212000
45 | (400000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.5 / 45.5) CCW flow rate | 3 | A1 | 400000
46 | (203000K3.04) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Adequate core cooling | 4.3 | K3 | 203000
47 | (239002A4.05) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor pressure | 4.4 | A4 | 239002
48 | (300000K4.03) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Compressor automatic starts/trips | 3.2 | K4 | 300000
49 | (217000K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Reactor pressure control | 3.7 | K5 | 217000
50 | (263000K2.03) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Battery chargers | 3.5 | K2 | 263000
51 | (218000A2.05) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of electrical power to ADS | 4.2 | A2 | 218000
52 | (209002K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Keep fill system | 3.3 | K6 | 209002
53 | (259001A4.01) Ability to manually operate and/or monitor the (SF2 FWS) FEEDWATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System flow | 3.9 | A4 | 259001
54 | (241000K4.06) Knowledge of (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Turbine trip | 4.2 | K4 | 241000
55 | (202001K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1, SF4 RS) RECIRCULATION SYSTEM: (CFR: 41.5 / 45.3) ATWS RPT | 3.8 | K5 | 202001
56 | (226001K2.03) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE Knowledge of electrical power supplies to the following: (CFR: 41.7) Valve control logic | 3.7 | K2 | 226001
57 | (272000A2.07) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Hydrogen injection operation | 3.4 | A2 | 272000
58 | (234000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FH) FUEL HANDLING: (CFR: 41.7 / 45.7) Fuel pool cooling and cleanup system | 3.1 | K6 | 234000
59 | (290003A3.01) Ability to monitor automatic operation of the (SF9 CRV) CONTROL ROOM VENTILATION including: (CFR: 41.7 / 45.7) Initiation/reconfiguration | 3.7 | A3 | 290003
60 | (233000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Condensate system | 2.6 | K1 | 233000
61 | (256000) (SF2 CDS) CONDENSATE SYSTEM (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.5 | G | 256000
62 | (201001A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 CRDH) CRD HYDRAULIC SYSTEM including: (CFR: 41.1-2 / 41.5-7 / 41.10 / 45.1-6 / 45.12) CRD cooling water header pressure | 3.3 | A1 | 201001
63 | (219000K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression pool temperature control | 4.2 | K3 | 219000
64 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
65 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
67 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (292002K1.08) NEUTRON LIFE CYCLE (CFR: 41.1) Define effective multiplication factor (K-effective) and discuss its relationship to the state of a reactor (critical, subcritical, and supercritical) | 2.8 | R | 292002
71 | (292003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the concept of subcritical multiplication | 3 | R | 292003
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
74 | (293004K1.12) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 3.1 | T | 293004
75 | (293010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State how the possibility of brittle fracture is minimized by operating limitations | 3.2 | T | 293010
76 | (295003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of AC power | 4.1 | A2 | 295003
77 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 295026
78 | (295001AA2.12) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Thermal-hydraulic instabilities | 4.2 | A2 | 295001
79 | (600000) (APE 24) PLANT FIRE ON SITE (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 600000
80 | (295004AA2.03) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery parameters | 3.7 | A2 | 295004
81 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295031
82 | (295023AA2.01) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.9 | A2 | 295023
83 | (295029EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/containment pressure | 3.7 | A2 | 295029
84 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295020
85 | (295008AA2.04) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Heatup rate | 3.3 | A2 | 295008
86 | (205000A2.08) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of heat exchanger cooling | 3.8 | A2 | 205000
87 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 211000
88 | (510000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Intake/discharge blockage | 3.5 | A2 | 510000
89 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 261000
90 | (209001A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trips | 3.9 | A2 | 209001
91 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 201003
92 | (268000A2.05) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal primary containment sump pump run time | 3.3 | A2 | 268000
93 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 286000
94 | (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
95 | (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
96 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4
100 | (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4