## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295030EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/suppression chamber differential pressure (Mark I, II) | 4.2 | A2 | 295030
2 | (295021AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Natural circulation | 3.9 | K1 | 295021
3 | (295003AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Reactor cooldown | 3.8 | K3 | 295003
4 | (295027EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) RHR/LPCI containment spray system mode | 4.2 | A1 | 295027
5 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 600000
6 | (295006AK2.03) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD hydraulic system | 3.9 | K2 | 295006
7 | (295005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.5 | A2 | 295005
8 | (295016AA1.05) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) DC electrical distribution | 3.5 | K1 | 295016
9 | (295031EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Automatic depressurization system actuation | 4.3 | K3 | 295031
10 | (295023AA1.02) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.4 | A1 | 295023
11 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 295001
12 | (295038EK2.13) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) SGTS/FRVS | 4 | K2 | 295038
13 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.7 | A2 | 295018
14 | (295026EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Pump NPSH | 3.6 | K1 | 295026
15 | (295025EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Isolation condenser initiation (Nine Mile Point 1, Dresden) | 4 | K3 | 295025
16 | (295019AA1.03) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Air compressors | 3.5 | A1 | 295019
17 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G | 295024
18 | (295004AK2.01) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Battery charger | 3.8 | K2 | 295004
19 | (700000AA2.01) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operating point on the generator capability curve | 3.4 | A2 | 700000
20 | (295037EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Reactor water level effects on reactor power | 4.3 | K1 | 295037
21 | (295008AA1.02) Ability to operate and/or monitor the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.7 / 45.6) Reactor water cleanup (ability to drain) | 3.4 | A1 | 295008
22 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295007
23 | (295035EK2.01) Knowledge of the relationship between the (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.8 | K2 | 295035
24 | (295036EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Cause of the high water level | 3.6 | A2 | 295036
25 | (295017AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.7 | K1 | 295017
26 | (295020AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Suppression chamber pressure response | 3.5 | K3 | 295020
27 | (209002K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Suppression pool suction strainer | 3.4 | K6 | 209002
28 | (300000A3.03) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Compressor automatic starts/trips | 3.5 | A3 | 300000
29 | (218000A2.03) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of pneumatic supply to ADS valves | 3.9 | A2 | 218000
30 | (262002K3.20) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Radiation monitoring system | 2.7 | K3 | 262002
31 | (261000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) Primary containment oxygen level (Mark I and II) | 3 | A1 | 261000
32 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 212000
33 | (223002A4.03) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) Reset of system isolations | 4 | A4 | 223002
34 | (510000K2.01) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system pumps (Class 1E) | 3.7 | K2 | 510000
35 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
36 | (215003K4.04) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Ranging IRMs | 3.8 | K4 | 215003
37 | (259002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor feedwater flow | 3.9 | K1 | 259002
38 | (203000K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) ECCS room integrity | 3 | K6 | 203000
39 | (205000A3.01) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Valve operation | 3.7 | A3 | 205000
40 | (400000A2.12) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to reactor recirculation pump variable frequency drive | 3 | A2 | 400000
41 | (217000K3.01) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.2 | K3 | 217000
42 | (215004A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) SRMS count rate and period | 4 | A1 | 215004
43 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (291003K1.05) CONTROLLERS AND POSITIONERS (CFR: 41.7) Function and characteristics of valve positioners | 2.8 | C | 215005
44 | (239002A4.01) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) SRVs | 4.4 | A4 | 239002
45 | (209001K2.01) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Pumps | 4.2 | K2 | 209001
46 | (264000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Load sequencing | 3.9 | K5 | 264000
47 | (211000K4.04) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Indication of a fault in squib valves firing circuits | 3.7 | K4 | 211000
48 | (262001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 AC) AC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main turbine generator and auxiliaries system | 3.5 | K1 | 262001
49 | (209002K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) High drywell pressure | 4.1 | K6 | 209002
50 | (300000A3.04) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Automatic isolation | 3.4 | A3 | 300000
51 | (218000A2.05) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of electrical power to ADS | 4.2 | A2 | 218000
52 | (262002K3.01) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level control system | 3.5 | K3 | 262002
53 | (239001K4.11) Knowledge of (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Positive sealing of the MSIVs when shut down | 2.9 | K4 | 239001
54 | (256000K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 CDS) CONDENSATE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RHR (LPCI) | 2.6 | K1 | 256000
55 | (234000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FH) FUEL HANDLING: (CFR: 41.7 / 45.7) Electrical power | 2.9 | K6 | 234000
56 | (290003A3.02) Ability to monitor automatic operation of the (SF9 CRV) CONTROL ROOM VENTILATION including: (CFR: 41.7 / 45.7) Initiation/failure of fire protection system | 3 | A3 | 290003
57 | (201001A2.02) Ability to (a) predict the impacts of the following on the (SF1 CRDH) CRD HYDRAULIC SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.2 / 41.5-7 / 41.10 / 41.12-13 / 45.1-6) Valve closures due to malfunction(s) | 3.8 | A2 | 201001
58 | (202001K3.16) Knowledge of the effect that a loss or malfunction of the (SF1, SF4 RS) RECIRCULATION SYSTEM will have on the following systems or system parameters: (CFR: 41.5 to 41.7 / 45.4) Reactor pressure | 3.5 | K3 | 202001
59 | (230000A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.5 / 45.5) Condensate storage tank level | 2.7 | A1 | 230000
60 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 201003
61 | (201005A4.02) Ability to manually operate and/or monitor the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Rod display module (lights and push buttons) | 3.7 | A4 | 201005
62 | (288000K2.01) (SF9 PVS) PLANT VENTILATION SYSTEMS Knowledge of electrical power supplies to the following: (CFR: 41.7) Primary containment supply and exhaust fans | 3 | K2 | 288000
63 | (223001K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES: (CFR: 41.5 / 45.3) Hydrogen igniter operation | 3.6 | K5 | 223001
64 | (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
65 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (292008K1.18) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Describe the means by which reactor power will be increased to rated power | 3.8 | R | 292008
71 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
72 | (292005K1.01) CONTROL RODS (CFR: 41.1) Relate notch and rod position | 3.3 | R | 292005
73 | (293004K1.04) THERMODYNAMIC PROCESS (CFR: 41.14) (NOZZLES) Describe the functions of nozzles in air ejectors | 2.6 | T | 293004
74 | (293006K1.18) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Explain how operating a centrifugal pump at shutoff head may cause overheating of the pump and describe methods used to avoid overheating | 2.7 | T | 293006
75 | (293007K1.03) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Explain the manner in which fluid films affects heat | 2.8 | T | 293007
76 | (295030EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4.1 | A2 | 295030
77 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 295021
78 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
79 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 295027
80 | (600000AA2.10) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Time limit of long-term-breathing air system for control room | 3 | A2 | 600000
81 | (295006) (APE 6) SCRAM (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 295006
82 | (295005AA2.03) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Turbine valve position | 3.6 | A2 | 295005
83 | (295022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) CRD mechanism temperatures | 3.1 | A2 | 295022
84 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 295014
85 | (295012AA2.04) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) System/component operating limitations | 3.6 | A2 | 295012
86 | (261000A2.12) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High fuel pool ventilation radiation | 3.3 | A2 | 261000
87 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 212000
88 | (223002A2.07) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Various process instrumentation failures | 3.1 | A2 | 223002
89 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 510000
90 | (263000A2.01) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Grounds/faults | 3.2 | A2 | 263000
91 | (259001) (SF2 FWS) FEEDWATER SYSTEM (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 259001
92 | (272000A2.11) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Leakage or breaks from contaminated systems to atmosphere or to other process systems | 3.7 | A2 | 272000
93 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 204000
94 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
95 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
96 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G2.2 | G2.2
97 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4