## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295026EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Primary containment integrity | 3.8 | K1 | 295026
2 | (295003AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Containment isolation | 3.5 | K3 | 295003
3 | (295027EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Safety relief valves | 3.7 | A1 | 295027
4 | (295001AA2.01) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Power/flow map | 4.4 | A2 | 295001
5 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 295037
6 | (700000AK2.10) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Emergency generators (diesel/jet) | 3.9 | K2 | 700000
7 | (295030EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Steam condensation | 3.9 | K1 | 295030
8 | (295038EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Emergency depressurization | 4.1 | K3 | 295038
9 | (600000AA1.05) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6): Plant and control room ventilation systems | 3.3 | A1 | 600000
10 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.7 | A2 | 295018
11 | (295006) (APE 6) SCRAM (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 295006
12 | (295016AK2.15) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Main turbine and auxiliaries | 2.6 | K2 | 295016
13 | (295005AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Reactor pressure control | 4.3 | K1 | 295005
14 | (295025EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) RCIC operation | 3.5 | K3 | 295025
15 | (295021AA1.01) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor water cleanup system | 3.4 | A1 | 295021
16 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295031
17 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 295024
18 | (295023AK2.10) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Nuclear instrumentation | 3.5 | K2 | 295023
19 | (295019AK2.13) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Isolation condenser (Nine Mile Point 1, Dresden) | 3.1 | K1 | 295019
20 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
21 | (295012AA2.03) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell humidity | 2.8 | A2 | 295012
22 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 295036
23 | (295008AK2.02) Knowledge of the relationship between the (APE 8) HIGH REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Reactor feedwater system | 4 | K2 | 295008
24 | (295010AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell temperature increase | 3.8 | K1 | 295010
25 | (295020AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Reactor pressure response | 3.9 | K3 | 295020
26 | (295013AA1.03) Ability to operate and/or monitor the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.7 / 45.6) Suppression pool temperature monitoring system | 4 | A1 | 295013
27 | (223002K3.09) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Main steam system | 4 | K3 | 223002
28 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 215005
29 | (400000A3.06) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) System response due to a LOOP signal | 3.7 | A3 | 400000
30 | (510000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Fire protection system | 2.9 | K1 | 510000
31 | (211000K4.09) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dampening of positive displacement pump discharge oscillations | 2.7 | K4 | 211000
32 | (262002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Motor generator operation | 3.1 | K5 | 262002
33 | (205000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low shutdown cooling suction pressure | 3.5 | A2 | 205000
34 | (300000A4.03) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Manual isolations | 3.2 | A4 | 300000
35 | (209002K2.03) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 4.2 | K2 | 209002
36 | (212000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) RPS bus status | 3.7 | A1 | 212000
37 | (218000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) AC power | 3.5 | K6 | 218000
38 | (264000K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant loads | 4.3 | K3 | 264000
39 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (291001K1.06) VALVES (CFR: 41.3) Equipment protection/safety concerns in the use of gate valves (protect valves seals, open slowly) | 2.7 | C | 217000
40 | (215004A3.03) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) RPS status | 3.5 | A3 | 215004
41 | (209001K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) HIGH-PRESSURE COOLANT INJECTION SYSTEM (BWR 2, 3, 4) | 3 | K1 | 209001
42 | (259002K4.13) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) FWRV lockup | 3.7 | K4 | 259002
43 | (215003K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.5 / 45.3) Downscale | 3.7 | K5 | 215003
44 | (263000A2.03) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal battery parameters | 3.4 | A2 | 263000
45 | (203000A4.06) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) System reset following automatic initiation | 3.6 | A4 | 203000
46 | (262001K2.02) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) AC breaker control power | 3.7 | K2 | 262001
47 | (261000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) Offsite radioactive release limits | 3.7 | A1 | 261000
48 | (239002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Pneumatics supply | 3.8 | K6 | 239002
49 | (223002K3.03) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Offsite radioactive release rates | 4.1 | K3 | 223002
50 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 215005
51 | (400000A3.03) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) Spent fuel pool cooling | 3.8 | A3 | 400000
52 | (510000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Fuel pool cooling and cleanup system | 3.3 | K1 | 510000
53 | (201003A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM including: (CFR: 41.1-6 / 45.1-6) CRD mechanism temperature | 3 | A1 | 201003
54 | (215001K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 TIP) TRAVERSING IN CORE PROBE: (CFR: 41.7 / 45.7) Nitrogen system (BWR 2, 3, 4, 5) | 2.5 | K6 | 215001
55 | (219000K3.02) Knowledge of the effect that a loss or malfunction of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression chamber temperature | 3.8 | K3 | 219000
56 | (290003) (SF9 CRV) CONTROL ROOM VENTILATION (291006K1.03) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Basic heat transfer in a heat exchanger | 2.6 | C | 290003
57 | (239001A3.02) Ability to monitor automatic operation of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM including: (CFR: 41.7 / 45.7) Opening and closing of drain valves as turbine load changes | 2.6 | A3 | 239001
58 | (241000K1.39) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main and reheat steam system | 3.3 | K1 | 241000
59 | (259001K4.08) Knowledge of (SF2 FWS) FEEDWATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) RFP turbine seals: TDRFPs-only | 2.7 | K4 | 259001
60 | (201001K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 CRDH) CRD HYDRAULIC SYSTEM: (CFR: 41.5-7 / 41.10 / 45.1-6 / 45.12-13) Differential pressure indication | 3.4 | K5 | 201001
61 | (202002A2.07) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of feedwater signal inputs | 3.5 | A2 | 202002
62 | (234000A4.02) Ability to manually operate and/or monitor the (SF8 FH) FUEL HANDLING in the control room: (CFR: 41.7 / 45.5 to 45.8) Control rod drive system | 3.9 | A4 | 234000
63 | (271000K4.03) Knowledge of (SF9 OG) OFFGAS SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Sufficient oxygen providing for complete hydrogen recombination | 2.9 | K2 | 271000
64 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
65 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
71 | (292008K1.04) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (STARTUP AND APPROACH TO CRITICALITY) Relate the concept of subcritical multiplication to predicted count rate and startup rate/period response for control rod withdrawal during the approach to criticality | 3.4 | R | 292008
72 | (292006K1.08) FISSION PRODUCT POISONS (CFR: 41.1) Describe the effects that xenon concentration has on flux shape and control rod patterns | 3.2 | R | 292006
73 | (293007K1.07) HEAT TRANSFER (CFR: 41.14) (HEAT EXCHANGERS) Describe how the presence of gases or steam can | 2.9 | T | 293007
74 | (293006K1.08) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Discuss pump head | 2.6 | T | 293006
75 | (293003K1.09) STEAM (CFR: 41.14) Define the following term: Saturated vapor | 2.6 | T | 293003
76 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
77 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 295003
78 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.6 | A2 | 295027
79 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 295001
80 | (295037EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Containment conditions/isolations | 4.1 | A2 | 295037
81 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 700000
82 | (295030EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) | 3.4 | A2 | 295030
83 | (295034EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Ventilation radiation levels | 4 | A2 | 295034
84 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 295011
85 | (295022AA2.05) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.2 | A2 | 295022
86 | (211000A2.03) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC power failures | 3.7 | A2 | 211000
87 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 262002
88 | (205000A2.01) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Recirculation loop high temperature | 3.3 | A2 | 205000
89 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 300000
90 | (209002A2.18) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Keep fill system failure | 3.3 | A2 | 209002
91 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 216000
92 | (230000A2.09) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate room cooling | 2.9 | A2 | 230000
93 | (239003) (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 239003
94 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4