## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295006) (APE 6) SCRAM (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 295006
2 | (295001AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Recirculation pump discharge/suction valve manipulation | 3.3 | K3 | 295001
3 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
4 | (295021AA1.05) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor recirculation | 3.6 | A1 | 295021
5 | (295016AK2.14) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Cooling water systems | 3.4 | K2 | 295016
6 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.9 | A2 | 295031
7 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295018
8 | (295003AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Containment isolation | 3.5 | K3 | 295003
9 | (295019AA1.03) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Air compressors | 3.5 | K1 | 295019
10 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
11 | (295025EK2.04) Knowledge of the relationship between the (EPE 2) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) ARI/RPT/ATWS | 4.1 | K2 | 295025
12 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.6 | A2 | 295026
13 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 295030
14 | (295037EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Boron injection | 4.2 | K3 | 295037
15 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
16 | (295005AA1.02) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) RPS | 3.9 | A1 | 295005
17 | (700000AK2.08) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Main turbine generator and auxiliary systems | 3.1 | K2 | 700000
18 | (295027EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.5 | A2 | 295027
19 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 295023
20 | (295038EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Control room ventilation system isolation | 3.8 | K3 | 295038
21 | (295009AA1.07) Ability to operate and/or monitor the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.7 / 45.6) RPS | 4.1 | A1 | 295009
22 | (295012AK2.01) Knowledge of the relationship between the (APE 12) HIGH DRYWELL TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Drywell ventilation | 3.7 | K2 | 295012
23 | (500000EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen concentration limits for drywell | 3.3 | A2 | 500000
24 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 295032
25 | (295010AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Temperature monitoring | 3.6 | K3 | 295010
26 | (295007AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 41.10) Decay heat generation | 3.1 | K1 | 295007
27 | (261000K4.03) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Moisture removal | 3 | K4 | 261000
28 | (262002A2.01) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal voltage | 3.2 | A2 | 262002
29 | (215004A3.03) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) RPS status | 3.5 | A3 | 215004
30 | (259002K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RWCU | 3 | K1 | 259002
31 | (218000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.5 / 45.3) Suppression pool temperature | 3.8 | K5 | 218000
32 | (209001K2.03) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 4.1 | K2 | 209001
33 | (212000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Nuclear instrumentation | 4 | K6 | 212000
34 | (263000A4.06) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfers | 3.2 | A4 | 263000
35 | (400000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.5 / 45.5) CCW pressure | 3 | A1 | 400000
36 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 215003
37 | (300000K3.12) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Feedwater system | 3.5 | K3 | 300000
38 | (217000K4.07) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic transfer of RCIC pump suction | 3.6 | K4 | 217000
39 | (264000A2.12) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of DC electrical distribution | 3.5 | A2 | 264000
40 | (211000A3.08) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) System initiation | 4.1 | A3 | 211000
41 | (510000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Fuel pool cooling and cleanup system | 3.3 | K1 | 510000
42 | (203000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.5 / 45.3) Vortex limits | 3.3 | K5 | 203000
43 | (262001K2.03) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Major motor control centers/buses (480 volts and higher) | 3.8 | K2 | 262001
44 | (209002K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Abnormal suppression pool water level | 3.7 | K6 | 209002
45 | (223002A4.03) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) Reset of system isolations | 4 | A4 | 223002
46 | (215005A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) LPRM, APRM, or OPRM channel bypass status | 3.7 | A1 | 215005
47 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (291002K1.05) SENSORS AND DETECTORS (CFR: 41.7) (FLOW) Operation of a flow D/P cell-type flow detector | 3.1 | C | 239002
48 | (205000K3.05) Knowledge of the effect that a loss or malfunction of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Fuel pool cooling and cleanup | 3 | K3 | 205000
49 | (261000K4.01) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic system initiation | 4 | K4 | 261000
50 | (262002A2.03) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Frequency malfunctions in the system | 3 | A2 | 262002
51 | (215004A3.04) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block status | 3.7 | A3 | 215004
52 | (259002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor feedwater flow | 3.9 | K1 | 259002
53 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 216000
54 | (241000K3.24) Knowledge of the effect that a loss or malfunction of the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor heatup rate | 3.8 | K3 | 241000
55 | (230000K4.03) Knowledge of (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Diverting flow from the RPV to the containment during accident conditions | 3.9 | K4 | 230000
56 | (201005A2.01) Ability to (a) predict the impacts of the following on the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6 / 45.8) High flux (SRMS, IRM, APRM) | 4.3 | A2 | 201005
57 | (290003A3.02) Ability to monitor automatic operation of the (SF9 CRV) CONTROL ROOM VENTILATION including: (CFR: 41.7 / 45.7) Initiation/failure of fire protection system | 3 | A3 | 290003
58 | (223001K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant pneumatic systems | 3.1 | K1 | 223001
59 | (239003K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) : (CFR: 41.7 / 45.4) System lineup | 3 | K5 | 239003
60 | (290002K3.21) Knowledge of the effect that a loss or malfunction of the (SF4 RVI) REACTOR VESSEL INTERNALS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Standby liquid control system | 3.7 | K2 | 290002
61 | (204000K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM : (CFR: 41.7 / 45.7) Feedwater system | 2.7 | K6 | 204000
62 | (219000A4.14) Ability to manually operate and/or monitor the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Overrides for suppression pool cooling valve logic | 4 | A4 | 219000
63 | (510001A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CWS*) CIRCULATING WATER SYSTEM including: (CFR: 41.5 / 45.5) Weather changes | 3 | A1 | 510001
64 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G2.4 | G2.4
70 | (292005K1.06) CONTROL RODS (CFR: 41.1) Define reactor SCRAM/trip | 3.8 | R | 292005
71 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
72 | (292008K1.21) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain the relationship between steam production rate and reactor power given specific conditions | 3 | R | 292008
73 | (293003K1.12) STEAM (CFR: 41.14) Define the following term: Quality | 2.6 | T | 293003
74 | (293008K1.35) THERMAL HYDRAULICS (CFR: 41.14) (NATURAL CIRCULATION) Describe problems that thermal stratification can cause | 3.3 | T | 293008
75 | (293009K1.23) CORE THERMAL LIMITS (CFR: 41.14) (MCPR) Describe the effects of mass flow on critical power | 3.2 | T | 293009
76 | (295006) (APE 6) SCRAM (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295006
77 | (295001AA2.03) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Core flow | 4 | A2 | 295001
78 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 295024
79 | (295021AA2.04) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water temperature | 4.3 | A2 | 295021
80 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 295016
81 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4 | A2 | 295031
82 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 295018
83 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 295013
84 | (295034EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Ventilation radiation levels | 4 | A2 | 295034
85 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295017
86 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 218000
87 | (209001A2.03) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC failures | 4 | A2 | 209001
88 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 212000
89 | (263000A2.01) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Grounds/faults | 3.2 | A2 | 263000
90 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 400000
91 | (202001A2.10) Ability to (a) predict the impacts of the following on the (SF1, SF4 RS) RECIRCULATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation pump seal failure (reference potential) | 3.9 | A2 | 202001
92 | (256000) (SF2 CDS) CONDENSATE SYSTEM (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 256000
93 | (290001A2.02) Ability to (a) predict the impacts of the following on the (SF5 SC) SECONDARY CONTAINMENT and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Excessive outleakage | 3.6 | A2 | 290001
94 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
95 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4