## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295006) (APE 6) SCRAM (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295006
2 | (295005AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Realignment of electrical distribution | 3.6 | K3 | 295005
3 | (295016AA2.04) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4 | K1 | 295016
4 | (295030EK2.06) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool makeup system(s) | 3.5 | K2 | 295030
5 | (600000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Fire alarm | 3.8 | A2 | 600000
6 | (295026EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) RHR/LPCI | 4 | A1 | 295026
7 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 295025
8 | (700000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Actions contained in abnormal operating procedure for voltage and grid disturbances | 3.8 | K3 | 700000
9 | (295038EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.8 | K1 | 295038
10 | (295037EK2.02) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Redundant reactivity control system | 4 | K2 | 295037
11 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
12 | (295021AA1.05) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor recirculation | 3.6 | A1 | 295021
13 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295001
14 | (295003AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Containment isolation | 3.5 | K3 | 295003
15 | (295027EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Equipment environmental qualifications | 3.2 | K1 | 295027
16 | (295023AK2.06) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation (Mark III) | 3.5 | K2 | 295023
17 | (295024EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Safety/relief valves | 3.9 | A2 | 295024
18 | (295004AA1.02) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) Systems necessary to ensure safe plant shutdown | 4.3 | A1 | 295004
19 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 295031
20 | (295018AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Securing individual components (preventing equipment damage) | 3.3 | K3 | 295018
21 | (295034EK2.04) Knowledge of the relationship between the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.8 | K2 | 295034
22 | (295029EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/containment pressure | 3.8 | A2 | 295029
23 | (295008AA1.08) Ability to operate and/or monitor the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.7 / 45.6) Feedwater system | 4.1 | A1 | 295008
24 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G | 295036
25 | (295007AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Shutdown cooling system (RHR shutdown cooling mode) operation | 3.6 | K3 | 295007
26 | (500000EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.8 to 41.10) Drywell nitrogen purge | 3.8 | K1 | 500000
27 | (203000A3.01) Ability to monitor automatic operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Valve operation | 4 | A3 | 203000
28 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 211000
29 | (209002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Condensate system | 3.2 | K1 | 209002
30 | (217000A4.13) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Manual initiation | 4.1 | A4 | 217000
31 | (215003K2.01) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) IRM channels/detectors | 3.4 | K2 | 215003
32 | (205000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low shutdown cooling suction pressure | 3.5 | A2 | 205000
33 | (262002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Static switch/inverter operation | 3.3 | K5 | 262002
34 | (239002K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Nuclear boiler instrument system (pressure indication) | 3.8 | K6 | 239002
35 | (212000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) Valve position | 3.6 | A1 | 212000
36 | (262001K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 AC) AC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) DC electrical distribution | 3.9 | K3 | 262001
37 | (223002K4.05) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Single failures will not impair the function ability of the system | 3.6 | K4 | 223002
38 | (218000A3.10) Ability to monitor automatic operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.7 / 45.7) ADS logic | 4.1 | A3 | 218000
39 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (291006K1.11) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Relationship between condenser vacuum and backpressure | 2.8 | C | 263000
40 | (261000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) HIGH-PRESSURE COOLANT INJECTION SYSTEM (BWR 2, 3, 4) | 2.8 | K1 | 261000
41 | (259002A4.04) Ability to manually operate and/or monitor the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) FWRV lockup reset controls | 3.7 | A4 | 259002
42 | (510000K2.01) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system pumps (Class 1E) | 3.7 | K2 | 510000
43 | (300000A2.03) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low instrument air pressure | 3.9 | A2 | 300000
44 | (264000K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Generator load limits | 4.1 | K5 | 264000
45 | (215005K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.7 / 45.7) Uninterruptable power supply (AC/DC) | 3.5 | K6 | 215005
46 | (209001A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Torus/suppression pool water level | 3.6 | A1 | 209001
47 | (400000K3.13) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Turbine generator and auxiliary systems | 3.1 | K3 | 400000
48 | (215004K4.03) Knowledge of (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Gamma compensation | 2.7 | K4 | 215004
49 | (203000A3.07) Ability to monitor automatic operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Loop selection | 4.1 | A3 | 203000
50 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 211000
51 | (209002K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water systems | 3.1 | K1 | 209002
52 | (217000A4.03) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) System valves | 3.8 | A4 | 217000
53 | (245000K3.02) Knowledge of the effect that a loss or malfunction of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4 | K3 | 245000
54 | (233000K4.07) Knowledge of (SF9 FPCCU) FUEL POOL COOLING/CLEANUP design features and/or interlocks that provide for the following: (CFR: 41.7) Supplemental heat removal capability | 3.4 | K4 | 233000
55 | (288000A3.01) Ability to monitor automatic operation of the (SF9 PVS) PLANT VENTILATION SYSTEMS including: (CFR: 41.7 / 45.7) Isolation/initiation signals | 3.7 | A3 | 288000
56 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (291001K1.04) VALVES (CFR: 41.3) The failed-valve positions for different operators (open, closed, and as-is positions; spring-loaded valves; hydraulically/ pneumatically controlled valves; electric motor-driven valves) | 2.8 | C | 239001
57 | (256000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 CDS) CONDENSATE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Offgas condenser | 2.9 | K1 | 256000
58 | (272000A4.04) Ability to manually operate and/or monitor the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Plant process computer/parameter display systems | 3.2 | A4 | 272000
59 | (239003K2.01) (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 2.7 | K2 | 239003
60 | (290003A2.02) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Extreme environmental conditions (fire, toxic gas, smoke, radiation, etc.) | 3.5 | A2 | 290003
61 | (204000K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM : (CFR: 41.5 / 45.3) Conductivity monitoring | 3.2 | K5 | 204000
62 | (201003K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM: (CFR: 41.1-6 / 45.1-6) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.7 | K6 | 201003
63 | (510001A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CWS*) CIRCULATING WATER SYSTEM including: (CFR: 41.5 / 45.5) Circulating water flow | 2.9 | A1 | 510001
64 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (292002K1.11) NEUTRON LIFE CYCLE (CFR: 41.1) Define reactivity | 3.3 | R | 292002
71 | (292004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain Doppler broadening and self-shielding | 2.7 | R | 292004
72 | (292008K1.03) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (STARTUP AND APPROACH TO CRITICALITY) Describe count rate and instrument response that should be observed for rod withdrawal during the approach to criticality | 4.1 | R | 292008
73 | (293004K1.17) THERMODYNAMIC PROCESS (CFR: 41.14) (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam or water | 2.8 | T | 293004
74 | (293010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the operational concerns of uncontrolled cooldown | 4.1 | T | 293010
75 | (293009K1.14) CORE THERMAL LIMITS (CFR: 41.14) (MAPLHGR) Explain the mechanisms most limiting for each region | 2.7 | T | 293009
76 | (295006) (APE 6) SCRAM (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 295006
77 | (295005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295005
78 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 295016
79 | (295030EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4.1 | A2 | 295030
80 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 600000
81 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4 | A2 | 295026
82 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 295025
83 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 295011
84 | (295012AA2.03) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell humidity | 2.7 | A2 | 295012
85 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 295032
86 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 215003
87 | (205000A2.09) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor low water level | 3.9 | A2 | 205000
88 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 262002
89 | (239002A2.01) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck-open vacuum breakers | 3.6 | A2 | 239002
90 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 212000
91 | (226001A2.15) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High containment/drywell pressure | 3.9 | A2 | 226001
92 | (201005) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 201005
93 | (223001A2.07) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High drywell pressure | 4.3 | A2 | 223001
94 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
95 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4