## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 295026
2 | (295023AA2.01) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 4.1 | A2 | 295023
3 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
4 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
5 | (295003AK2.04) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) AC electrical loads | 3.8 | K2 | 295003
6 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
7 | (295006) (APE 6) SCRAM (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295006
8 | (295027EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4.5 | A2 | 295027
9 | (295021AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Increasing drywell cooling | 2.9 | K3 | 295021
10 | (295025EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Safety/relief valve tailpipe temperature/pressure relationships | 4.1 | K1 | 295025
11 | (295038EK2.10) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Condenser air removal system | 3.2 | K2 | 295038
12 | (295024EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) LPCS | 4.2 | A1 | 295024
13 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 295004
14 | (295030EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.1 | A2 | 295030
15 | (295016AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Reactor SCRAM | 4 | K3 | 295016
16 | (295001AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Power/flow distribution | 3.7 | K1 | 295001
17 | (295005AK2.08) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution | 3.4 | K2 | 295005
18 | (295037EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) Systems used for alternate boron injection | 3.7 | A1 | 295037
19 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 700000
20 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3.6 | A2 | 295018
21 | (295002AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.8 to 41.10) Loss of heat sink | 4.1 | K1 | 295002
22 | (295011AK2.01) Knowledge of the relationship between the (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.8 | K2 | 295011
23 | (500000EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.7 / 45.6) Containment atmosphere controls | 3.4 | A1 | 500000
24 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295035
25 | (295009AA2.02) Ability to determine and/or interpret the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Steam flow/feed flow mismatch | 3.9 | A2 | 295009
26 | (295029EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Reactor SCRAM | 3.5 | K3 | 295029
27 | (261000K4.06) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Charcoal bed retention | 2.9 | K4 | 261000
28 | (223002A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Reactor pressure | 4.2 | A1 | 223002
29 | (209001A2.10) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool temperature | 3.5 | A2 | 209001
30 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 205000
31 | (215004K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) 24/48 volt DC power | 3.4 | K6 | 215004
32 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
33 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
34 | (211000A3.06) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) RWCU system isolation | 4.1 | A3 | 211000
35 | (263000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) AC electrical distribution | 4 | K1 | 263000
36 | (215005A4.07) Ability to manually operate and/or monitor the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR in the control room: (CFR: 41.7 / 45.5 to 45.8) OPRM back panel switches, and indicating lights | 3.6 | A4 | 215005
37 | (262002K3.14) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 3.3 | K3 | 262002
38 | (300000K4.04) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Containment isolation | 3.5 | K4 | 300000
39 | (203000A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Motor amps | 2.7 | A1 | 203000
40 | (218000A2.03) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of pneumatic supply to ADS valves | 3.9 | A2 | 218000
41 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (291007K1.09) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Effects of demineralizer operation on water conductivity | 2.7 | C | 215003
42 | (510000K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.7 / 45.7) Loss of AC electrical distribution | 3.6 | K6 | 510000
43 | (262001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Breaker control power | 3.5 | K5 | 262001
44 | (217000K2.02) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation/isolation logic | 3.7 | K2 | 217000
45 | (209002A3.01) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Valve operation | 4.2 | A3 | 209002
46 | (239002K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Automatic depressurization system | 4.5 | K1 | 239002
47 | (259002A4.11) Ability to manually operate and/or monitor the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) High-level lockout reset controls | 3.4 | A4 | 259002
48 | (264000K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant loads | 4.3 | K3 | 264000
49 | (261000K4.01) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic system initiation | 4 | K4 | 261000
50 | (223002A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Secondary containment pressure | 3.6 | A1 | 223002
51 | (209001A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trips | 4.1 | A2 | 209001
52 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 205000
53 | (201001A4.06) Ability to manually operate and/or monitor the (SF1 CRDH) CRD HYDRAULIC SYSTEM in the control room: (CFR: 41.5-7 / 41.9 / 41.10 / 45.1-6 / 45.8 / 45.12-13) SDV isolation valve test switch | 2.8 | A4 | 201001
54 | (202002K3.06) Knowledge of the effect that a loss or malfunction of the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Recirculation flow control valve position | 3.9 | K3 | 202002
55 | (201003K4.09) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) Movement of a control rod | 4 | K4 | 201003
56 | (239001A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM including: (CFR: 41.5 / 45.5) Reactor water level | 4 | A1 | 239001
57 | (233000A2.12) Ability to (a) predict the impacts of the following on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal filter/demineralizer differential pressure | 2.9 | A2 | 233000
58 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (291001K1.04) VALVES (CFR: 41.3) The failed-valve positions for different operators (open, closed, and as-is positions; spring-loaded valves; hydraulically/ pneumatically controlled valves; electric motor-driven valves) | 2.8 | C | 288000
59 | (230000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE: (CFR: 41.7 / 45.7) Component cooling water systems | 2.9 | K6 | 230000
60 | (290003K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 CRV) CONTROL ROOM VENTILATION: (CFR: 41.5 / 45.3) Control of airborne contamination (e.g., radiological, toxic gas, smoke) | 3.6 | K5 | 290003
61 | (216000K2.01) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Analog trip system | 3.6 | K2 | 216000
62 | (226001A3.01) Ability to monitor automatic operation of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 226001
63 | (286000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FPS) FIRE PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Isolation condenser (Nine Mile Point 1, Dresden) | 3.3 | K1 | 286000
64 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.1 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G2.4 | G2.4
70 | (292003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the concept of subcritical multiplication | 3 | R | 292003
71 | (292004K1.02) REACTIVITY COEFFICIENTS (CFR: 41.1) Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in moderator temperature and core age | 2.6 | R | 292004
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293004K1.04) THERMODYNAMIC PROCESS (CFR: 41.14) (NOZZLES) Describe the functions of nozzles in air ejectors | 2.6 | T | 293004
74 | (293010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the effect of fast neutron irradiation on reactor vessel metals | 2.8 | T | 293010
75 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
76 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 295026
77 | (295023AA2.05) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 4.4 | A2 | 295023
78 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 600000
79 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.7 | A2 | 295031
80 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 295003
81 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
82 | (295006) (APE 6) SCRAM (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 295006
83 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295033
84 | (295010AA2.03) Ability to determine and/or interpret the following as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell radiation levels | 3.6 | A2 | 295010
85 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 295032
86 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 215004
87 | (212000A2.06) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High reactor power | 4.3 | A2 | 212000
88 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 400000
89 | (211000A2.04) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate SLCS system flow | 3.8 | A2 | 211000
90 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 263000
91 | (202001A2.10) Ability to (a) predict the impacts of the following on the (SF1, SF4 RS) RECIRCULATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation pump seal failure (reference potential) | 3.9 | A2 | 202001
92 | (290002) (SF4 RVI) REACTOR VESSEL INTERNALS (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 290002
93 | (510001A2.04) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) System leakage/rupture | 3.5 | A2 | 510001
94 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
95 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
96 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4