## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295038EK2.10) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Condenser air removal system | 3.2 | K2 | 295038
2 | (295005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295005
3 | (295027EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.5 / 45.6) Hydrogen recombiners | 3.2 | K3 | 295027
4 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 295023
5 | (295004AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.7 | K1 | 295004
6 | (295031EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Low-pressure core spray | 4.3 | A1 | 295031
7 | (295030EK2.06) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool makeup system(s) | 3.5 | K2 | 295030
8 | (295025EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295025
9 | (295006AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Recirculation pump speed reduction | 3.7 | K3 | 295006
10 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 295024
11 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
12 | (700000AA1.04) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Reactor controls | 3.6 | A1 | 700000
13 | (295037EK2.22) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) RHR/LPCI system | 3.8 | K2 | 295037
14 | (295021AA2.03) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.4 | A2 | 295021
15 | (295016AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Disabling/transferring control room controls | 4 | K3 | 295016
16 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 295018
17 | (295019AK2.07) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Condensate system | 3.3 | K1 | 295019
18 | (295026EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) LPCS | 3.8 | A1 | 295026
19 | (295001AK2.14) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems | 2.9 | K2 | 295001
20 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.4 | A2 | 295003
21 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G | 295002
22 | (295034EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.8 to 41.10) Radiation releases | 3.9 | K1 | 295034
23 | (295022AA1.05) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.7 / 45.6) NBI | 3.4 | A1 | 295022
24 | (500000EK2.05) Knowledge of the relationship between the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION and the following systems or components: (CFR: 41.7 / 45.8) Hydrogen and oxygen recombiners | 3.5 | K2 | 500000
25 | (295017AA2.02) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Total number of curies released or release rate/duration | 3.4 | A2 | 295017
26 | (295035EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.5 / 45.6) Blow-out panel operation | 3.3 | K3 | 295035
27 | (400000K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) Fuel pool cooling and cleanup system | 3.3 | K6 | 400000
28 | (239002A3.02) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) SRV operation on high reactor pressure | 4.2 | A3 | 239002
29 | (300000A2.01) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Air dryer and filter malfunctions | 3.8 | A2 | 300000
30 | (215004K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.5 / 45.3) SRMS/IRM overlap | 3.5 | K5 | 215004
31 | (218000K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4.3 | K3 | 218000
32 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 203000
33 | (263000K2.03) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Battery chargers | 3.5 | K2 | 263000
34 | (215005K4.01) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Rod withdrawal blocks | 3.9 | K4 | 215005
35 | (223002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Plant process computer/parameter display systems | 3.3 | A1 | 223002
36 | (215003A4.03) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM range switches | 3.9 | A4 | 215003
37 | (211000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Redundant reactivity control system | 3.6 | K1 | 211000
38 | (209002K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Keep fill system | 3.3 | K6 | 209002
39 | (262001A3.04) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Load sequencing | 3.8 | A3 | 262001
40 | (510000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal valve positions | 3.6 | A2 | 510000
41 | (217000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Turbine operation | 3.5 | K5 | 217000
42 | (262002K3.07) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.4 | K3 | 262002
43 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (291006K1.08) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Relationship between flow rates and temperatures | 3 | C | 259002
44 | (264000K2.06) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) Knowledge of electrical power supplies to the following: (CFR: 41.7) Battery charger | 3 | K2 | 264000
45 | (209001K4.04) Knowledge of (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Line break detection | 3.4 | K4 | 209001
46 | (261000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) Primary containment oxygen level (Mark I and II) | 3 | A1 | 261000
47 | (212000A4.18) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Transferring RPS power supplies | 3.6 | A4 | 212000
48 | (205000K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Recirculation system | 3.5 | K1 | 205000
49 | (400000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) AC electrical distribution system | 3.5 | K6 | 400000
50 | (239002A3.09) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) Low-low set logic | 3.8 | A3 | 239002
51 | (300000A2.03) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low instrument air pressure | 3.9 | A2 | 300000
52 | (215004K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.5 / 45.3) Changing detector position | 3.2 | K5 | 215004
53 | (201003A4.01) Ability to manually operate and/or monitor the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM in the control room: (CFR: 41.1-7 / 45.1-8) CRD mechanism temperature | 3 | A4 | 201003
54 | (268000K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 RW) RADWASTE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Secondary containment | 2.6 | K1 | 268000
55 | (259001K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 FWS) FEEDWATER SYSTEM: (CFR: 41.7 / 45.7) Reactor feedwater pump motor ventilation: motor-driven only | 2.9 | K6 | 259001
56 | (272000A3.12) Ability to monitor automatic operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.7 / 45.7) Process radiation monitor isolations | 3.6 | A3 | 272000
57 | (215001A2.08) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Failure to retract to shield (BWR 2, 3, 4, 5) | 3.7 | A2 | 215001
58 | (204000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM : (CFR: 41.5 / 45.3) System flow | 3.1 | K5 | 204000
59 | (201005K3.06) Knowledge of the effect that a loss or malfunction of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) will have on the following systems or system parameters: (CFR: 41.6 / 41.7 / 45.4 to 45.6) Fuel handling system | 3 | K3 | 201005
60 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 202002
61 | (230000K2.03) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE Knowledge of electrical power supplies to the following: (CFR: 41.7) Control logic | 3.7 | K2 | 230000
62 | (216000K4.14) Knowledge of (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION design features and/or interlocks that provide for the following: (CFR: 41.7) Temperature compensation for reactor water level indication | 3.1 | K4 | 216000
63 | (510001A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CWS*) CIRCULATING WATER SYSTEM including: (CFR: 41.5 / 45.5) Circulating water flow | 2.9 | A1 | 510001
64 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G2.4 | G2.4
70 | (292002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1) Define shutdown margin | 3.5 | R | 292002
71 | (292008K1.09) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) List parameters that should be monitored and controlled during the intermediate phase of startup (from criticality to the point of adding heat (POAH)) | 3.9 | R | 292008
72 | (292004K1.02) REACTIVITY COEFFICIENTS (CFR: 41.1) Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in moderator temperature and core age | 2.6 | R | 292004
73 | (293006K1.20) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Describe the problems that will occur in emergency core cooling systems if the pumps are operated at lower than design flow for extended periods of time | 2.9 | T | 293006
74 | (293007K1.11) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.1 | T | 293007
75 | (293010K1.01) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the brittle fracture mode of failure | 2.8 | T | 293010
76 | (295038EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Total number of curies released or release rate/duration | 3.6 | A2 | 295038
77 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 295005
78 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.1 | A2 | 295027
79 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 295023
80 | (295004AA2.01) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of DC power | 4.1 | A2 | 295004
81 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 295031
82 | (295030EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 3.5 | A2 | 295030
83 | (295032EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Area temperature | 4 | A2 | 295032
84 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 295036
85 | (295007AA2.01) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295007
86 | (218000A2.02) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.1 | A2 | 218000
87 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 203000
88 | (263000A2.02) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of ventilation during charging | 3 | A2 | 263000
89 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 215005
90 | (223002A2.10) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of coolant accidents | 4.3 | A2 | 223002
91 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 239001
92 | (290001A2.01) Ability to (a) predict the impacts of the following on the (SF5 SC) SECONDARY CONTAINMENT and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Personnel airlock failure | 3.3 | A2 | 290001
93 | (241000) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 241000
94 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
95 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4