## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
2 | (295004AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Redundant DC power supplies | 3.8 | K1 | 295004
3 | (295024EA1.12) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Suppression pool spray (Mark I, II) | 4.2 | A1 | 295024
4 | (295021AK2.04) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Component cooling water systems | 3.4 | K2 | 295021
5 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
6 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 295038
7 | (295023AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.5 / 45.6) Ventilation isolation | 3.7 | K3 | 295023
8 | (295026EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Pump NPSH | 3.6 | K1 | 295026
9 | (295001AA1.02) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295001
10 | (295005AK2.07) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 3.9 | K2 | 295005
11 | (700000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operations status of safety-related (vital) buses | 4.1 | A2 | 700000
12 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 295027
13 | (295018AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Increasing cooling water flow to heat exchangers | 3.3 | K3 | 295018
14 | (295016AA1.09) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Isolation condensers (Nine Mile Point 1, Dresden) | 4 | K1 | 295016
15 | (295025EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Main and reheat steam | 3.1 | A1 | 295025
16 | (295037EK2.01) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) RPS | 4.3 | K2 | 295037
17 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.9 | A2 | 295031
18 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 295003
19 | (295006AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor water level response | 4 | K3 | 295006
20 | (295030EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Heat capacity | 4 | K1 | 295030
21 | (295035EK2.01) Knowledge of the relationship between the (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.8 | K2 | 295035
22 | (295020AA2.08) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) High-energy line break | 3.6 | A2 | 295020
23 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295017
24 | (295033EK3.06) Knowledge of the reasons for the following responses or actions as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.5 / 45.6) Operating ventilation systems | 3.6 | K3 | 295033
25 | (295008AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Component erosion/damage | 3.1 | K1 | 295008
26 | (295011AA1.01) Ability to operate and/or monitor the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling system | 3.7 | A1 | 295011
27 | (209002A2.03) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal valve positions | 4.1 | A2 | 209002
28 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 400000
29 | (215003K4.02) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Reactor SCRAM signals | 4.2 | K4 | 215003
30 | (217000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Turbine operation | 3.5 | K5 | 217000
31 | (215004K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) Detectors | 3.2 | K6 | 215004
32 | (264000K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant loads | 4.3 | K3 | 264000
33 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
34 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
35 | (215005K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RMCS (BWR 2, 3, 4, 5) | 3.5 | K1 | 215005
36 | (300000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.5 / 45.5) Instrument air supply pressure | 3.7 | A1 | 300000
37 | (211000A3.06) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) RWCU system isolation | 4.1 | A3 | 211000
38 | (239002A2.02) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Leaking SRV | 3.7 | A2 | 239002
39 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (291007K1.04) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Purpose of a demineralizer | 2.9 | C | 203000
40 | (259002K4.14) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Selection of various instruments to provide reactor water level input | 3.8 | K4 | 259002
41 | (205000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) Decay heat removal | 3.9 | K5 | 205000
42 | (209001K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Loss of AC electrical distribution system | 4.2 | K6 | 209001
43 | (261000K3.02) Knowledge of the effect that a loss or malfunction of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Offsite release rate | 4 | K3 | 261000
44 | (263000A4.04) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Ground detection circuit | 2.8 | A4 | 263000
45 | (223002K2.01) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF Knowledge of electrical power supplies to the following: (CFR: 41.7) Logic power supplies | 3.6 | K2 | 223002
46 | (510000K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Radiation monitoring system | 2.7 | K1 | 510000
47 | (262001A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) System power | 3.3 | A1 | 262001
48 | (212000A3.09) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) System actuation | 4.3 | A3 | 212000
49 | (209002A2.04) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of AC electrical distribution | 4.1 | A2 | 209002
50 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 400000
51 | (215003K4.10) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatically bypassing IRM rod block signals | 3.6 | K4 | 215003
52 | (217000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Flow control | 3.8 | K5 | 217000
53 | (219000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE including: (CFR: 41.5 / 45.5) System flow | 4.1 | A1 | 219000
54 | (259001A3.10) Ability to monitor automatic operation of the (SF2 FWS) FEEDWATER SYSTEM including: (CFR: 41.7 / 45.7) Pump trips | 3.9 | A3 | 259001
55 | (288000A2.06) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Secondary containment differential pressure malfunction | 3.5 | A2 | 288000
56 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (291001K1.11) VALVES (CFR: 41.3) Operation of valves and verification of position | 3.2 | C | 239001
57 | (202002K4.11) Knowledge of (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Adjustable speed drives/variable frequency drives | 3.5 | K4 | 202002
58 | (216000K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION: (CFR: 41.5 / 45.3) Reference leg flashing | 3.8 | K5 | 216000
59 | (201003K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM: (CFR: 41.1-6 / 45.1-6) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.7 | K6 | 201003
60 | (245000K3.03) Knowledge of the effect that a loss or malfunction of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 4 | K3 | 245000
61 | (201001A4.01) Ability to manually operate and/or monitor the (SF1 CRDH) CRD HYDRAULIC SYSTEM in the control room: (CFR: 41.5-7 / 41.9 / 41.10 / 45.1-6 / 45.8 / 45.12-13) CRD pumps | 3.7 | A4 | 201001
62 | (271000K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.7) Glycol subsystem | 2.5 | K2 | 271000
63 | (290001K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 SC) SECONDARY CONTAINMENT and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant pneumatic systems | 3.2 | K1 | 290001
64 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
66 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G2.4 | G2.4
70 | (292006K1.03) FISSION PRODUCT POISONS (CFR: 41.1) Describe the production of xenon-135 | 2.9 | R | 292006
71 | (292008K1.11) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) Discuss the concept of the point of adding heat (POAH) and its impact on reactor power | 3.8 | R | 292008
72 | (292002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1) State the relationship between reactivity and effective multiplication factor | 2.5 | R | 292002
73 | (293008K1.20) THERMAL HYDRAULICS (CFR: 41.14) (CORE INLET SUBCOOLING) Define carryunder | 2.6 | T | 293008
74 | (293010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the operational concerns of uncontrolled cooldown | 4.1 | T | 293010
75 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
76 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 600000
77 | (295004AA2.01) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of DC power | 4.1 | A2 | 295004
78 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 295024
79 | (295021AA2.03) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295021
80 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 295019
81 | (295038EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 4.5 | A2 | 295038
82 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 295023
83 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 295002
84 | (295014AA2.06) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Cold water injection | 4.1 | A2 | 295014
85 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 295009
86 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 215004
87 | (264000A2.13) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of starting air | 3.9 | A2 | 264000
88 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 262002
89 | (218000A2.02) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.1 | A2 | 218000
90 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 215005
91 | (290002A2.06) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding safety limits | 4.5 | A2 | 290002
92 | (290003) (SF9 CRV) CONTROL ROOM VENTILATION (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G | 290003
93 | (256000A2.14) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low condensate storage tank level | 3 | A2 | 256000
94 | (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
95 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
96 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4
100 | (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4