## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295016AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Disabling/transferring control room controls | 4 | K3 | 295016
2 | (295026EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool water temperature | 4.1 | A2 | 295026
3 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
4 | (295006) (APE 6) SCRAM (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 295006
5 | (295019AA1.03) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Air compressors | 3.5 | A1 | 295019
6 | (295027EK2.02) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Components internal to the containment | 3.3 | K2 | 295027
7 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
8 | (295005AA2.07) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.4 | A2 | 295005
9 | (295038EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.8 | K1 | 295038
10 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 295037
11 | (295031EA1.12) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Feedwater system | 3.8 | A1 | 295031
12 | (295003AK2.03) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution system | 3.9 | K2 | 295003
13 | (700000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Actions contained in abnormal operating procedure for voltage and grid disturbances | 3.8 | K3 | 700000
14 | (600000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Whether malfunction(s) are due to common-mode electrical failures | 3.1 | A2 | 600000
15 | (295030EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) SRV discharge submergence | 4 | K1 | 295030
16 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 295001
17 | (295021AA1.04) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Alternate decay heat removal systems | 3.9 | A1 | 295021
18 | (295023AK2.02) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.4 | K2 | 295023
19 | (295025EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) ARI/RPT/ATWS | 4.2 | K3 | 295025
20 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3.6 | A2 | 295018
21 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 295014
22 | (295020AA1.05) Ability to operate and/or monitor the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295020
23 | (295032EK2.02) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.5 | K2 | 295032
24 | (500000EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.5 / 45.6) Operation of wetwell (suppression pool) sprays | 3.5 | K3 | 500000
25 | (295036EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Water level in the affected area | 3.5 | A2 | 295036
26 | (295008AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Component erosion/damage | 3.1 | K1 | 295008
27 | (239002A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Suppression pool water temperature | 4 | A1 | 239002
28 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 211000
29 | (215005K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant process computer/parameter display systems | 3.1 | K1 | 215005
30 | (262002A3.01) Ability to monitor automatic operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.7 / 45.7) Transfer of power sources | 3.4 | A3 | 262002
31 | (263000A4.06) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfers | 3.2 | A4 | 263000
32 | (261000K4.04) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Radioactive particulate filtration | 3.4 | K4 | 261000
33 | (262001K2.02) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) AC breaker control power | 3.7 | K2 | 262001
34 | (259002K3.05) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Recirculation flow control system | 3.3 | K3 | 259002
35 | (510000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Radiation alarm response | 3 | K5 | 510000
36 | (217000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Condensate storage tank low level | 3.5 | K6 | 217000
37 | (205000A2.12) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Inadequate system flow | 3.6 | A2 | 205000
38 | (203000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Emergency generator loading | 3.7 | A1 | 203000
39 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (291001K1.05) VALVES (CFR: 41.3) The significance of stem position (valve status) for gate valves | 2.9 | C | 212000
40 | (209001K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) HIGH-PRESSURE COOLANT INJECTION SYSTEM (BWR 2, 3, 4) | 3 | K1 | 209001
41 | (215003A3.01) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215003
42 | (400000A4.01) Ability to manually operate and/or monitor the (SF8 CCS) COMPONENT COOLING WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) CCW indications and control | 3.8 | A4 | 400000
43 | (215004K4.01) Knowledge of (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Rod withdrawal blocks | 3.9 | K4 | 215004
44 | (264000K2.02) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) Knowledge of electrical power supplies to the following: (CFR: 41.7) Fuel oil pumps | 2.9 | K2 | 264000
45 | (300000K3.27) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Standby gas treatment system | 3.1 | K3 | 300000
46 | (209002K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209002
47 | (218000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) Low-pressure core spray pump running permissive | 4.2 | K6 | 218000
48 | (223002A2.05) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Nuclear boiler instrumentation failures | 3.8 | A2 | 223002
49 | (239002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Pneumatic supply | 3.5 | A1 | 239002
50 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 211000
51 | (215005K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Redundant reactivity control system | 3.5 | K1 | 215005
52 | (262002K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) Motor generator | 3.2 | A3 | 262002
53 | (286000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.7 / 45.7) DC electrical distribution | 3 | K6 | 286000
54 | (241000A2.05) Ability to (a) predict the impacts of the following on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal main stop valve position | 3.9 | A2 | 241000
55 | (239003A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.5 / 45.5) Status indicating lights and alarms | 2.7 | A1 | 239003
56 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (291007K1.06) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Reason for demineralizer temperature and flow limits | 2.7 | C | 288000
57 | (202001K1.21) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF4 RS) RECIRCULATION SYSTEM and the following systems: (CFR: 41.2 to 41.8 / 45.7 / 45.8) Reactor water cleanup system | 2.8 | K1 | 202001
58 | (510001A3.01) Ability to monitor automatic operation of the (SF8 CWS*) CIRCULATING WATER SYSTEM including: (CFR: 41.7 / 45.5) Pump starts/stops | 3 | A3 | 510001
59 | (233000A4.02) Ability to manually operate and/or monitor the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP in the control room: (CFR: 41.7 / 45.5 to 45.8) Fuel pool cooling system valves | 2.8 | A4 | 233000
60 | (230000K4.05) Knowledge of (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Pump minimum flow protection | 3.2 | K4 | 230000
61 | (223001K2.06) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES Knowledge of electrical power supplies to the following: (CFR: 41.7) Hydrogen igniters | 3.3 | K2 | 223001
62 | (290002K3.24) Knowledge of the effect that a loss or malfunction of the (SF4 RVI) REACTOR VESSEL INTERNALS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Source range monitor system | 3.3 | K3 | 290002
63 | (268000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 RW) RADWASTE SYSTEM: (CFR: 41.5 / 45.3) Dilution flow for releases | 2.9 | K5 | 268000
64 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
65 | (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
71 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
72 | (292006K1.05) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Equilibrium xenon | 2.9 | R | 292006
73 | (293008K1.34) THERMAL HYDRAULICS (CFR: 41.14) (NATURAL CIRCULATION) Explain the causes of natural circulation in BWRs | 3.1 | T | 293008
74 | (293006K1.08) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Discuss pump head | 2.6 | T | 293006
75 | (293007K1.09) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) Discuss operational implications of condensate | 2.7 | T | 293007
76 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 295016
77 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
78 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 295024
79 | (295006AA2.01) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295006
80 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 295019
81 | (295027EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295027
82 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 295004
83 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 295002
84 | (295012AA2.02) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4.3 | A2 | 295012
85 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 295007
86 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 263000
87 | (261000A2.02) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High system flow | 3.2 | A2 | 261000
88 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 262001
89 | (259002A2.07) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of comparator bias signal | 2.7 | A2 | 259002
90 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 510000
91 | (219000A2.14) Ability to (a) predict the impacts of the following on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.2 | A2 | 219000
92 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 201001
93 | (215001A2.05) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of DC electrical distribution | 2.7 | A2 | 215001
94 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
95 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G2.4 | G2.4
100 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4