## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE06EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Restore letdown | 2.9 | K3 | 395013
2 | (WE05EA1.13) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): ECCS | 3.9 | A1 | 395023
3 | (056AK2.12) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395015
4 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
5 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 395006
6 | (077AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Reactor power | 3.4 | K1 | 395020
7 | (WE11EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Initiating RCS cooldown to cold shutdown | 3.6 | K3 | 395022
8 | (011EA1.13) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): ECCS | 4.3 | A1 | 395004
9 | (062AK2.08) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): PRMS | 3 | K2 | 395018
10 | (065AA2.07) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Determination of whether backup nitrogen supply is controlling the valve position | 3.3 | A2 | 395019
11 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395001
12 | (025AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): Core cooling | 4.2 | K1 | 395007
13 | (026AK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating CVCS letdown heat exchanger | 3.4 | K3 | 395008
14 | (WE12EA1.13) Ability to operate and/or monitor the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.5 to 41.8 / 45.5 to 45.8): RCPS | 3.5 | A1 | 395012
15 | (009EK2.04) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): RCS pressure, PZR level, ECCS flow or subcooling indications | 3.9 | K2 | 395003
16 | (057AA2.08) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): Reactor power | 3.8 | A2 | 395016
17 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 395002
18 | (055EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): RCP seal leakage and inventory control | 4 | K1 | 395014
19 | (WE15EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.10 / 45.6 / 45.13): Determining the source of the water in the sump | 3.4 | K3 | 395045
20 | (024AA1.09) Ability to operate and/or monitor the following as they apply to (APE 24) EMERGENCY Boration (CFR: 41.7 / 45.5 / 45.6): ECCS | 3.5 | A1 | 395027
21 | (061AK2.01) Knowledge of the relationship between (APE 61) AREA RADIATION MONITORING (ARM) System Alarms and the following systems or components (CFR: 41.7 / 45.7): Areas or systems monitored by the ARM system | 3.1 | K2 | 395036
22 | (076AA2.05) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): CVCS letdown flow rate | 2.8 | A2 | 395041
23 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 395043
24 | (003AK1.26) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Dropped control rod during reactor startup | 3.6 | K1 | 395025
25 | (060AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in procedures for accidental gaseous radwaste release | 3.6 | K3 | 395035
26 | (005AA1.05) Ability to operate and/or monitor the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.7 / 45.5 / 45.6): RPI | 3.8 | A1 | 395026
27 | (005K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 4.1 | K1 | 400005
28 | (076A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): Reactor and turbine building CCW temperatures | 3.2 | A1 | 400076
29 | (061K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): ESFAS | 4 | K6 | 400061
30 | (103K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Hydrogen concentration inside containment | 3.5 | K5 | 400103
31 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
32 | (073K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): S/GB | 3.4 | K3 | 400073
33 | (062A3.06) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Tripping of loads, buses, or transformers due to protective relaying | 3.7 | A3 | 400062
34 | (008K4.09) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): The “standby” feature for the CCW pumps | 3.5 | K4 | 400008
35 | (012A4.03) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Channel blocks and bypasses | 3.8 | A4 | 400012
36 | (022A2.04) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water system malfunction | 3.7 | A2 | 400022
37 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 400039
38 | (010K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 4.1 | K1 | 400010
39 | (004A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): PZR pressure and level | 4.2 | A1 | 400004
40 | (003K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): Thermal barrier | 3.6 | K6 | 400003
41 | (078K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): Loss of instrument air | 3.9 | K5 | 400078
42 | (064K2.01) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Starting air compressor | 3 | K2 | 400064
43 | (006K3.01) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): RCS | 4.1 | K3 | 400006
44 | (013A3.08) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): AFW actuation signal | 4.1 | A3 | 400013
45 | (026K4.05) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevention of material from clogging nozzles during recirculation | 3.4 | K4 | 400026
46 | (007A4.04) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PZR vent valve | 3.2 | A4 | 400007
47 | (063A2.05) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of all AC | 4.2 | A2 | 400063
48 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (191008K1.01) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Purpose of racking out breakers (deenergize components and associated control and indication circuits) | 2.8 | C | 400005
49 | (076K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): CWS | 2.7 | K1 | 400076
50 | (061A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): RCS temperature | 3.9 | A1 | 400061
51 | (103K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): CPS | 3.4 | K6 | 400103
52 | (059K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Quadrant power tilt | 2.5 | K5 | 400059
53 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | K2 | 400073
54 | (062K3.01) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Offsite power | 4.1 | K3 | 400062
55 | (086K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FPS) FIRE PROTECTION SYSTEM and the following systems (CFR: 41.4 / 41.7 / 41.8 / 45.7 / 45.8): CCWS | 2.5 | K1 | 400086
56 | (068A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 LRS) LIQUID RADWASTE SYSTEM, including (CFR: 41.5 / 45.8 / 45.9): LRS radiation levels | 3.1 | A1 | 400068
57 | (028K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.7 / 45.7): Hydrogen recombiner components | 2.6 | K6 | 400028
58 | (071K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.5 / 45.8 / 45.9): Waste gas header pressure versus compressor operation | 2.6 | K5 | 400071
59 | (055A4.02) Ability to manually operate and/or monitor the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Vacuum pumps | 3 | K2 | 400055
60 | (045K3.08) Knowledge of the effect that a loss or malfunction of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Stator cooling system | 3 | K3 | 400045
61 | (034A3.02) Ability to monitor automatic features of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM, including (CFR: 41.7 / 45.5): Load limits | 2.9 | A3 | 400034
62 | (072K4.02) Knowledge of (SF7 ARM) AREA RADIATION MONITORING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Fuel building isolation | 3.5 | K4 | 400072
63 | (014A4.05) Ability to manually operate and/or monitor the (SF1 RPI) ROD POSITION INDICATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): RPI accuracy mode selection (W) | 3.1 | A4 | 400014
64 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G2.1 | G2.1
66 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
70 | (192003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Describe the factors affecting the startup rate | 3.3 | R | 192003
71 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
72 | (192005K1.03) CONTROL RODS (CFR: 41.1): Predict direction of change in reactor power for a change in control rod position | 3.6 | R | 192005
73 | (193010K1.01) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the brittle fracture mode of failure | 3.2 | T | 193010
74 | (193003K1.25) STEAM (CFR: 41.14): Explain and use saturated and superheated steam tables | 3.4 | T | 193003
75 | (193007K1.06) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.3 | T | 193007
76 | (027AA2.13) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Seal return flow | 3.1 | A2 | 395009
77 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 395005
78 | (038EA2.17) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): RCP restart criteria | 3.1 | A2 | 395011
79 | (395021) (W E04) LOCA Outside Containment (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 395021
80 | (029EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a main turbine trip | 4.1 | A2 | 395010
81 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395013
82 | (037AA2.02) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Agreement/disagreement among diverse radiation monitors | 3.6 | A2 | 395032
83 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395054
84 | (068AA2.11) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): Indications of natural circulation | 4 | A2 | 395038
85 | (395037) 000067 (APE 67) Plant Fire On Site (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 395037
86 | (008A2.01) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of CCW pump | 4 | A2 | 400008
87 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400012
88 | (022A2.07) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4 | A2 | 400022
89 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 400039
90 | (010A2.04) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of charging flow to auxiliary spray valves | 3.1 | A2 | 400010
91 | (400001) 001 (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 400001
92 | (016A2.02) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of power supply | 3.3 | A2 | 400016
93 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 400027
94 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
95 | (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4