## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 395009
2 | (BE05EK2.08) Knowledge of the relationship between (BW E05) Excessive Heat Transfer and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Main steam system | 3.8 | K2 | 395012
3 | (065AA1.06) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Instrument air header cross-connect valves | 3.3 | A1 | 395019
4 | (058AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Effect of battery discharge rate on capacity | 3.7 | K1 | 395017
5 | (WE11EK3.20) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Depressurizing all intact S/Gs to atmospheric pressure | 3.5 | K3 | 395022
6 | (CE06EA2.08) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Feed flow to S/Gs | 4.3 | A2 | 395013
7 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395004
8 | (038EK2.18) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RMS | 3.8 | K2 | 395011
9 | (022AA1.04) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): Speed demand controller and running indicators (positive displacement pump) | 3.5 | A1 | 395006
10 | (056AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Under voltage/degraded voltage effects on electrical loads | 3.7 | K1 | 395015
11 | (062AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Guidance actions contained in AOPs for loss of service water | 3.9 | K3 | 395018
12 | (026AA2.02) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The cause of possible CCW loss | 3.6 | A2 | 395008
13 | (395014) 000055 (EPE 55) Station Blackout (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 395014
14 | (009EK2.06) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): AFW system | 3.8 | K2 | 395003
15 | (WE05EA1.25) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): SWS | 3.1 | A1 | 395023
16 | (BE10EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary pressure control | 4 | K1 | 395001
17 | (025AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating potential leakage paths | 3.6 | K3 | 395007
18 | (057AA2.09) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): T-ave. and T-ref. | 3.3 | A2 | 395016
19 | (395025) 000003 (APE 3) Dropped Control Rod (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 395025
20 | (078AK2.04) Knowledge of the relationship between (APE 78) REACTOR COOLANT SYSTEM LEAK and the following systems or components (CFR: 41.7 / 45.7): PZR systems | 3.9 | K2 | 395042
21 | (005AA1.01) Ability to operate and/or monitor the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.7 / 45.5 / 45.6): CRDS | 3.7 | A1 | 395026
22 | (037AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.10 / 45.3): Magnitude of the tube leakage | 3.8 | K1 | 395032
23 | (028AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Relationship between the letdown flow rate and capacity rating of orifices | 3.2 | K3 | 395028
24 | (WE13EA2.01) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3 | A2 | 395044
25 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G | 395030
26 | (076AK2.11) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): PVS | 2.9 | K2 | 395041
27 | (039K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): SDS | 3.4 | K6 | 400039
28 | (076K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): RHRS | 3.6 | K1 | 400076
29 | (078A2.02) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low instrument air pressure | 3.9 | A2 | 400078
30 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 400012
31 | (008A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): Surge tank level | 3.4 | A1 | 400008
32 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
33 | (003K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Starting one or more RCPs under various plant conditions | 3.5 | K5 | 400003
34 | (013A3.10) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): Recirculation actuation/signal | 4.2 | A3 | 400013
35 | (005K4.12) Knowledge of (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Lineup for piggyback mode with CSS | 3.7 | K4 | 400005
36 | (064K2.01) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Starting air compressor | 3 | K2 | 400064
37 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
38 | (026K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4.1 | K6 | 400026
39 | (061K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): Emergency water source | 4.2 | K1 | 400061
40 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.9 | A2 | 400063
41 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (191001K1.10) VALVES (CFR: 41.3): The significance of stem position (valve status) for gate valves | 2.9 | C | 400073
42 | (006A1.16) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): RCS temperature, including superheat, saturation, and subcooled | 3.9 | A1 | 400006
43 | (007A4.01) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank makeup valve | 2.8 | A4 | 400007
44 | (010K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Reactor trip | 4 | K5 | 400010
45 | (062A3.07) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Automatic bus transfer | 3.6 | A3 | 400062
46 | (059K4.08) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Feedwater regulatory valve operation (on basis of steam flow and feed flow mismatch) | 3.9 | K4 | 400059
47 | (004K2.03) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Charging pumps | 3.9 | K2 | 400004
48 | (039K3.07) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Auxiliary steam system | 2.6 | K3 | 400039
49 | (076K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): Automatically positioned valves | 3.4 | K6 | 400076
50 | (078K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Extraction steam system | 2.5 | K1 | 400078
51 | (012A2.02) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of instrument power | 3.9 | A2 | 400012
52 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 400008
53 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
54 | (003A4.03) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCP lift oil pump and lube oil pump motor controls | 3.2 | A4 | 400003
55 | (027K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): CSS | 2.9 | K6 | 400027
56 | (086K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FPS) FIRE PROTECTION SYSTEM and the following systems (CFR: 41.4 / 41.7 / 41.8 / 45.7 / 45.8): Service water | 3 | K1 | 400086
57 | (034A2.07) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Loss of refueling cavity or spent fuel pool level | 3.7 | A2 | 400034
58 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (191008K1.02) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Local indication that breaker is open, closed, or tripped | 2.9 | C | 400002
59 | (072A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 45.5 /45.9): Radiation levels | 3.4 | A1 | 400072
60 | (011A4.05) Ability to manually operate and/or monitor the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Letdown flow controller | 3.6 | A4 | 400011
61 | (015K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.5 / 45.7): In-core detector operation | 3.2 | K5 | 400015
62 | (035A3.02) Ability to monitor automatic features of the (SF4P SG) STEAM GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): MAD valves, S/G atmospheric relief valves, or the SDS | 3.9 | A3 | 400035
63 | (029K4.01) Knowledge of (SF8 CPS) CONTAINMENT PURGE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Use of filters for purging to the atmosphere | 3 | K4 | 400029
64 | (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
65 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
66 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
70 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192008K1.23) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (REACTOR RESPONSE ON A TRIP) Explain the shape of a curve of reactor power versus time after a trip | 3.1 | R | 192008
73 | (193009K1.10) CORE THERMAL LIMITS (CFR: 41.14): Define and calculate quadrant tilt (symmetric offset) ratio | 3.3 | T | 193009
74 | (193008K1.20) THERMAL HYDRAULICS (CFR: 41.14): (TWO-PHASE FLOW) Explain the need for adequate core bypass flow | 2.9 | T | 193008
75 | (193003K1.02) STEAM (CFR: 41.14): Describe effects of pressure and temperature on density or specific volume of a liquid | 2.5 | T | 193003
76 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 395005
77 | (029EA2.13) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): RCS cooldown or heatup | 3.9 | A2 | 395010
78 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 395002
79 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
80 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 395020
81 | (027AA2.12) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): PZR level | 3.7 | A2 | 395009
82 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395043
83 | (024AA2.11) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): T‑ave. | 3.6 | A2 | 395027
84 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395029
85 | (WE15EA2.05) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Containment sump activity level | 3.1 | A2 | 395045
86 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 400013
87 | (005A2.04) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR valve malfunction | 3.7 | A2 | 400005
88 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400064
89 | (022A2.04) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water system malfunction | 3.4 | A2 | 400022
90 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 400026
91 | (050A2.06) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Breaches of control room envelope | 3.7 | A2 | 400050
92 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 400016
93 | (033A2.03) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal water level | 3.7 | A2 | 400033
94 | (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
97 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G2.4 | G2.4
100 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4