## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (008AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP tripping requirements | 3.5 | K3 | 395002
2 | (WE04EK2.05) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS leakage paths to outside containment | 4 | K2 | 395021
3 | (CE02EK1.11) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.5 / 41.7 / 45.7 to 45.9): Basis for tripping one RCP in each loop for a small‑break LOCA | 3.6 | K1 | 395001
4 | (027AA2.12) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): PZR level | 3.5 | A2 | 395009
5 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 395015
6 | (BE04EA1.04) Ability to operate and/or monitor the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.5 to 45.8): EFW | 4.4 | A1 | 395023
7 | (022AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating letdown | 3.7 | K3 | 395006
8 | (025AK2.17) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): SGS | 3.2 | K2 | 395007
9 | (CE05EK1.14) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 41.5 / 41.7 / 45.7 to 45.9): Evaluating adequate SDM | 3.8 | K1 | 395012
10 | (WE11EA2.06) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): ECCS flow | 3.5 | A2 | 395022
11 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 395019
12 | (055EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.6 | A1 | 395014
13 | (058AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of the EDGs | 4 | K3 | 395017
14 | (029EK2.08) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): ECCS | 3.7 | K2 | 395010
15 | (CE06EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Protecting the main condenser | 3.2 | K1 | 395013
16 | (057AA2.04) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): ESF system panel alarm annunciators and channel status | 3.6 | A2 | 395016
17 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 395003
18 | (038EA1.36) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): RCS | 3.8 | A1 | 395011
19 | (WE15EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.10 / 45.6 / 45.13): Determining the source of the water in the sump | 3.4 | K3 | 395045
20 | (076AK2.09) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): RHR | 3.2 | K2 | 395041
21 | (024AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 24) EMERGENCY Boration (CFR: 41.6 to 41.8 / 41.10 / 45.3): Relationship between boron addition and reactor power | 4.1 | K1 | 395027
22 | (068AA2.06) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.6 | A2 | 395038
23 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 395033
24 | (WE02EA1.19) Ability to operate and/or monitor the following as they apply to (W E02) SI TERMINATION (CFR: 41.5 to 4.18 / 45.5 to 45.8): CNT | 3.4 | A1 | 395043
25 | (WE06EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing low‑head ECCS flow or alternate low‑pressure makeup source | 3.8 | K3 | 395040
26 | (037AK2.19) Knowledge of the relationship between (APE 37) STEAM Generator Tube Leak and the following systems or components (CFR: 41.7 / 45.7): SGS | 3.6 | K2 | 395032
27 | (010A3.04) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR normal spray valve operation | 3.6 | A3 | 400010
28 | (078K3.02) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems having pneumatic valves and controls | 3.4 | K3 | 400078
29 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
30 | (059K4.01) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): MFW and startup feedwater valve combination | 3.2 | K4 | 400059
31 | (007K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): LRS | 2.6 | K2 | 400007
32 | (063K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG | 4.4 | K1 | 400063
33 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 400064
34 | (006K6.20) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4.1 | K6 | 400006
35 | (008A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW flow rate | 3.2 | A1 | 400008
36 | (039A2.02) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): LOCA | 4.1 | A2 | 400039
37 | (003K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Effects of RCP operation on D/P, especially at lower temperatures | 3.2 | K5 | 400003
38 | (026A3.01) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Pump starts and correct valve positioning | 4.1 | A3 | 400026
39 | (013K3.20) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): Auxiliary building HVAC | 3 | K3 | 400013
40 | (022A4.01) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS fans | 3.7 | A4 | 400022
41 | (004K4.17) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): RCS boration and/or dilution | 4.1 | K4 | 400004
42 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
43 | (061K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): S/G system | 4.4 | K1 | 400061
44 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (191006K1.13) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Consequences of heat exchanger tube failure | 2.9 | C | 400005
45 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
46 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
47 | (062A2.19) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of Class 1E DC distribution system | 4.1 | A2 | 400062
48 | (010K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): RCS heatup and cooldown effect on pressure | 3.7 | K5 | 400010
49 | (078A3.03) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Air compressor loading/unloading | 2.9 | A3 | 400078
50 | (076K3.10) Knowledge of the effect that a loss or malfunction of the (SF4S SW) SERVICE WATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCWS | 3.6 | K3 | 400076
51 | (059A4.03) Ability to manually operate and/or monitor the (SF4S MFW) MAIN FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Feedwater control during power increase and decrease | 3.6 | A4 | 400059
52 | (007K4.04) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PRT/quench tank rupture disk | 3.7 | K4 | 400007
53 | (063K2.01) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major DC loads | 3.5 | K2 | 400063
54 | (064K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): FPS | 2.9 | K1 | 400064
55 | (055A3.01) Ability to monitor automatic features of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Air removal pump | 3 | A3 | 400055
56 | (086K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): EDG systems | 3 | K3 | 400086
57 | (014A4.05) Ability to manually operate and/or monitor the (SF1 RPI) ROD POSITION INDICATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): RPI accuracy mode selection (W) | 3.1 | A4 | 400014
58 | (011K4.05) Knowledge of (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PZR level inputs to RPS | 3.8 | K4 | 400011
59 | (002A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM, including (CFR: 41.5 / 45.7): Reactor power | 4.2 | K2 | 400002
60 | (029K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CPS) CONTAINMENT PURGE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8): ESFAS | 3.5 | K1 | 400029
61 | (400015) 015 (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G | 400015
62 | (016K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): Primary system input sensors and detectors | 3.2 | K6 | 400016
63 | (068A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 LRS) LIQUID RADWASTE SYSTEM, including (CFR: 41.5 / 45.8 / 45.9): LRS radiation levels | 3.1 | A1 | 400068
64 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
65 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
67 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192005K1.06) CONTROL RODS (CFR: 41.1): Explain the shape of curves for differential and integral rod worth versus rod position | 2.9 | R | 192005
71 | (192004K1.11) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- fuel temperature | 2.9 | R | 192004
72 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
75 | (193010K1.01) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the brittle fracture mode of failure | 3.2 | T | 193010
76 | (026AA2.02) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The cause of possible CCW loss | 3.5 | A2 | 395008
77 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 395005
78 | (062AA2.02) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The cause of possible SWS loss | 3.3 | A2 | 395018
79 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 395004
80 | (077AA2.11) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Excessive stepup transformer neutral DC ground current | 2.8 | A2 | 395020
81 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395002
82 | (001AA2.07) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): PZR level | 3.6 | A2 | 395024
83 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 395035
84 | (069AA2.01) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Loss of containment integrity | 4.1 | A2 | 395039
85 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395053
86 | (006A2.12) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Conditions requiring actuation of ECCS | 4.5 | A2 | 400006
87 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 400008
88 | (039A2.04) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunctioning steam dump | 3.7 | A2 | 400039
89 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400003
90 | (026A2.03) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of ESF | 4.1 | A2 | 400026
91 | (400056) 056 (SF4S CDS) CONDENSATE SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 400056
92 | (045A2.03) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Mismatch between generator output and unit demand | 3.2 | A2 | 400045
93 | (400075) 075 (SF8 CW) CIRCULATING WATER SYSTEM (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 400075
94 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.1 | G2.1
95 | (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4