## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (700000AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operational status of emergency diesel generators | 4.2 | A2 | 700000
2 | (295026EK2.12) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool makeup | 2.8 | K2 | 295026
3 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
4 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G | 295021
5 | (295025EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Exceeding safety limits | 4.6 | K1 | 295025
6 | (295031EA1.13) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Reactor water level control system | 4.1 | A1 | 295031
7 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.7 | A2 | 295018
8 | (295023AK2.10) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Nuclear instrumentation | 3.5 | K2 | 295023
9 | (295005AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Extraction steam/moisture separator isolations | 2.8 | K3 | 295005
10 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 295030
11 | (295016AK2.02) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Local control stations | 3.9 | K1 | 295016
12 | (295024EA1.07) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) PCIS/NSSSS | 4.2 | A1 | 295024
13 | (295006AA2.05) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Whether a reactor SCRAM has occurred | 4.6 | A2 | 295006
14 | (295038EK2.15) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Primary containment system and auxiliaries | 3.7 | K2 | 295038
15 | (295019AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Alignment of backup air systems | 3.6 | K3 | 295019
16 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295004
17 | (295027EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Reactor water level measurement | 4.1 | K1 | 295027
18 | (295037EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) Systems used for alternate boron injection | 3.7 | A1 | 295037
19 | (295003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of AC power | 4 | A2 | 295003
20 | (295001AK2.14) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems | 2.9 | K2 | 295001
21 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295033
22 | (295032EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.8 to 41.10) Secondary containment leakage detection | 3.7 | K1 | 295032
23 | (295014AA1.09) Ability to operate and/or monitor the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.7 / 45.6) RCIC | 3.5 | A1 | 295014
24 | (295035EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Secondary containment pressure | 4 | A2 | 295035
25 | (295034EK2.06) Knowledge of the relationship between the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION and the following systems or components: (CFR: 41.7 / 45.8) PCIS/NSSSS | 3.7 | K2 | 295034
26 | (500000EK3.12) Knowledge of the reasons for the following responses or actions as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.5 / 45.6) Initiation of containment venting | 3.8 | K3 | 500000
27 | (215004K4.03) Knowledge of (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Gamma compensation | 2.7 | K4 | 215004
28 | (203000A4.05) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Manual initiation controls | 4.3 | A4 | 203000
29 | (300000K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Backwashing condensate filter/demins | 2.6 | K6 | 300000
30 | (205000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) Decay heat removal | 3.9 | K5 | 205000
31 | (212000A2.11) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) | 4.1 | A2 | 212000
32 | (211000K2.02) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Squib valves | 3.5 | K2 | 211000
33 | (259002A3.01) Ability to monitor automatic operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Runout flow control | 3.1 | A3 | 259002
34 | (510000K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Radiation monitoring system | 2.7 | K1 | 510000
35 | (264000A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Emergency generator room temperature | 2.8 | A1 | 264000
36 | (223002K3.24) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor building drainage system | 2.7 | K3 | 223002
37 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 217000
38 | (215005K4.10) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Bypassing an LPRM, APRM, or OPRM channel | 3.7 | K4 | 215005
39 | (215003A4.04) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM back panel switches, meters, and indicating lights | 3.2 | A4 | 215003
40 | (209001K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Torus/suppression pool water level | 3.7 | K6 | 209001
41 | (263000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Battery charger and battery | 3.4 | K5 | 263000
42 | (400000A2.13) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) | 4 | A2 | 400000
43 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
44 | (261000A3.01) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) System flow | 3.6 | A3 | 261000
45 | (262001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 AC) AC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main turbine generator and auxiliaries system | 3.5 | K1 | 262001
46 | (209002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Reactor water level | 4.3 | A1 | 209002
47 | (262002K3.20) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Radiation monitoring system | 2.7 | K3 | 262002
48 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (291002K1.07) SENSORS AND DETECTORS (CFR: 41.7) (LEVEL) Theory and operation of level detectors | 3.2 | C | 239002
49 | (215004K4.02) Knowledge of (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Reactor SCRAM signals | 3.6 | K4 | 215004
50 | (203000A4.06) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) System reset following automatic initiation | 3.6 | A4 | 203000
51 | (300000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Air compressors | 3.7 | K6 | 300000
52 | (205000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) System venting | 2.9 | K5 | 205000
53 | (216000K3.11) Knowledge of the effect that a loss or malfunction of the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) MSIV leakage control system | 2.9 | K3 | 216000
54 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 202002
55 | (226001K4.06) Knowledge of (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Pump motor cooling | 2.8 | K4 | 226001
56 | (230000A4.16) Ability to manually operate and/or monitor the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Override for suppression pool spray valve logic | 4 | A4 | 230000
57 | (288000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 PVS) PLANT VENTILATION SYSTEMS : (CFR: 41.7 / 45.7) Component cooling water system | 2.8 | K6 | 288000
58 | (271000K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.4) Condenser vacuum | 3.5 | K5 | 271000
59 | (268000A2.04) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Radiological release isolation valve failure | 3.1 | A2 | 268000
60 | (241000K2.01) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Pumps | 2.9 | K2 | 241000
61 | (219000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.9 | A3 | 219000
62 | (259001K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 FWS) FEEDWATER SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Heater drains system | 2.8 | K1 | 259001
63 | (233000A1.13) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP including: (CFR: 41.5 / 45.5) Closed cooling water temperature | 3.1 | A1 | 233000
64 | (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
66 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (292003K1.08) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Given the power equation, solve problems for power | 2.8 | R | 292003
71 | (292005K1.07) CONTROL RODS (CFR: 41.1) Define control rod worth, differential CRW, and integral control rod worth | 2.6 | R | 292005
72 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
73 | (293007K1.12) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Define percent reactor power | 2.7 | T | 293007
74 | (293010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the effect of fast neutron irradiation on reactor vessel metals | 2.8 | T | 293010
75 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
76 | (700000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operations status of safety-related (vital) buses | 4 | A2 | 700000
77 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295026
78 | (600000AA2.06) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Need for pressurizing control room (recirculating mode) | 3.3 | A2 | 600000
79 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 295021
80 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.7 | A2 | 295025
81 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 295031
82 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3 | A2 | 295018
83 | (295022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) CRD mechanism temperatures | 3.1 | A2 | 295022
84 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 295029
85 | (295002AA2.05) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Condensate temperature | 2.8 | A2 | 295002
86 | (212000A2.06) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High reactor power | 4.3 | A2 | 212000
87 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 211000
88 | (259002A2.06) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of controller signal output | 3.3 | A2 | 259002
89 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4 | G | 510000
90 | (264000A2.11) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Failure of emergency generator to start/load | 4.3 | A2 | 264000
91 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 201001
92 | (245000A2.07) Ability to (a) predict the impacts of the following on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of reactor/turbine regulating control system | 4 | A2 | 245000
93 | (272000) (SF7, SF9 RMS) RADIATION MONITORING SYSTEM (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 272000
94 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
100 | (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4