## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (700000AK2.09) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) AC electrical distribution system | 3.5 | K2 | 700000
2 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 295037
3 | (295030EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4.1 | A2 | 295030
4 | (295024EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) LPCS | 4.2 | A1 | 295024
5 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
6 | (295031EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Emergency depressurization | 4.4 | K3 | 295031
7 | (295038EK2.06) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Process radiation monitoring system | 3.8 | K2 | 295038
8 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G | 295026
9 | (295021AA2.04) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water temperature | 4.6 | A2 | 295021
10 | (295003AA1.08) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) Station blackout instrumentation | 4.3 | A1 | 295003
11 | (295018AA1.01) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Backup systems | 3.3 | K1 | 295018
12 | (295001AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor power response | 4 | K3 | 295001
13 | (295005AK2.12) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 2.9 | K2 | 295005
14 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 295004
15 | (295016AA2.03) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.5 | A2 | 295016
16 | (295027EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) RHR/LPCI containment spray system mode | 4.2 | A1 | 295027
17 | (295019AK2.04) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Reactor water cleanup system | 3.2 | K1 | 295019
18 | (295025EK3.07) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) RFCS initiation | 3.8 | K3 | 295025
19 | (295023AK2.10) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Nuclear instrumentation | 3.5 | K2 | 295023
20 | (295006) (APE 6) SCRAM (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G | 295006
21 | (295007AA1.08) Ability to operate and/or monitor the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Recirculation flow control system | 3.5 | A1 | 295007
22 | (295036EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.8 to 41.10) Maximum safe operating limit | 4.1 | K1 | 295036
23 | (295020AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Suppression chamber pressure response | 3.5 | K3 | 295020
24 | (500000EK2.06) Knowledge of the relationship between the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION and the following systems or components: (CFR: 41.7 / 45.8) Wetwell spray | 3.3 | K2 | 500000
25 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295029
26 | (295022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) CRD mechanism temperatures | 3.2 | A2 | 295022
27 | (215005K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor recirculation system (BWR 5, 6) | 3.6 | K3 | 215005
28 | (212000A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.7 | A1 | 212000
29 | (263000A2.04) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.5 | A2 | 263000
30 | (209001K2.03) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 4.1 | K2 | 209001
31 | (205000K4.05) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) Cooldown rate | 3.9 | K4 | 205000
32 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 262001
33 | (211000A3.09) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Pump trip | 3.8 | A3 | 211000
34 | (203000A4.15) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Room coolers | 2.9 | A4 | 203000
35 | (218000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrumentation | 3.9 | K1 | 218000
36 | (400000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) AC electrical distribution system | 3.5 | K6 | 400000
37 | (264000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Load sequencing | 3.9 | K5 | 264000
38 | (510000K3.06) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) HIGH-PRESSURE CORE SPRAY SYSTEM (BWR 5, 6) | 2.8 | K3 | 510000
39 | (215003A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Reactor SCRAM signals | 4 | A1 | 215003
40 | (223002A2.03) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) System logic failures | 3.9 | A2 | 223002
41 | (239002K2.01) (SF3 SRV) SAFETY RELIEF VALVES Knowledge of electrical power supplies to the following: (CFR: 41.7) SRV solenoids | 3.7 | K2 | 239002
42 | (300000K4.03) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Compressor automatic starts/trips | 3.2 | K4 | 300000
43 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (291001K1.04) VALVES (CFR: 41.3) The failed-valve positions for different operators (open, closed, and as-is positions; spring-loaded valves; hydraulically/ pneumatically controlled valves; electric motor-driven valves) | 2.8 | C | 209002
44 | (262002A3.01) Ability to monitor automatic operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.7 / 45.7) Transfer of power sources | 3.4 | A3 | 262002
45 | (215004A4.08) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS channel bypass | 3.4 | A4 | 215004
46 | (259002K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Rod worth minimizer | 2.8 | K1 | 259002
47 | (217000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Condensate storage tank low level | 3.5 | K6 | 217000
48 | (261000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Secondary containment pressure changes | 3.4 | K5 | 261000
49 | (215005K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RMCS (BWR 2, 3, 4, 5) | 3.4 | K3 | 215005
50 | (212000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) RPS bus status | 3.7 | A1 | 212000
51 | (263000A2.02) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of ventilation during charging | 2.9 | A2 | 263000
52 | (209001K2.01) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Pumps | 4.2 | K2 | 209001
53 | (239003K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) : (CFR: 41.7 / 45.7) Outboard system logic failure | 2.7 | K6 | 239003
54 | (226001K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE : (CFR: 41.5 / 45.3) Pressure suppression pressure | 4.3 | K5 | 226001
55 | (241000K3.31) Knowledge of the effect that a loss or malfunction of the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Main and reheat steam system | 3.2 | K3 | 241000
56 | (271000A1.14) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 OG) OFFGAS SYSTEM including: (CFR: 41.5 / 45.3 / 45.5) Oxygen gas concentration | 2.8 | A1 | 271000
57 | (259001A2.07) Ability to (a) predict the impacts of the following on the (SF2 FWS) FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Reactor water level control system malfunctions | 4.1 | A2 | 259001
58 | (204000K2.02) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 3 | K2 | 204000
59 | (216000K4.12) Knowledge of (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION design features and/or interlocks that provide for the following: (CFR: 41.7) Reactor vessel overpressure protection | 3.6 | K4 | 216000
60 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 201003
61 | (272000A3.01) Ability to monitor automatic operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.7 / 45.7) Main steam radiation alarms | 3.5 | A3 | 272000
62 | (290003A4.03) Ability to manually operate and/or monitor the (SF9 CRV) CONTROL ROOM VENTILATION in the control room: (CFR: 41.7 / 45.5 to 45.8) Dampers | 3 | A4 | 290003
63 | (202002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Recirculation system | 4.2 | K1 | 202002
64 | (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
65 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (292005K1.04) CONTROL RODS (CFR: 41.1) Predict direction of change in reactor power for a change in control rod position | 3.5 | R | 292005
71 | (292003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the effect of delayed neutrons on reactor period | 3.7 | R | 292003
72 | (292002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1) Define K-excess (excess reactivity) | 2.6 | R | 292002
73 | (293004K1.14) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain the condensing process | 2.7 | T | 293004
74 | (293007K1.11) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.1 | T | 293007
75 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
76 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 700000
77 | (295037EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295037
78 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295030
79 | (295024EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4.4 | A2 | 295024
80 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 600000
81 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.7 | A2 | 295031
82 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295038
83 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 295034
84 | (295014AA2.04) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Violation of fuel thermal limits | 4.3 | A2 | 295014
85 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 295010
86 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 205000
87 | (262001A2.02) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.2 | A2 | 262001
88 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 211000
89 | (203000A2.14) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Initiation logic failure | 4 | A2 | 203000
90 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 218000
91 | (288000A2.05) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Extreme outside weather conditions | 2.9 | A2 | 288000
92 | (290001) (SF5 SC) SECONDARY CONTAINMENT (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 290001
93 | (230000A2.13) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool level | 3.3 | A2 | 230000
94 | (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
95 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4
100 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4