## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295005AK2.10) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Reactor water level control system | 3.4 | K2 | 295005
2 | (295001AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Thermal-hydraulic instabilities | 4.3 | K1 | 295001
3 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.4 | A2 | 295003
4 | (295031EA1.12) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Feedwater system | 3.8 | A1 | 295031
5 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
6 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 295018
7 | (295038EK2.07) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Control room heating, ventilation and air conditioning | 3.5 | K2 | 295038
8 | (295023AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Inadvertent criticality | 3.8 | K1 | 295023
9 | (295021AA2.02) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) RHR/shutdown cooling system flow | 4.1 | A2 | 295021
10 | (295025EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Isolation condenser (Nine Mile Point 1, Dresden) | 4.1 | A1 | 295025
11 | (295030EK3.06) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4 | K3 | 295030
12 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 295024
13 | (295026EK2.11) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Safety/relief valves | 3.9 | K2 | 295026
14 | (700000AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Voltage disturbance | 3.5 | K1 | 700000
15 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.1 | A2 | 295027
16 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
17 | (295016AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Disabling/transferring control room controls | 4 | K3 | 295016
18 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 600000
19 | (295037EK2.25) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Rod worth minimizer | 3 | K2 | 295037
20 | (295006AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Decay heat generation and removal | 4 | K1 | 295006
21 | (295035EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.7 / 45.6) Secondary containment ventilation | 3.7 | A1 | 295035
22 | (295012AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.5 / 45.6) Increased drywell cooling | 3.8 | K3 | 295012
23 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G | 295034
24 | (295032EK2.03) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Fire protection system | 2.8 | K2 | 295032
25 | (295002AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.8 to 41.10) Loss of heat sink | 4.1 | K1 | 295002
26 | (295020AA2.05) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295020
27 | (205000K2.01) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) Knowledge of electrical power supplies to the following: (CFR: 41.7) Pump motors | 3.6 | K2 | 205000
28 | (300000K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Air leaks | 3.3 | K5 | 300000
29 | (203000K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Drywell pressure | 3.3 | K3 | 203000
30 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 239002
31 | (264000A3.07) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Room ventilation system | 3.1 | A3 | 264000
32 | (262002K4.01) Knowledge of (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) design features and/or interlocks that provide for the following: (CFR: 41.7) Transfer of power supplies | 3.5 | K4 | 262002
33 | (209001K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.7 | K1 | 209001
34 | (263000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Station blackout | 4.3 | K6 | 263000
35 | (259002A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Feedwater string(s) selected for FWCI | 3.5 | A1 | 259002
36 | (510000A4.02) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valve operations | 3.6 | A4 | 510000
37 | (215005A2.05) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of recirculation flow signal | 4 | A2 | 215005
38 | (261000K2.02) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Standby gas treatment system motor-operated valves/dampers | 3.1 | K2 | 261000
39 | (400000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.5 / 45.3) Determine source(s) of RCS leakage into CCW | 3.1 | K5 | 400000
40 | (211000K3.01) Knowledge of the effect that a loss or malfunction of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 4 | K3 | 211000
41 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (291002K1.11) SENSORS AND DETECTORS (CFR: 41.7) (PRESSURE) Effects of operating environment (pressure, temperature, or radiation) | 2.5 | C | 262001
42 | (215004A3.03) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) RPS status | 3.5 | A3 | 215004
43 | (217000K4.11) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Resetting system isolations | 3.8 | K4 | 217000
44 | (218000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Safety/relief valves | 4.3 | K1 | 218000
45 | (212000K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Primary containment and auxiliaries | 3.5 | K6 | 212000
46 | (215003A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Control rod block status | 3.9 | A1 | 215003
47 | (223002A4.07) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) Reset of system initiations | 3.8 | A4 | 223002
48 | (209002A2.16) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Emergency diesel generator failure | 4.3 | A2 | 209002
49 | (205000K2.02) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 3.3 | K2 | 205000
50 | (300000K5.15) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) High moisture content in instrument air | 3.1 | K5 | 300000
51 | (203000K3.07) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Primary containment | 3.5 | K3 | 203000
52 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 239002
53 | (510001A4.03) Ability to manually operate and/or monitor the (SF8 CWS*) CIRCULATING WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Cooling tower basin level | 2.8 | A4 | 510001
54 | (268000A2.05) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal primary containment sump pump run time | 3.4 | A2 | 268000
55 | (201005K2.01) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) Knowledge of electrical power supplies to the following: (CFR: 41.6 / 41.7) RCIS | 3.3 | K2 | 201005
56 | (216000K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION: (CFR: 41.5 / 45.3) Indicated vessel temperature response during rapid heatups or cooldowns | 3.4 | K5 | 216000
57 | (290001K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 SC) SECONDARY CONTAINMENT will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Offsite radioactive release rates | 4.1 | K3 | 290001
58 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (291002K1.01) SENSORS AND DETECTORS (CFR: 41.7) (FLOW) Operational characteristics of venturis and orifices | 2.5 | C | 202002
59 | (230000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 230000
60 | (233000K4.06) Knowledge of (SF9 FPCCU) FUEL POOL COOLING/CLEANUP design features and/or interlocks that provide for the following: (CFR: 41.7) Maintaining adequate pool level | 3.7 | K4 | 233000
61 | (288000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 PVS) PLANT VENTILATION SYSTEMS and the following systems: (CFR: 41.4 / 41.5 / 45.7 / 45.8) AC electrical distribution system | 3 | K1 | 288000
62 | (226001K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE : (CFR: 41.7 / 45.7) Nuclear boiler instrumentation | 3.4 | K6 | 226001
63 | (272000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.4 | A1 | 272000
64 | (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
65 | (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
66 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
71 | (292003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the concept of subcritical multiplication | 3 | R | 292003
72 | (292002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1) Evaluate change in shutdown margin due to changes in plant parameters | 2.9 | R | 292002
73 | (293010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the definition of nil-ductility transition temperature | 2.7 | T | 293010
74 | (293009K1.32) CORE THERMAL LIMITS (CFR: 41.14) (PELLET-CLAD INTERACTION) List the causes of pellet-clad interaction | 3.3 | T | 293009
75 | (293007K1.13) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Calculate core thermal power using a simplified heat | 2.9 | T | 293007
76 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 295005
77 | (295001AA2.08) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.6 | A2 | 295001
78 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 295003
79 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.6 | A2 | 295031
80 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 295004
81 | (295018AA2.02) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Cooling water temperature | 3.5 | A2 | 295018
82 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 295038
83 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 500000
84 | (295014AA2.05) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Violation of safety limits | 4.4 | A2 | 295014
85 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 295008
86 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 264000
87 | (262002A2.01) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal voltage | 3.2 | A2 | 262002
88 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 209001
89 | (263000A2.04) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.2 | A2 | 263000
90 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 259002
91 | (204000A2.05) Ability to (a) predict the impacts of the following on the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal valve position | 3 | A2 | 204000
92 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 239001
93 | (290002A2.05) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding thermal limits | 4.1 | A2 | 290002
94 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4