## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295004AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Redundant DC power supplies | 3.8 | K1 | 295004
2 | (295018AA1.07) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.6 | A1 | 295018
3 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.1 | A2 | 295027
4 | (295023AK2.06) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation (Mark III) | 3.5 | K2 | 295023
5 | (295030EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Suppression pool makeup system(s) operation | 3.6 | K3 | 295030
6 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295001
7 | (295021AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Adequate core cooling | 4.4 | K1 | 295021
8 | (295025EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) RPS | 4.2 | A1 | 295025
9 | (700000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operations status of safety-related (vital) buses | 4.1 | A2 | 700000
10 | (295003AK2.03) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution system | 3.9 | K2 | 295003
11 | (295031EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Automatic depressurization system actuation | 4.3 | K3 | 295031
12 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295005
13 | (295019AK2.15) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Standby liquid control system | 2.8 | K1 | 295019
14 | (295038EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Feedwater leakage control | 2.9 | A1 | 295038
15 | (295006AA2.01) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.3 | A2 | 295006
16 | (295037EK2.08) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Plant process computer/parameter display systems | 3.2 | K2 | 295037
17 | (295026EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool cooling | 3.8 | K3 | 295026
18 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 295024
19 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
20 | (295016AA1.15) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Emergency generators | 3.8 | A1 | 295016
21 | (295020AK2.09) Knowledge of the relationship between the (APE 20) INADVERTENT CONTAINMENT ISOLATION and the following systems or components: (CFR: 41.7 / 45.8) RHR/shutdown cooling | 4 | K2 | 295020
22 | (295008AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) Reactor feedwater pump trip | 3.8 | K3 | 295008
23 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295036
24 | (295010AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell temperature increase | 3.8 | K1 | 295010
25 | (295013AA1.03) Ability to operate and/or monitor the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.7 / 45.6) Suppression pool temperature monitoring system | 4 | A1 | 295013
26 | (295014AA2.01) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.7 | A2 | 295014
27 | (209002A2.16) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Emergency diesel generator failure | 4.3 | A2 | 209002
28 | (262001K4.03) Knowledge of (SF6 AC) AC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic bus transfer | 3.8 | K4 | 262001
29 | (211000K2.02) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Squib valves | 3.5 | K2 | 211000
30 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 300000
31 | (223002A3.05) Ability to monitor automatic operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.7 / 45.7) Group isolations | 4.2 | A3 | 223002
32 | (264000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) AC electrical distribution | 4.5 | K1 | 264000
33 | (217000A4.02) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Turbine trip throttle valve reset | 4 | A4 | 217000
34 | (218000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) AC power | 3.5 | K6 | 218000
35 | (209001A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Torus/suppression pool water level | 3.6 | A1 | 209001
36 | (261000K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Fuel handling building pressure changes | 3 | K5 | 261000
37 | (400000K3.05) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Control rod drive hydraulic system | 3.4 | K3 | 400000
38 | (205000A2.10) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Abnormal valve position | 3.6 | A2 | 205000
39 | (510000K4.09) Knowledge of (SF4 SWS*) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Trash and debris removal | 3 | K4 | 510000
40 | (215005K2.01) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) LPRM channels | 3.2 | K2 | 215005
41 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (291004K1.05) PUMPS (CFR: 41.3) (CENTRIFUGAL) Discuss relationships among head, flow, and power, as related to pump speed | 2.9 | C | 203000
42 | (215004A3.03) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) RPS status | 3.5 | A3 | 215004
43 | (259002K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor water level | 4.2 | K1 | 259002
44 | (215003A4.01) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM recorder indication | 3.6 | A4 | 215003
45 | (239002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) AC power | 3.2 | K6 | 239002
46 | (212000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) RPS bus status | 3.7 | A1 | 212000
47 | (262002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Static switch/inverter operation | 3.3 | K5 | 262002
48 | (263000K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 DC) DC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant systems using DC control power | 4.2 | K3 | 263000
49 | (209002A2.15) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Clogged suppression pool suction strainers | 3.8 | A2 | 209002
50 | (262001K4.04) Knowledge of (SF6 AC) AC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Protective relaying | 3.5 | K4 | 262001
51 | (211000K2.01) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SLCS pumps | 3.6 | K2 | 211000
52 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 300000
53 | (215001K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 TIP) TRAVERSING IN CORE PROBE: (CFR: 41.5 / 45.3) Flux detection | 3.2 | K5 | 215001
54 | (234000K3.06) Knowledge of the effect that a loss or malfunction of the (SF8 FH) FUEL HANDLING will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Fuel pool cooling and cleanup system | 2.6 | K3 | 234000
55 | (510001A2.04) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) System leakage/rupture | 3.2 | A2 | 510001
56 | (290001K4.01) Knowledge of (SF5 SC) SECONDARY CONTAINMENT design features and/or interlocks that provide for the following: (CFR: 41.7) Personnel access without breaching secondary containment | 3.4 | K4 | 290001
57 | (288000K2.02) (SF9 PVS) PLANT VENTILATION SYSTEMS Knowledge of electrical power supplies to the following: (CFR: 41.7) Auxiliary building supply and exhaust fans (turbine building/radwaste building) | 2.6 | K2 | 288000
58 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (291004K1.19) PUMPS (CFR: 41.3) (CENTRIFUGAL) Safety procedure and precautions associated with centrifugal pumps | 2.9 | C | 286000
59 | (202001A3.06) Ability to monitor automatic operation of the (SF1, SF4 RS) RECIRCULATION SYSTEM including: (CFR: 41.7 / 45.7) Flow control valve position (BWR 5, 6) | 3.9 | A3 | 202001
60 | (271000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 OG) OFFGAS SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 / 41.14 / 45.6 to 45.8) Instrument air system | 2.8 | K1 | 271000
61 | (201005A4.03) Ability to manually operate and/or monitor the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Back panel indicating lights | 3.3 | A4 | 201005
62 | (239001K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM: (CFR: 41.7 / 45.7) Reactor/turbine pressure regulating system | 3.8 | K6 | 239001
63 | (290002K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 RVI) REACTOR VESSEL INTERNALS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Safety relief valve system | 3.9 | A1 | 290002
64 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
66 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
70 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
71 | (292005K1.07) CONTROL RODS (CFR: 41.1) Define control rod worth, differential CRW, and integral control rod worth | 2.6 | R | 292005
72 | (292008K1.12) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) Describe reactor power and period response prior to reaching the POAH | 3.7 | R | 292008
73 | (293008K1.24) THERMAL HYDRAULICS (CFR: 41.14) (VIODS AND VOID FRACTION) Draw the temperature profile from the centerline of a fuel pellet to the centerline of the channel | 2.5 | T | 293008
74 | (293004K1.14) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain the condensing process | 2.7 | T | 293004
75 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
76 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 295004
77 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.2 | A2 | 295018
78 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 295027
79 | (295023AA2.01) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.9 | A2 | 295023
80 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 295030
81 | (295001AA2.12) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Thermal-hydraulic instabilities | 4.2 | A2 | 295001
82 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 295021
83 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295017
84 | (295007AA2.01) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295007
85 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 295002
86 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 223002
87 | (264000A2.09) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of safety bus | 4.3 | A2 | 264000
88 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 217000
89 | (218000A2.06) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS initiation signals present | 4.3 | A2 | 218000
90 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 209001
91 | (290003A2.01) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Automatic initiation/reconfiguration | 3.8 | A2 | 290003
92 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 216000
93 | (223001A2.09) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Vacuum breaker malfunction | 3.7 | A2 | 223001
94 | (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4