## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295003AA1.03) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) Decay heat removal systems | 4.2 | A1 | 295003
2 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
3 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295018
4 | (295006AA2.02) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.4 | A2 | 295006
5 | (295037EK2.11) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) RMCS (BWR 2, 3, 4, 5) | 3.9 | K2 | 295037
6 | (295016AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Reactor SCRAM | 4 | K3 | 295016
7 | (295021AA1.07) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup | 3.4 | A1 | 295021
8 | (295026EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Primary containment integrity | 3.8 | K1 | 295026
9 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 295023
10 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.2 | A2 | 295004
11 | (600000AK2.10) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Plant ventilation systems | 3.2 | K2 | 600000
12 | (295005AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.1 | K3 | 295005
13 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
14 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
15 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 295038
16 | (295025EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4 | A2 | 295025
17 | (295027EK2.04) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems. | 2.9 | K2 | 295027
18 | (295030EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) HPCI shutdown | 4 | K3 | 295030
19 | (700000AA1.06) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) AC electrical distribution system | 3.5 | A1 | 700000
20 | (295001AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Natural circulation | 3.7 | K1 | 295001
21 | (295020AA2.03) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 3.9 | A2 | 295020
22 | (295017AK2.03) Knowledge of the relationship between the (APE 17) ABNORMAL OFFSITE RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Off-gas system | 3.7 | K2 | 295017
23 | (295007AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Shutdown cooling system (RHR shutdown cooling mode) operation | 3.6 | K3 | 295007
24 | (295029EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) HPCI | 3.5 | A1 | 295029
25 | (295013AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.8 to 41.10) Surveillance testing | 3.4 | K1 | 295013
26 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 295011
27 | (510000K2.01) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system pumps (Class 1E) | 3.7 | K2 | 510000
28 | (217000A4.14) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Resetting isolations | 3.9 | A4 | 217000
29 | (263000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) AC electrical distribution | 3.8 | K6 | 263000
30 | (215003K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RPS | 4.2 | K3 | 215003
31 | (212000A2.01) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) RPS motor-generator set failure | 3.9 | A2 | 212000
32 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 262002
33 | (262001A3.05) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Synchronization of AC sources | 3.7 | A3 | 262001
34 | (205000K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) PCIS/NSSSS | 3.7 | K1 | 205000
35 | (215005A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) Lights and alarms | 3.8 | A1 | 215005
36 | (259002K4.16) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dedication of feedwater string(s) to ECCS: FWCI | 3.4 | K4 | 259002
37 | (211000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.5 / 45.3) Effects of the moderator temperature coefficient of reactivity on boron | 3 | K5 | 211000
38 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
39 | (239002A4.04) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) Suppression pool temperature | 4.2 | A4 | 239002
40 | (203000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) High drywell pressure | 3.7 | K6 | 203000
41 | (400000K3.13) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Turbine generator and auxiliary systems | 3.1 | K3 | 400000
42 | (215004A2.05) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Faulty or erratic operation of detectors/system | 3.7 | A2 | 215004
43 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (291004K1.04) PUMPS (CFR: 41.3) (CENTRIFUGAL) Consequences of operating a pump dead headed or for extended times without adequate recirculation | 3.1 | C | 264000
44 | (300000A3.03) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Compressor automatic starts/trips | 3.5 | A3 | 300000
45 | (261000K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) Fire protection system | 2.7 | K1 | 261000
46 | (223002A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Secondary containment temperature | 3.6 | A1 | 223002
47 | (209002K4.08) Knowledge of (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic system initiation | 4.4 | K4 | 209002
48 | (209001K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209001
49 | (510000K2.02) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system valves (Class 1E) | 3.4 | K2 | 510000
50 | (217000A4.13) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Manual initiation | 4.1 | A4 | 217000
51 | (263000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Degraded voltage | 3.6 | K6 | 263000
52 | (215003K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) APRM system | 3.4 | K3 | 215003
53 | (226001K4.11) Knowledge of (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of leakage to the environment through system heat exchanger | 3.2 | K4 | 226001
54 | (268000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 RW) RADWASTE SYSTEM: (CFR: 41.5 / 45.3) Dilution flow for releases | 2.9 | K5 | 268000
55 | (216000K2.01) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Analog trip system | 3.6 | K2 | 216000
56 | (201001A4.02) Ability to manually operate and/or monitor the (SF1 CRDH) CRD HYDRAULIC SYSTEM in the control room: (CFR: 41.5-7 / 41.9 / 41.10 / 45.1-6 / 45.8 / 45.12-13) CRD pump discharge valve | 2.9 | A4 | 201001
57 | (286000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.7 / 45.7) AC electrical distribution | 3.2 | K6 | 286000
58 | (202002K3.05) Knowledge of the effect that a loss or malfunction of the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Recirculation pump speed | 3.8 | K3 | 202002
59 | (202001A2.14) Ability to (a) predict the impacts of the following on the (SF1, SF4 RS) RECIRCULATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High reactor pressure (ATWS circuitry initiation) | 3.9 | A2 | 202001
60 | (234000) (SF8 FH) FUEL HANDLING (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 234000
61 | (288000A3.01) Ability to monitor automatic operation of the (SF9 PVS) PLANT VENTILATION SYSTEMS including: (CFR: 41.7 / 45.7) Isolation/initiation signals | 3.7 | A3 | 288000
62 | (510001K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CWS*) CIRCULATING WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Condensate system | 3.3 | K1 | 510001
63 | (290002K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 RVI) REACTOR VESSEL INTERNALS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Isolation condenser system (Nine Mile Point 1, Dresden) | 4 | A1 | 290002
64 | (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
65 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (292004K1.03) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain resonance absorption | 2.7 | R | 292004
71 | (292005K1.12) CONTROL RODS (CFR: 41.1) Describe effects of deep and shallow control rods on axial and radial flux distribution | 2.9 | R | 292005
72 | (292002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1) Define shutdown margin | 3.5 | R | 292002
73 | (293007K1.07) HEAT TRANSFER (CFR: 41.14) (HEAT EXCHANGERS) Describe how the presence of gases or steam can | 2.9 | T | 293007
74 | (293003K1.12) STEAM (CFR: 41.14) Define the following term: Quality | 2.6 | T | 293003
75 | (293006K1.30) FLUID STATICS AND DYNAMICS (CFR: 41.14) Describe the methods of controlling system flow rates | 2.7 | T | 293006
76 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 295003
77 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.7 | A2 | 295031
78 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295018
79 | (295006AA2.06) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Cause of reactor SCRAM | 3.7 | A2 | 295006
80 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 295037
81 | (295016AA2.01) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 3.7 | A2 | 295016
82 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 295021
83 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 295034
84 | (295002AA2.02) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 3.7 | A2 | 295002
85 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 295033
86 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 212000
87 | (262002A2.05) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of UPS | 3.9 | A2 | 262002
88 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 262001
89 | (205000A2.08) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of heat exchanger cooling | 3.8 | A2 | 205000
90 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 215005
91 | (256000A2.10) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Main turbine trip | 2.9 | A2 | 256000
92 | (215001) (SF7 TIP) TRAVERSING IN CORE PROBE (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 215001
93 | (223001A2.03) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Safety/relief valve leaking or stuck-open | 4 | A2 | 223001
94 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
95 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4