## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 295023
2 | (700000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Actions contained in abnormal operating procedure for voltage and grid disturbances | 3.8 | K3 | 700000
3 | (295030EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.1 | A2 | 295030
4 | (295019AK2.07) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Condensate system | 3.3 | K1 | 295019
5 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
6 | (600000AK2.08) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Portable fire suppression systems | 3 | K2 | 600000
7 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 295037
8 | (295038EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4.1 | K3 | 295038
9 | (295025EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295025
10 | (295021AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Natural circulation | 3.9 | K1 | 295021
11 | (295005AA1.03) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3 | A1 | 295005
12 | (295026EK2.01) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.8 | K2 | 295026
13 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G | 295003
14 | (295027EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.5 / 45.6) Anticipated/emergency depressurization | 4 | K3 | 295027
15 | (295001AA2.01) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Power/flow map | 4.4 | A2 | 295001
16 | (295006AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Reactivity control | 3.9 | K1 | 295006
17 | (295018AA1.01) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Backup systems | 3.3 | A1 | 295018
18 | (295024EK2.19) Knowledge of the relationship between the (EPE 1) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Feedwater and condensate | 2.8 | K2 | 295024
19 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 295016
20 | (295031EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Automatic depressurization system actuation | 4.3 | K3 | 295031
21 | (295036EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.8 to 41.10) Maximum safe operating limit | 4.1 | K1 | 295036
22 | (295029EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) HPCI | 3.5 | A1 | 295029
23 | (295009AK2.08) Knowledge of the relationship between the (APE 9) LOW REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) CRD system | 2.9 | K2 | 295009
24 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295017
25 | (295035EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.5 / 45.6) Blow-out panel operation | 3.3 | K3 | 295035
26 | (295013AA2.03) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Open/leaking Safety relief valve | 4.2 | A2 | 295013
27 | (223002K3.25) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Component cooling water systems | 2.9 | K3 | 223002
28 | (261000K4.02) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Charcoal bed decay heat removal | 3 | K4 | 261000
29 | (205000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.5 / 45.5) SDC/RHR pump suction pressure | 3 | A1 | 205000
30 | (209002K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209002
31 | (209001K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Loss of emergency generators | 4.2 | K6 | 209001
32 | (263000K2.04) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Inverters | 3.4 | K2 | 263000
33 | (400000A3.02) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) Containment isolation | 3.6 | A3 | 400000
34 | (215004K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.1 | K1 | 215004
35 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 262001
36 | (259002A4.11) Ability to manually operate and/or monitor the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) High-level lockout reset controls | 3.4 | A4 | 259002
37 | (264000A2.07) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of offsite power | 4.7 | A2 | 264000
38 | (203000K3.07) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Primary containment | 3.5 | K3 | 203000
39 | (212000K4.07) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Manual SCRAM | 4.2 | K4 | 212000
40 | (215003A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Detector position | 3.2 | A1 | 215003
41 | (510000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Flood prevention | 3.1 | K5 | 510000
42 | (218000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) RHR/LPCI pump running permissive | 4.2 | K6 | 218000
43 | (262002K2.02) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor generator | 3.3 | K2 | 262002
44 | (217000A3.01) Ability to monitor automatic operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Valve operation | 3.9 | A3 | 217000
45 | (300000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IA) INSTRUMENT AIR SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 / 45.8) Plant ventilation systems | 3 | K1 | 300000
46 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (291001K1.01) VALVES (CFR: 41.3) The function and operation of safety valves | 3.5 | C | 215005
47 | (211000A4.08) Ability to manually operate and/or monitor the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System initiation | 4.3 | A4 | 211000
48 | (239002A2.01) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck-open vacuum breakers | 3.7 | A2 | 239002
49 | (223002K3.08) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor vessel temperature | 3.5 | K3 | 223002
50 | (261000K4.01) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic system initiation | 4 | K4 | 261000
51 | (205000A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.5 / 45.5) Throttle valve position | 3.2 | A1 | 205000
52 | (209002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Indications of pump cavitation | 3.5 | K5 | 209002
53 | (226001A4.04) Ability to manually operate and/or monitor the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Keep fill system | 3.2 | A4 | 226001
54 | (239003A2.11) Ability to (a) predict the impacts of the following on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High reactor pressure | 3 | A2 | 239003
55 | (271000K3.06) Knowledge of the effect that a loss or malfunction of the (SF9 OG) OFFGAS SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Radiation monitoring system | 3.2 | K3 | 271000
56 | (245000K4.03) Knowledge of (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS design features and/or interlocks that provide for the following: (CFR: 41.7) Limit hydrogen leakage | 2.9 | K4 | 245000
57 | (202001A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1, SF4 RS) RECIRCULATION SYSTEM including: (CFR: 41.5 / 45.5) Recirculation pump speed | 3.2 | A1 | 202001
58 | (239001K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM: (CFR: 41.5 / 45.3) Steam bypass capability | 3.8 | K5 | 239001
59 | (223001K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES: (CFR: 41.7 / 45.7) Standby gas treatment system or filtration, recirculation and ventilation system | 3.7 | K6 | 223001
60 | (259001K2.03) (SF2 FWS) FEEDWATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) RFP auxiliary oil pumps | 2.8 | K2 | 259001
61 | (201005A3.01) Ability to monitor automatic operation of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) including: (CFR: 41.7 / 45.7) Operator control module lights | 3.6 | A3 | 201005
62 | (256000K1.26) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 CDS) CONDENSATE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Condensate demineralizer system | 3.3 | K1 | 256000
63 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 201003
64 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (292002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1) Define shutdown margin | 3.5 | R | 292002
71 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
72 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
73 | (293007K1.09) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) Discuss operational implications of condensate | 2.7 | T | 293007
74 | (293009K1.01) CORE THERMAL LIMITS (CFR: 41.14) Explain radial peaking factor | 2.5 | T | 293009
75 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
76 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295023
77 | (700000AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operational status of emergency diesel generators | 4.2 | A2 | 700000
78 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 295030
79 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
80 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 295004
81 | (600000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Fire alarm | 3.7 | A2 | 600000
82 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295037
83 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 295012
84 | (295014AA2.02) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Reactor period | 4.1 | A2 | 295014
85 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 295034
86 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G | 209001
87 | (263000A2.01) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Grounds/faults | 3.2 | A2 | 263000
88 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 400000
89 | (215004A2.04) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Upscale and downscale trips | 3.7 | A2 | 215004
90 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 262001
91 | (215001A2.05) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of DC electrical distribution | 2.7 | A2 | 215001
92 | (290001) (SF5 SC) SECONDARY CONTAINMENT (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 290001
93 | (230000A2.01) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate net positive suction/vortex limits | 3.8 | A2 | 230000
94 | (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
95 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4