## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (058AK2.03) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery | 3.7 | K2 | 395017
2 | (026AA1.01) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): CCW temperature indications | 3.3 | A1 | 395008
3 | (027AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Saturation temperature | 3.4 | K1 | 395009
4 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
5 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 395010
6 | (025AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Restoring RHR flow | 4 | K3 | 395007
7 | (040AK2.15) Knowledge of the relationship between (APE 40) STEAM LINE RUPTURE and the following systems or components (CFR: 41.7 / 45.7): S/GB system | 2.6 | K2 | 395012
8 | (022AA1.05) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): RCP seal backpressure regulator valves | 3.3 | A1 | 395006
9 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
10 | (007EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): Charging flow | 3.2 | A2 | 395001
11 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 395002
12 | (015AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for RCP malfunction | 3.8 | K3 | 395005
13 | (057AK2.08) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): NI | 4.1 | K2 | 395016
14 | (056AA1.15) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): Service water booster pump | 2.8 | A1 | 395015
15 | (011EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Containment hydrogen concentration | 3.6 | K1 | 395004
16 | (009EA2.37) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Existence of adequate natural circulation | 3.8 | A2 | 395003
17 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 395013
18 | (038EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Initiating RCS cooldown | 4.2 | K3 | 395011
19 | (003AK2.07) Knowledge of the relationship between (APE 3) DROPPED Control Rod and the following systems or components (CFR: 41.7 / 45.7): RPI | 3.7 | K2 | 395025
20 | (068AA1.30) Ability to operate and/or monitor the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.7 / 45.5 / 45.6): Operation of the letdown system | 3.2 | A1 | 395038
21 | (061AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.8 / 41.10 / 45.3): Adverse containment conditions | 3.6 | K1 | 395036
22 | (067AA2.14) Ability to determine and/or interpret the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.10 / 43.5 / 45.13): Equipment that will be affected by fire suppression activities in each zone | 3.2 | A2 | 395037
23 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 395053
24 | (032AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in procedures for loss of source range NI | 3.5 | K3 | 395029
25 | (028AK2.09) Knowledge of the relationship between (APE 28) PRESSURIZER (PZR) Level Control Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR PCS | 3.5 | K2 | 395028
26 | (WE10EA1.14) Ability to operate and/or monitor the following as they apply to (W E10) NATURAL CIRCULATION WITH STEAM VOID IN VESSEL WITH/WITHOUT THE RVLIS (CFR: 41.5 to 41.8 / 45.5 to 45.8): CCWS | 3.2 | A1 | 395054
27 | (063A3.03) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Inverter swap to backup | 3.3 | A3 | 400063
28 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
29 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.8 | A2 | 400005
30 | (008K3.07) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): RHRS | 4.3 | K3 | 400008
31 | (006A4.10) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SPDSs | 3.6 | A4 | 400006
32 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 400010
33 | (003A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): Seal water temperature | 3.6 | A1 | 400003
34 | (062K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Vital AC electrical instrument buses | 4.2 | K1 | 400062
35 | (078K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Low instrument air pressure | 3.4 | K6 | 400078
36 | (012K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Power density | 3.7 | K5 | 400012
37 | (076K4.01) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Conditions initiating isolation of safety‑related SWS from nonsafety headers. | 3.8 | K4 | 400076
38 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
39 | (004K2.02) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Pumps used to makeup to CVCS | 3 | K2 | 400004
40 | (039A2.04) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunctioning steam dump | 4 | A2 | 400039
41 | (073K3.06) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): CCWS | 3.2 | K3 | 400073
42 | (061A4.02) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW flow | 4.2 | A4 | 400061
43 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (191003K1.07) CONTROLLERS AND POSITIONERS (CFR: 41.7): Safety precautions with respect to the operation of controllers and positioners | 2.6 | C | 400059
44 | (022A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.5 / 45.5): Containment humidity | 3.2 | A1 | 400022
45 | (064K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG building ventilation system | 3.3 | K1 | 400064
46 | (007K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): LRS | 2.6 | K6 | 400007
47 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
48 | (063K4.02) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Breaker interlocks, permissives, bypasses, and cross‑ties | 3.5 | K4 | 400063
49 | (013A3.10) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): Recirculation actuation/signal | 4.2 | A3 | 400013
50 | (005K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RHR pumps | 4.1 | K2 | 400005
51 | (008A2.05) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effect of loss of instrument and control air on the position of air-operated CCW valves | 3.2 | A2 | 400008
52 | (006K3.03) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): CSS | 3.8 | K3 | 400006
53 | (010A4.03) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PORVs and block valves | 3.8 | A4 | 400010
54 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 400003
55 | (014A3.01) Ability to monitor automatic features of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.6 / 41.7 / 45.7): RPI accuracy | 3.4 | A3 | 400014
56 | (001K2.01) Knowledge of electrical power supplies to the following: (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (CFR: 41.6) M/G sets | 3.6 | K2 | 400001
57 | (015A2.05) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Core void formation | 3.2 | A2 | 400015
58 | (075K3.08) Knowledge of the effect that a loss or malfunction of the (SF8 CW) CIRCULATING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 / 41.5 / 41.7 / 45.8): CDS | 2.9 | K3 | 400075
59 | (027A4.01) Ability to manually operate and/or monitor the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CIRS controls | 2.8 | A4 | 400027
60 | (400033) 033 (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (191007K1.06) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Demineralizer D/P to determine condition of demineralizer resin bed | 2.5 | C | 400033
61 | (045A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.1 | A1 | 400045
62 | (016K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): PZR LCS | 3.7 | K1 | 400016
63 | (071K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.7 / 45.8 / 45.9): Waste gas discharge release valve | 3.2 | K6 | 400071
64 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.1 | G2.1
65 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (192006K1.01) FISSION PRODUCT POISONS (CFR: 41.1): Define fission product poison | 2.6 | R | 192006
71 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
72 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
73 | (193007K1.01) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe three mechanisms of heat transfer | 2.5 | T | 193007
74 | (193010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the effect of fast neutron irradiation on reactor vessel metals | 3 | T | 193010
75 | (193009K1.01) CORE THERMAL LIMITS (CFR: 41.14): Explain radial peaking factor | 2.8 | T | 193009
76 | (077AA2.10) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator overheating | 3.3 | A2 | 395020
77 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 395022
78 | (062AA2.05) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The normal values for the SWS-header flow rate and the flow rates to the components cooled by the SWS | 3 | A2 | 395018
79 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395023
80 | (055EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): AFW flow | 4.2 | A2 | 395014
81 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 395017
82 | (024AA2.08) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): RWST temperature | 3.1 | A2 | 395027
83 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 395040
84 | (060AA2.02) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): Detection of the possible location of a radioactive gas leak and/or the effect of isolating that leak | 3.4 | A2 | 395035
85 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 395043
86 | (062A2.19) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of Class 1E DC distribution system | 4.1 | A2 | 400062
87 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 400078
88 | (012A2.02) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of instrument power | 4 | A2 | 400012
89 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 400076
90 | (026A2.05) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of chemical addition tanks to inject | 3.4 | A2 | 400026
91 | (400072) 072 (SF7 ARM) AREA RADIATION MONITORING SYSTEM (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 400072
92 | (011A2.14) Ability to (a) predict the impacts of the following on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RPS | 3.8 | A2 | 400011
93 | (034K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM (CFR: 41.6 / 41.7 / 43.5 / 45.7): Fuel handling equipment failures | 3.4 | K6 | 400034
94 | (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G2.1 | G2.1
96 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
97 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4
100 | (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4