## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (025AA2.12) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Reduced inventory reactor vessel level | 4 | A2 | 395007
2 | (CE06EA1.13) Ability to operate and/or monitor the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.4 | A1 | 395013
3 | (027AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for a PZR PCS malfunction | 3.9 | K3 | 395009
4 | (026AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of CCWS to RHR | 3.8 | K1 | 395008
5 | (WE11EK2.18) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Reactor makeup system | 3.1 | K2 | 395022
6 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 395019
7 | (057AA2.04) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): ESF system panel alarm annunciators and channel status | 3.6 | A2 | 395016
8 | (007EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): AFW system | 3.8 | A1 | 395001
9 | (WE04EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identifying and isolating the break | 4.3 | K3 | 395021
10 | (008AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Thermodynamics and flow characteristics of open or leaking PZR PORV or safety valves | 4.1 | K1 | 395002
11 | (056AK2.12) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395015
12 | (395004) 000011 (EPE 11) Large Break LOCA (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395004
13 | (038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Radiation levels | 3.2 | A2 | 395011
14 | (055EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): Load shedding | 4 | A1 | 395014
15 | (077AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Actions contained in AOPs for voltage and grid disturbances | 3.5 | K3 | 395020
16 | (BE04EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.7 / 45.8): Adequate SCM | 4 | K1 | 395023
17 | (040AK2.14) Knowledge of the relationship between (APE 40) STEAM LINE RUPTURE and the following systems or components (CFR: 41.7 / 45.7): Main turbine system | 2.8 | K2 | 395012
18 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395018
19 | (068AA2.01) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): S/G level | 4.1 | A2 | 395038
20 | (WE06EA1.13) Ability to operate and/or monitor the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 to 41.8 / 45.5 to 45.8): SGS | 3.6 | A1 | 395040
21 | (051AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor and/or turbine | 4.2 | K3 | 395033
22 | (067AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 67) PLANT Fire On Site (CFR: 41.8 / 41.10 / 45.3): Fire‑fighting methods for each type of fire | 3 | K1 | 395037
23 | (BE09EK2.06) Knowledge of the relationship between (BW E09) NATURAL CIRCULATION COOLDOWN and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Electrical distribution/EDG | 3.3 | K2 | 395054
24 | (395044) (W E13) Steam Generator Overpressure (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 395044
25 | (BE08EA2.02) Ability to determine and/or interpret the following as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operations within the limitations in the facility license and amendments | 4.3 | A2 | 395053
26 | (078AA1.05) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): RHRS | 3.7 | A1 | 395042
27 | (078K1.23) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): CVCS | 3.3 | K1 | 400078
28 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 400061
29 | (012K4.03) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Protection and control signals | 4.1 | K4 | 400012
30 | (026K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.5 / 45.7): Stratification of liquids: concentrated sodium hydroxide solution has a higher specific gravity than weak boric acid solution; therefore, the two solutions must be vigorously mixed to make an effective spray | 2.5 | K5 | 400026
31 | (039K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): MT/G | 3.4 | K6 | 400039
32 | (076A2.07) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Heat exchanger and condenser failure | 3.6 | A2 | 400076
33 | (063A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery charger voltage and/or current | 3.3 | A1 | 400063
34 | (005K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM Containment isolation valves | 3.3 | K2 | 400005
35 | (073A4.03) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Check source for operability demonstration | 2.9 | A4 | 400073
36 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
37 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
38 | (003K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCS | 3.4 | K1 | 400003
39 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191007K1.09) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Reasons for bypassing demineralizers | 2.7 | C | 400006
40 | (062K4.12) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ground detection | 2.9 | K4 | 400062
41 | (022K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Shift in fan speed related to postaccident conditions | 3.6 | K5 | 400022
42 | (064K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): EDG building ventilation | 3.2 | K6 | 400064
43 | (010A2.03) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): PORV failures | 4.3 | A2 | 400010
44 | (008A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): Surge tank level | 3.4 | A1 | 400008
45 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
46 | (004A4.16) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Activity levels of RCS and letdown | 2.9 | A4 | 400004
47 | (059K3.03) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/Gs | 3.8 | K3 | 400059
48 | (078A3.03) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Air compressor loading/unloading | 2.9 | A3 | 400078
49 | (061K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): MFW system | 3.9 | K1 | 400061
50 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 400012
51 | (026K4.01) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Source of water for CSS, including recirculation phase after a LOCA | 4.2 | K4 | 400026
52 | (039K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Use of steam pressure program control when steam dumping through atmospheric relief/dump valves, including T-ave. limits | 3.5 | K5 | 400039
53 | (076K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): Transmission switchyard and offsite power system | 2.9 | K6 | 400076
54 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.9 | A2 | 400063
55 | (028K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CNT | 3.1 | K1 | 400028
56 | (400041) 041 (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (191006K1.07) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Control of heat exchanger temperatures | 2.6 | C | 400041
57 | (017K4.02) Knowledge of (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Sensing and determination of location core hot spots | 3.4 | K4 | 400017
58 | (071K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.5 / 45.8 / 45.9): Decay tank pressure versus CVCS holdup tank liquid levels | 2.6 | K5 | 400071
59 | (016K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): Primary system input sensors and detectors | 3.2 | K6 | 400016
60 | (050A2.05) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Loss of chillers | 3.2 | A2 | 400050
61 | (034A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM, including (CFR: 41.5 / 41.6 / 43.7 / 45.5 / 45.8): Fuel handling equipment load limits | 2.8 | A1 | 400034
62 | (072K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.8 / 45.9): Fuel handling operations | 3.6 | K2 | 400072
63 | (027A4.01) Ability to manually operate and/or monitor the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CIRS controls | 2.8 | A4 | 400027
64 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
65 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
67 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1): Define SDM | 3.6 | R | 192002
72 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395005
77 | (022AA2.08) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): RCP seal flows, temperatures, pressures, and vibrations | 3.7 | A2 | 395006
78 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395003
79 | (058AA2.01) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Verification that alternate power sources have come on line | 3.7 | A2 | 395017
80 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395010
81 | (025AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Pump cavitation | 4 | A2 | 395007
82 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G | 395035
83 | (WE16EA2.03) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Containment radiation level | 3.7 | A2 | 395046
84 | (395025) 000003 (APE 3) Dropped Control Rod (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 395025
85 | (033AA2.10) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): TS limits if both intermediate range channels have failed | 3.9 | A2 | 395030
86 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G | 400005
87 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
88 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 400103
89 | (007A2.01) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): A PORV that is stuck open, or code safety valve | 4.1 | A2 | 400007
90 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 400003
91 | (001A2.13) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ATWS | 4.3 | A2 | 400001
92 | (400033) 033 (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 400033
93 | (056A2.12) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Opening of the heater string bypass valve | 3 | A2 | 400056
94 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
95 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
97 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4