## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 395002
2 | (058AA1.05) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Valves or components affected by loss of DC | 3.9 | A1 | 395017
3 | (038EK2.18) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RMS | 3.8 | K2 | 395011
4 | (077AA2.08) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Criteria to trip the turbine or reactor | 4.2 | A2 | 395020
5 | (CE06EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Evaluate RCP restart criteria | 3 | K3 | 395013
6 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
7 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395001
8 | (057AA1.03) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Feedwater pump speed to control pressure and level in S/G | 3.8 | A1 | 395016
9 | (055EK2.10) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): DC distribution system | 4 | K2 | 395014
10 | (025AA2.03) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Increasing reactor building sump level | 3.6 | A2 | 395007
11 | (026AK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stopping RCPs | 4.1 | K3 | 395008
12 | (062AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.8 / 41.10 / 45.3): Effect on loads cooled by service water | 3.8 | K1 | 395018
13 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 395012
14 | (009EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.3 | A1 | 395003
15 | (056AK2.10) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 4.3 | K2 | 395015
16 | (011EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Throttling or stopping HPI | 4.1 | A2 | 395004
17 | (WE04EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identifying and isolating the break | 4.3 | K3 | 395021
18 | (022AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Relationship between charging flow and PZR level | 3.6 | K1 | 395006
19 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395026
20 | (WE02EA1.18) Ability to operate and/or monitor the following as they apply to (W E02) SI TERMINATION (CFR: 41.5 to 4.18 / 45.5 to 45.8): CSS | 3.4 | A1 | 395043
21 | (059AK2.04) Knowledge of the relationship between (APE 59) ACCIDENTAL LIQUID Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): Liquid radwaste flow instruments | 3.2 | K2 | 395034
22 | (037AA2.11) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): When to isolate one or more S/Gs | 4.3 | A2 | 395032
23 | (WE09EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (W E09) NATURAL CIRCULATION OPERATIONS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Cooling down to cold shutdown (reference potential) | 3.4 | K3 | 395054
24 | (067AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 67) PLANT Fire On Site (CFR: 41.8 / 41.10 / 45.3): Fire classifications by type | 2.9 | K1 | 395037
25 | (395027) 000024 (APE 24) Emergency Boration (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 395027
26 | (051AA1.05) Ability to operate and/or monitor the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.7 / 45.5 / 45.6): Turbine load | 3.5 | A1 | 395033
27 | (059K4.10) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Bearing oil signal to the turning gear start sequence | 2.6 | K4 | 400059
28 | (064K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Effects (verification) of stopping an EDG under load on an isolated bus | 3.4 | K5 | 400064
29 | (061K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): Bearing oil supply for turbine-driven pumps | 2.8 | K6 | 400061
30 | (073K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): WGS | 3.3 | K3 | 400073
31 | (039A4.01) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): MSIVs and bypass valves | 3.9 | A4 | 400039
32 | (010A2.06) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of PZR LCS | 3.5 | A2 | 400010
33 | (062A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Loads when energizing a bus | 3.4 | A1 | 400062
34 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 400013
35 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
36 | (076A3.04) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic start features associated with SWS pump controls | 3.7 | A3 | 400076
37 | (006K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): RCP seal injection and return systems | 3.4 | K1 | 400006
38 | (063K4.02) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Breaker interlocks, permissives, bypasses, and cross‑ties | 3.5 | K4 | 400063
39 | (078K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): Loss of instrument air | 3.9 | K5 | 400078
40 | (003K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): CVCS | 3.4 | K6 | 400003
41 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
42 | (008A4.12) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): CRDM temperatures | 2.9 | A4 | 400008
43 | (005A2.04) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR valve malfunction | 3.9 | A2 | 400005
44 | (022A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.5 / 45.5): Cooling water flow | 3.3 | A1 | 400022
45 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (191006K1.12) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Effects of tube fouling on heat exchanger operation | 2.7 | C | 400007
46 | (004K2.02) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Pumps used to makeup to CVCS | 3 | K2 | 400004
47 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
48 | (059K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Heater drains | 3 | K1 | 400059
49 | (064K4.07) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Field flashing | 3.1 | K4 | 400064
50 | (061K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Decay heat sources and magnitude | 3.9 | K5 | 400061
51 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
52 | (039K3.07) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Auxiliary steam system | 2.6 | K3 | 400039
53 | (010A4.01) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR spray valve | 3.8 | A4 | 400010
54 | (062A2.02) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 3.3 | A2 | 400062
55 | (041K4.10) Knowledge of (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PZR LCS | 2.7 | K4 | 400041
56 | (068K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 LRS) LIQUID RADWASTE SYSTEM (CFR: 41.5 / 45.7 - 9): Loss of secondary mixing water system | 2.6 | K5 | 400068
57 | (015K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): Bistables and logic circuits | 3.5 | K6 | 400015
58 | (011K3.02) Knowledge of the effect that a loss or malfunction of the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4 | K3 | 400011
59 | (001A4.03) Ability to manually operate and/or monitor the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM in the control room (CFR: 41.6 / 45.5 to 45.8): CRDS mode control | 3.7 | A4 | 400001
60 | (029A2.06) Ability to (a) predict the impacts of the following on the (SF8 CPS) CONTAINMENT PURGE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.13): CPS component malfunction | 2.9 | A2 | 400029
61 | (017A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM, including (CFR: 41.5 / 45.7): Core exit temperature | 4 | A1 | 400017
62 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 400016
63 | (045K2.03) Knowledge of electrical power supplies to the following: (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (CFR: 41.7) Generator excitation breaker power supply | 2.6 | K2 | 400045
64 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G2.4 | G2.4
70 | (192004K1.12) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- core age | 2.9 | R | 192004
71 | (192002K1.07) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-eff and discuss its relationship to the state of a reactor (critical, subcritical, and supercritical) | 3.1 | R | 192002
72 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193003K1.16) STEAM (CFR: 41.14): Define the following term: -- subcooled and compressed liquids | 2.7 | T | 193003
76 | (065AA2.09) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Automatic IAS responses as air header pressure lowers | 3.3 | A2 | 395019
77 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395023
78 | (015AA2.02) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP oil system temperature and pressure | 3 | A2 | 395005
79 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395022
80 | (027AA2.14) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): RCP seal injection flow | 3.3 | A2 | 395009
81 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395002
82 | (076AA2.06) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): Response of PZR LCS to changes in the letdown flow rate | 3.2 | A2 | 395041
83 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395056
84 | (BA06AA2.09) Ability to determine and/or interpret the following as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.10 / 43.5 / 45.13): RCS temperature | 4.2 | A2 | 395038
85 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 395040
86 | (013A2.10) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Feedline break | 4.2 | A2 | 400013
87 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 400012
88 | (076A2.09) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Cooling tower failure | 2.8 | A2 | 400076
89 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400006
90 | (063A2.05) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of all AC | 4.3 | A2 | 400063
91 | (034K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM will have on the following systems or system parameters (CFR: 41.2 to 41.7 / 43.6 / 43.7 / 45.6 to 45.8): Reactor components | 2.9 | K3 | 400034
92 | (086A2.04) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure to actuate the FPS when required | 3.2 | A2 | 400086
93 | (400072) 072 (SF7 ARM) AREA RADIATION MONITORING SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 400072
94 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4